Week 4 — Parameter, Method, and Implementation Justification

Git commit: b86e3b3def127c6fc52606036ca65ef84e9b5f5b

Generated: 2026-08-20T06:07:51.188177Z (regenerate with PYTHONPATH=. python scripts/make_week4_handback.py after any code change -- this document is built, not hand-maintained)

Scope, stated up front, and amended twice during the week (both amendments kept, not deleted):

Week 3's handback declared Week 4 as *"a perfect-information reference (free

solver, no Gurobi) + PI-TD3."* Amendment 1 (2026-08-19): an academic

Gurobi license is active on this machine (LicenseID 2853634, expires

2027-08-14, unlimited size), so the perfect-information reference uses

Gurobi via EV2Gym's own ev2gym/baselines/gurobi_models/, not a free

solver -- a reduction in deviation from the original PROJECT_ROADMAP.md,

not a new one. Amendment 2 (2026-08-19): Part B's scope changed from

delivering a trained arm named PI_TD3 to a falsified physics-adaptation

attempt (two independent designs, both built, verified, and rejected before

any training compute was spent) plus a reward ablation

(TD3_TrackingOnly) that actually trained. No arm in this thesis is named

PI_TD3/PI-TD3 anywhere in the registry, code, or results. Full account

in thesis_docs/chapters/04_oracle_and_pitd3.md S4.0 and S4.3.

A third, unplanned correction happened first and delayed this chapter,

carried over from Week 3: building this chapter's replay-vs-scenario parity

check surfaced Week 3's evaluation-pipeline bug (uncontrolled env.reset()

calls corrupting all 200 TD3/RandomPolicy evaluation episodes). Already

fully documented in thesis_docs/Week3_Parameter_Method_and_Implementation_Justification.md's

correction note and 00_lab_log.md's 2026-08-18 entry -- not repeated here.

This document has two halves, in the same format as Weeks 2-3: Part 1

(parameters and methods, validated/empirical/simplification labeling

convention) and Part 2 (implementation, file by file: Location,

Purpose, Design decision(s) with rejected alternatives, the actual code,

and a Walkthrough).

Part 1 -- Parameters and Methods

| Parameter | Value | Label | Justification |
| --- | --- | --- | --- |
| Oracle model | PowerTrackingErrorrMin (ev2gym/baselines/gurobi_models/tracking_error.py), unmodified | Validated against external source (the class exists as-is in the library) | The only one of 3 candidate Gurobi models whose objective matches this thesis's chosen Public/PST problem family -- see 04_oracle_and_pitd3.md S4.2 for the full 3-way comparison and why the other two (V2GProfitMaxOracleGB, V2GProfitMax_Grid_OracleGB) were rejected. |
| G2V forcing | zero port_max_discharge_current/port_min_discharge_current on a replay copy | Empirically set inside this project | v2g_enabled: False only gates the RL/heuristic action-space sign (ev2gym_env.py:227), not the replay's discharge current bounds (replay.py:89-90) -- left unfixed, the oracle would have V2G capability none of the compared algorithms have, and its "upper bound" would not bound the same problem. |
| Oracle variants | Optimal_Oracle_Tracking (tracking-only) + Optimal_Oracle_Balanced (tracking + satisfaction penalty) | User-directed (2026-08-18 Amendment 1) | A single "bound" that added a satisfaction penalty to the objective would no longer be the true optimum on tracking error alone -- composite objectives are not decomposable bounds, so two separate variants answer two separate questions instead of one hedged answer. |
| SATISFACTION_PENALTY_WEIGHT | 1.0 | Set for this project | Adapted from profit_max.py's departure-satisfaction penalty in STRUCTURE (squared kWh gap at departure), not scale -- that file's weight=100 was calibrated against a profit objective with different units and would carry no transferable meaning here. Also dimensionally corrected: profit_max.py's own term multiplies ev_des_energy * ev_max_energy (kWh x kWh) against energy (kWh), which is dimensionally inconsistent; this project's term uses (ev_des_energy - energy)**2, both in kWh. |
| PI-TD3 physics term | not used by any training run -- falsified, kept for the record | Negative result, declared as such | Two structurally different reward-only adaptations of PI-TD3's Eq. 14 Term 1 (voltage band -> transformer capacity) were built and verified before either was trusted with training compute; both failed for different, now well-understood reasons. Full mechanism and evidence in 04_oracle_and_pitd3.md S4.3. |
| PI_TD3_HORIZON_H | 4 steps (1h ahead, 15 min/step) | Set for this project | Chosen after a sensitivity sweep over H in {{1, 2, 4, 8}} steps, measuring the effect on the disagreement rate against the vanilla reward's existing overload term -- see 00_lab_log.md's 2026-08-19 entry. Never reached training (Design 2 was independently falsified on a different axis -- the SoC-gradient problem, not a horizon-tuning problem). |
| PI_TD3_PHYSICS_WEIGHT | 50.0 | Set for this project | Calibrated against the measured reward-term decomposition (tracking term ~-37,778, existing overload term ~-3,732 over one reference AFAP episode) -- target: comparable magnitude to the existing overload term, not dominant or negligible. Superseded the original qualitatively-estimated weight of 20.0. |
| TD3_TrackingOnly reward | SquaredTrackingErrorReward (EV2Gym's own bare default) | Validated against external source | Everything else (timesteps, TRAIN_SEEDS, state function, network architecture, replay buffer, VecNormalize) held identical to Week 3's vanilla-TD3 arm -- a genuinely single-variable ablation, answering "does the overload/satisfaction reward shaping Week 3 chose actually buy anything over tracking error alone?" |
| Oracle solve settings | full optimality, no MIP-gap/time-limit approximation | User-confirmed (Gate 2, 2026-08-18) | Entregable 3's timing calibration measured 0.10s Gurobi solve time for the reference cell (1 branch-and-bound node after presolve), implying the full 50-cell grid costs ~3.7 minutes -- far under the "potentially exceeds 3 min/cell" scenario the task brief flagged as a possibility, so no gap/time-limit relaxation was needed at this station size. |

Part 2 -- Implementation

`ev2gym_thesis/oracle/` (new subpackage)

Location: new top-level subpackage, mirroring Week 3's ev2gym_thesis/rl/ --

ev2gym/baselines/gurobi_models/*.py is never modified in place; this

subpackage only reads pickled EvCityReplay files those unmodified classes

already consume via a plain file path (per CLAUDE.md rule 1).

`ev2gym_thesis/oracle/replay_utils.py`

Purpose: generates the pickled EvCityReplay the oracle reads, and

forces G2V-only bounds on it.

**Design decision -- generate the replay with RoundRobin, not any

algorithm-agnostic placeholder, and never call env.reset() a second time

after construction:** verified, not assumed, that any algorithm produces an

identical replay for the fields the oracle actually reads (u,

ev_arrival, t_dep, ev_des_energy, ev_max_energy, ev_max_ch_power,

ev_max_dis_power, energy_at_arrival) -- compared ChargeAsFastAsPossible

vs. RoundRobin on the same (config, day, seed) cell, byte-identical. The

one algorithm-dependent field, max_energy_at_departure, is loaded by

tracking_error.py but never referenced in its constraints/objective (dead

code in the upstream library, confirmed by reading the source). A second

env.reset() call is deliberately avoided because it is exactly Week 3's

evaluation bug (00_lab_log.md's 2026-08-18 entry): EV2Gym.__init__

already performs the one seeded reset that matters, and any unseeded reset

after that would silently re-randomize the scenario the replay encodes.

ev2gym_thesis/oracle/replay_utils.py:47-72

def generate_replay(config_path: str, day: tuple, scenario_seed: int,
                     replay_dir: str = RAW_REPLAY_DIR) -> str:
    """Steps one full episode with RoundRobin, save_replay=True, and
    returns the path to the resulting pickled EvCityReplay. Uses the same
    make_day_config mechanism as env_factory.make_env, so the scenario this
    replay encodes is the literal same one every heuristic/RL evaluation
    saw on this (config_path, day, scenario_seed) cell.
    """
    year, month, day_of_month = day
    day_config_path = make_day_config(config_path, year, month, day_of_month, DAY_CONFIG_DIR)

    os.makedirs(replay_dir, exist_ok=True)
    env = EV2Gym(
        config_file=day_config_path,
        seed=scenario_seed,
        save_replay=True,
        save_plots=False,
        replay_save_path=replay_dir,
    )
    agent = RoundRobin(env)
    done = False
    while not done:
        actions = agent.get_action(env)
        _, _, done, _, _ = env.step(actions)

    return env.replay_path + "replay_" + env.sim_name + ".pkl"

**Design decision -- zero the discharge-current bounds on a copy of the

replay, not on the live EV2Gym config:** v2g_enabled: False in

station_v0_bogota.yaml only gates the RL/heuristic action-space sign

(ev2gym_env.py:227) -- it does not alter the replay's own

port_max_discharge_current/port_min_discharge_current fields, which are

copied from charging_station.max_discharge_current/min_discharge_current

regardless (replay.py:89-90). Left unfixed, the oracle would legitimately

have V2G capability none of AFAP/Round Robin/TD3 have, invalidating its

status as a bound on the same problem -- a Week 4 Gate 1 preflight finding.

ev2gym_thesis/oracle/replay_utils.py:77-102

def force_g2v(replay_path: str, out_dir: str = G2V_REPLAY_DIR) -> str:
    """Zeroes port_max_discharge_current/port_min_discharge_current on a
    copy of the replay, so the unmodified Gurobi models see the same
    G2V-only capability every other algorithm compared in this thesis has.

    station_v0_bogota.yaml has v2g_enabled=False, but that flag only gates
    the RL/heuristic action-space sign in ev2gym_env.py:227 -- it does NOT
    alter the replay's discharge current bounds, which come straight from
    charging_station.max_discharge_current/min_discharge_current regardless
    (replay.py:89-90). Left unfixed, the oracle would have V2G capability
    none of the algorithms it's compared against have, and its "upper
    bound" would not be a bound on the same problem (Week 4 Gate 1
    preflight finding).
    """
    with open(replay_path, "rb") as f:
        replay = pickle.load(f)

    replay.port_max_discharge_current = np.zeros_like(replay.port_max_discharge_current)
    replay.port_min_discharge_current = np.zeros_like(replay.port_min_discharge_current)

    os.makedirs(out_dir, exist_ok=True)
    base = os.path.splitext(os.path.basename(replay_path))[0]
    out_path = f"{out_dir}/{base}__g2v.pkl"
    with open(out_path, "wb") as f:
        pickle.dump(replay, f)
    return out_path

**Design decision -- an automated parity assertion for every cell, not a

one-time manual check:** rejected relying on the Entregable 3 reference-cell

calibration (a single manual comparison) to stand in for every one of the

100 cells (50 per oracle variant) actually evaluated. Chosen:

verify_parity is called by scripts/evaluate_oracle.py before any cell's

result is trusted, checking occupancy-step count and the sorted multiset of

desired energies against the live env's own EVs_profiles -- the same

discipline env_factory.reset_for_evaluation (Week 3) enforces for

RL/heuristic evaluation, applied here because Week 4's oracle work exists in

large part because that discipline was once missing.

ev2gym_thesis/oracle/replay_utils.py:115-150

def verify_parity(replay_path: str, env) -> None:
    """Asserts the replay's EV population matches env's, element by element
    -- not once, manually, for a reference cell (as in the Entregable 3
    calibration), but automatically for every cell evaluate_oracle.py runs.
    This is the same discipline env_factory.reset_for_evaluation enforces
    for RL/heuristic evaluation (thesis_docs/chapters/00_lab_log.md's Week
    3 correction entry) -- the Week 4 oracle work exists in large part
    because that discipline was once missing, so it does not get to skip
    it here. Checks u (occupancy), ev_arrival, and the sorted multiset of
    desired energies -- together these pin down arrival timing, departure
    timing, and per-EV demand, the three things a scenario mismatch could
    silently change.
    """
    with open(replay_path, "rb") as f:
        replay = pickle.load(f)

    live_evs = [ev for ev in env.EVs_profiles if ev.time_of_arrival < env.simulation_length]
    env_u_count = sum(
        min(ev.time_of_departure, env.simulation_length) - ev.time_of_arrival
        for ev in live_evs
    )
    env_des_energy = tuple(np.round(sorted(ev.desired_capacity for ev in live_evs), 4))

    replay_u_count = int(replay.u.sum())
    replay_des_energy = tuple(np.round(sorted(replay.ev_des_energy[replay.ev_des_energy > 0]), 4))

    assert replay_u_count == env_u_count, (
        f"verify_parity: replay occupancy-step count {replay_u_count} != "
        f"env's {env_u_count} -- arrival/departure timing diverged. "
        f"Do not trust this cell's oracle result."
    )
    assert replay_des_energy == env_des_energy, (
        f"verify_parity: replay's desired-energy population {replay_des_energy} "
        f"!= env's {env_des_energy} -- the oracle would be solving a different "
        f"scenario than the one being evaluated. Do not trust this cell's result."
    )

Walkthrough: build_g2v_replay_for_cell chains generate_replay and

force_g2v into a single call for scripts/evaluate_oracle.py's per-cell

loop -- the raw (non-G2V) replay is also kept on disk, so a discharge-bound

bug can always be diagnosed by comparing the two files directly.

`ev2gym_thesis/oracle/balanced_model.py`

Purpose: PowerTrackingErrorMinBalanced -- the Optimal_Oracle_Balanced

variant's Gurobi model, PowerTrackingErrorrMin's tracking objective plus a

departure-satisfaction penalty.

**Design decision -- a near-full copy of PowerTrackingErrorrMin.__init__,

not a subclass overriding one method:** the upstream class fuses model

construction and solving into a single __init__ with no separate

build_model()/objective() hook to override -- there is no clean seam to

inject one additional objective term without either (a) editing the library

file in place (forbidden, CLAUDE.md rule 1) or (b) reimplementing the

whole method. Rejected (a). Chosen (b), documented here rather than hidden.

Every constraint block is copied verbatim from tracking_error.py (same

variable names, same structure, so a future diff against the upstream file

stays legible) except the new user_satisfaction variable/constraint and

the objective.

ev2gym_thesis/oracle/balanced_model.py:34-42

# "Set for this project": adapted from profit_max.py's departure-
# satisfaction penalty in STRUCTURE (a squared kWh gap at departure), not
# in scale -- profit_max.py's weight=100 was calibrated against a profit
# objective (a different unit and magnitude entirely) and would carry no
# transferable meaning here. 1.0 is the starting point (no artificial
# rescaling of either term); the S4.2 sensitivity check (0.5x/1x/2x this
# value, one cell) reports empirically how much the bound moves and
# whether this default needs revising.
SATISFACTION_PENALTY_WEIGHT = 1.0

**Bug found and fixed while adapting, not copied blindly from

profit_max.py:** that file's own user_satisfaction term is

(ev_des_energy[p,i,t] * ev_max_energy[p,i,t-1] - energy[p,i,t])**2 --

multiplying two kWh quantities together (ev_des_energy is documented in

kWh: ev2gym/models/ev.py:23,51) produces a kWh^2 - kWh expression,

dimensionally inconsistent. This class uses the dimensionally consistent

form instead:

ev2gym_thesis/oracle/balanced_model.py:229-243

# NEW vs. tracking_error.py: departure-satisfaction penalty
        # constraint, dimensionally-corrected form -- see module docstring.
        for t in range(self.sim_length):
            for i in range(self.n_cs):
                for p in range(self.number_of_ports_per_cs):
                    if t_dep[p, i, t] == 1:
                        self.m.addConstr(
                            user_satisfaction[p, i, t] == (ev_des_energy[p, i, t] - energy[p, i, t]) ** 2,
                            name=f'ev_user_satisfaction.{p}.{i}.{t}')

        # Objective: tracking error plus the satisfaction penalty -- both
        # minimized (unlike profit_max.py, which maximizes profit minus the
        # penalty; this model has no profit term to maximize).
        self.m.setObjective(power_error.sum() + satisfaction_weight * user_satisfaction.sum(),
                             GRB.MINIMIZE)

Walkthrough: verified before being trusted, not just calibrated -- a

five-step protocol (penalty value measured directly, an absurd-weight

probe, an escalating positive control that only became decisive at 0.05x

transformer capacity, solution comparison, and a source-order code review,

00_lab_log.md's 2026-08-19 entry, scripts/verify_balanced_oracle_objective.py)

confirmed the term is live and correctly implemented -- "satisfaction is

free" on the real 50-cell grid (both variants tie exactly on

average_/min_energy_user_satisfaction, S4.7) is a genuine result, not a

silently-dead objective term producing a false tie.

`scripts/evaluate_oracle.py` (Entregable 5)

Location: scripts/ -- entry point, mirrors scripts/evaluate_rl.py's

dry-run-by-default / --execute structure.

Purpose: builds a G2V-forced replay for each of the 50 grid cells, runs

the requested oracle variant, verifies parity, and appends

algorithm_family="optimal" rows to results/master_results.csv.

**Design decision -- a --variant tracking/balanced flag selecting between

two otherwise-identical evaluation loops, not two separate scripts:** the

replay generation, G2V forcing, and parity verification are identical

between variants -- only the Gurobi model class differs. A single script

with a variant flag keeps that shared logic in one place.

scripts/evaluate_oracle.py:61-77

VARIANTS = {
    "tracking": {
        "algorithm_name": "Optimal_Oracle_Tracking",
        "model_cls": PowerTrackingErrorrMin,
        "model_kwargs": {},
        "notes_base": "reward=none,state=none,solver=gurobi,objective=tracking_error_only,mip_gap=default_full_optimality",
    },
    "balanced": {
        "algorithm_name": "Optimal_Oracle_Balanced",
        "model_cls": PowerTrackingErrorMinBalanced,
        "model_kwargs": {"satisfaction_weight": SATISFACTION_PENALTY_WEIGHT},
        "notes_base": (f"reward=none,state=none,solver=gurobi,"
                        f"objective=tracking_error_plus_satisfaction_penalty,"
                        f"satisfaction_weight={SATISFACTION_PENALTY_WEIGHT},"
                        f"mip_gap=default_full_optimality"),
    },
}

Walkthrough: notes records reward=none for every oracle row (S4.5,

04_oracle_and_pitd3.md) -- the oracle bypasses reward_function/

state_function entirely (reads the replay directly, never calls

env.step() with a reward), confirmed by reading PowerTrackingErrorrMin.__init__,

which has no such parameter and never imports from ev2gym.rl_agent.

total_reward is therefore left blank rather than populated with a number

nothing else is comparable to.

`ev2gym_thesis/rl/reward_pi.py` -- retained as negative-result evidence

Location: ev2gym_thesis/rl/, alongside Week 3's env_factory.py/config_rl.py.

Purpose: documents, and keeps importable, both falsified reward-only

physics adaptations -- used by no training run in this project. The module's

own docstring states this explicitly (added 2026-08-19) so a future reader

opening this file does not mistake it for the actual TD3_TrackingOnly arm.

**Design decision -- kept in the repository and git history rather than

deleted:** this module IS the evidence for 04_oracle_and_pitd3.md S4.3's

finding. Its tests (ev2gym_thesis/tests/test_week4.py's

TestPIRewardFunction) stay green because the functions themselves are

correctly implemented and well-tested -- what failed was the underlying

design idea in each case, not the code.

**Design 1 (instantaneous margin), rejected -- Spearman rank correlation

with the vanilla reward's existing overload term was exactly 1.0 at every

weight tested (20-2000):** both terms are monotonic functions of the same

single scalar (instantaneous power vs. instantaneous capacity) -- any two

monotone functions of the same scalar induce the same step ordering, so no

weight could ever make them rank steps differently. Proven before training,

not inferred from a disappointing learning curve afterward.

ev2gym_thesis/rl/reward_pi.py:146-150

# Kept for the record, not used: the original instantaneous-margin design
# (design iteration 1), rejected after the Spearman=1.0 finding -- see
# this module's docstring and thesis_docs/chapters/00_lab_log.md for the
# full rejected-alternative writeup.
PI_TD3_CAPACITY_MARGIN_FRACTION = 0.05

**Design 2 (capacity-headroom / latent-exposure), rejected on a different,

independent axis -- the SoC-gradient problem:** uses

env.charge_power_potential (the connected fleet's max-rate demand, a

function of which EVs are present and their state, not directly of the

action taken) against the transformer's near-future minimum capacity. This

genuinely broke the Spearman=1.0 tie (mean 0.9855 across 6 cells), but a

second, independent verification found why it moved:

charge_power_potential excludes any EV once it reaches 100% SoC, so

charging EVs to full faster removes them from the term's sum regardless of

whether that fast charging caused a real overload -- Round Robin (which

already nearly eliminates transformer overload) was penalized ~32x more

often than AFAP (which overloads routinely), with a +0.66/+0.68 correlation

against mean fleet SoC confirming the mechanism directly.

ev2gym_thesis/rl/reward_pi.py:125-142

# "Set for this project": the horizon over which the transformer's
# capacity profile is scanned for its minimum, so the term reacts to
# capacity dips the current step alone wouldn't reveal (this station's
# max_power profile can vary intra-day, e.g. under a demand-response
# event -- see ev2gym.models.transformer). Chosen after a sensitivity
# sweep over H in {1, 2, 4, 8} steps (15 min/step, so up to 2h ahead) --
# see thesis_docs/chapters/00_lab_log.md's 2026-08-19 entry for the
# measured effect on the disagreement rate against get_how_overloaded().
PI_TD3_HORIZON_H = 4

# "Set for this project", calibrated against the measured decomposition
# (thesis_docs/chapters/00_lab_log.md, 2026-08-19: tracking term sums to
# ~-37,778, the existing overload term to ~-3,732, over one reference
# AFAP episode) -- target: comparable magnitude to the existing overload
# term at the steps where this term is active, not dominant or negligible.
# The original design's weight, 20.0, is named here as the rejected,
# qualitatively-estimated value that motivated this recalibration.
PI_TD3_PHYSICS_WEIGHT = 50.0

ev2gym_thesis/rl/reward_pi.py:168-186

def headroom_penalty_term(env, horizon: int = PI_TD3_HORIZON_H) -> float:
    """Design iteration 2, actually used. Penalizes in proportion to how
    much the connected fleet's max-rate demand (env.charge_power_potential)
    exceeds the MINIMUM transformer capacity over the next `horizon` steps
    -- anticipatory on both sides: the fleet's latent demand (not the
    realized draw) and the capacity's near-future minimum (not just its
    current value). 0 when latent demand is within that minimum capacity;
    increasingly negative otherwise, regardless of whether the agent's
    action this step caused a realized overload. Direction is unambiguous
    and directly unit-tested (ev2gym_thesis/tests/test_week4.py).
    """
    step = env.current_step
    potential = env.charge_power_potential[step] if step < len(env.charge_power_potential) else 0.0
    total = 0.0
    for tr in env.transformers:
        end = min(step + horizon, len(tr.max_power))
        min_capacity = min(tr.max_power[step:end]) if end > step else tr.max_power[min(step, len(tr.max_power) - 1)]
        total -= max(0.0, potential - min_capacity)
    return total

ev2gym_thesis/rl/reward_pi.py:191-201

def SqTrError_TrPenalty_UserIncentives_PI(env, total_costs, user_satisfaction_list, *args):
    """Drop-in reward for the TD3_HeadroomPenalty arm: Week 3's
    vanilla-TD3 reward, unchanged, plus the capacity-headroom penalty
    term. This is the ONLY difference from the vanilla-TD3 arm
    (thesis_docs/chapters/04_oracle_and_pitd3.md S4.4's controlled-
    comparison design). Function name kept for import stability across
    the naming decision (04_oracle_and_pitd3.md S4.3) -- the ALGORITHM
    name used in the registry/training scripts is TD3_HeadroomPenalty."""
    reward = SqTrError_TrPenalty_UserIncentives(env, total_costs, user_satisfaction_list, *args)
    reward += PI_TD3_PHYSICS_WEIGHT * headroom_penalty_term(env)
    return reward

Walkthrough -- why no third design was attempted: the repair that would

fix Design 2's flaw (weighting by each EV's remaining need against a fixed

departure deadline, so early completion cannot lower the penalty) needs each

EV's time of departure. ev2gym.rl_agent.state.PublicPST withholds this

information deliberately -- confirmed by reading state.py:6-63: the

exposed per-EV features are a full/not-full flag, cumulative

already-delivered energy, and elapsed (not remaining) dwell time, per the

EV2Gym paper's own Public-PST problem definition (Sec. III-A: *"we assume

that information about EV arrival and departure time... is unavailable"*).

Extending the state was considered and rejected on realism grounds, not

cost: a real Bogota public-station operator does not know a walk-up user's

departure time either, and extending the state for only this arm would also

make the comparison two-variable (state AND reward differing), with no way

to attribute a result to either one. Full account, including the Eq. 14

sign ambiguity found while reading the paper and the Week 6 conditional

stretch-goal path, in 04_oracle_and_pitd3.md S4.3.

`scripts/train_td3.py` / `scripts/calibrate_td3_timing.py` -- `TD3_TrackingOnly` reward arm (Entregable 6)

Location: scripts/ -- Week 3's existing entry points, extended in

place, not forked.

Purpose: adds a second, selectable reward function

(SquaredTrackingErrorReward) alongside Week 3's vanilla reward

(SqTrError_TrPenalty_UserIncentives), so the same training/evaluation

pipeline produces a genuinely single-variable ablation.

**Design decision -- a --reward flag selecting a named arm, not a new

script:** rejected copying train_td3.py into a train_td3_tracking_only.py

fork -- every other hyperparameter (timesteps, TRAIN_SEEDS, state

function, network architecture, replay buffer, VecNormalize) must stay

byte-identical between the two arms for the comparison to be

single-variable, and a fork risks silent drift between the two copies over

time. Chosen: one script, one new flag, both reward functions pre-existing

and unmodified in ev2gym.rl_agent.reward.

scripts/train_td3.py:50-51

REWARD_FNS = {"vanilla": DEFAULT_REWARD_FN, "tracking_only": SquaredTrackingErrorReward}
ARM_NAMES = {"vanilla": "TD3_vanilla", "tracking_only": "TD3_TrackingOnly"}

Walkthrough: run_name(seed, reward_key) and

ARM_NAMES = {"vanilla": "TD3_vanilla", "tracking_only": "TD3_TrackingOnly"}

keep the two arms' checkpoint directories and registry algorithm names

distinct without touching env_factory.py/config_rl.py/callbacks.py/

eval_utils.py -- the Week 3 reward/state separation held, exactly as

04_oracle_and_pitd3.md S4.4 states.

scripts/train_td3.py:145-161

manifest = {
        "run_name": name,
        "algorithm": "TD3",
        "algorithm_family": "rl",
        "train_seed": seed,
        "git_commit": get_git_commit(),
        "timestamp_utc": datetime.datetime.utcnow().isoformat(),
        "config_path": REFERENCE_CONFIG_PATH,
        "reward_arm": reward_key,
        "reward_function": reward_fn.__name__,
        "state_function": DEFAULT_STATE_FN.__name__,
        "sample_mode": "round_robin",
        "train_days_pool_size": len(TRAIN_DAYS),
        "total_timesteps": config_rl.TOTAL_TIMESTEPS,
        "wall_clock_s": round(wall_clock_s, 2),
        "wall_clock_min": round(wall_clock_s / 60, 2),
        "resumed_from": resume_checkpoint,

**Design decision -- the manifest now records reward_arm and the real

reward_fn.__name__, not just a hardcoded string:** Week 3's manifest

schema already captured reward/state function names, but as a

constructor-time constant. Recording the actually-resolved function name

(not the flag string passed on the command line) means a manifest is

self-describing even if ARM_NAMES' mapping is ever edited later.

`scripts/evaluate_rl.py` -- extended for `TD3_TrackingOnly` (Entregable 7)

Location: scripts/ -- Week 3's existing entry point, extended in

place.

Purpose: evaluates all 6 TD3 checkpoints (3 TD3_vanilla seeds + 3

TD3_TrackingOnly seeds) plus the existing RandomPolicy control on the

same 50-cell grid.

**Design decision -- TD3_ALGORITHMS becomes a list of

(algo_name, train_seed, model_path, reward_fn) tuples, not two separate

lists:** a single list keeps the evaluation loop identical for both arms --

reward_fn is threaded into make_env(..., reward_fn=reward_fn) per

checkpoint, since evaluation must reconstruct the same reward function each

checkpoint was trained under (a mismatch here would make evaluation-time

reward diagnostics meaningless, even though the reported registry METRICS

are reward-independent).

scripts/evaluate_rl.py:147-164

def __init__(self, model, venv, env, scenario_seed: int):
        self.model = model
        self.venv = venv  # loaded VecNormalize instance, used only for its normalize_obs() stats -- never stepped
        self.env = env
        self.scenario_seed = scenario_seed

    def reset(self):
        obs, _ = reset_for_evaluation(self.env, self.scenario_seed)
        return obs

    def act(self, obs):
        norm_obs = self.venv.normalize_obs(obs)
        action, _ = self.model.predict(norm_obs, deterministic=True)
        return action

    def step(self, action):
        obs, reward, terminated, truncated, info = self.env.step(action)
        return obs, reward, (terminated or truncated), info

Walkthrough: _notes_for(reward_fn, train_seed=None) records

reward=<function name> in the registry notes field per row -- the same

mechanism Week 3 already used, extended so TD3_TrackingOnly rows correctly

carry reward=SquaredTrackingErrorReward (matching AFAP/Round Robin's

fallback-default name) while TD3_vanilla rows carry

reward=SqTrError_TrPenalty_UserIncentives. This is what makes

ev2gym_thesis/figures.py's assert_total_reward_comparable guardrail

correctly permit AFAP/RoundRobin/TD3_TrackingOnly comparisons on

total_reward while still raising if TD3_vanilla is mixed in -- the first

case in this project where total_reward is legitimately comparable across

a heuristic and a trained RL agent (S4.4/S4.5 in 04_oracle_and_pitd3.md).

`scripts/analyze_week4_results.py` (Entregable 8)

Location: scripts/ -- entry point, writes 5 CSVs to results/.

Purpose: the reward-ablation bootstrap comparison (TD3_TrackingOnly vs.

TD3_vanilla vs. baselines), the optimality-gap analysis (each online

algorithm's distance to the appropriate oracle variant), and the oracle

tie-break noise floor.

**Design decision -- the optimality-gap metrics are restricted to a

declared, small set, not computed for every registry column:** rejected

computing a gap for every shared metric -- several (e.g. transformer

overload) are hard constraints in both oracle variants, trivially 0, and a

"gap" against a trivial bound is not informative (S4.2/S4.7's own

restriction, repeated here at the code level).

scripts/analyze_week4_results.py:62-70

# Restriction stated once, applied everywhere: a metric only gets a gap
# row if the corresponding oracle variant actually optimizes it (or a
# strict superset of it). total_transformer_overload is deliberately
# absent -- see the module docstring.
GAP_METRICS = {
    "tracking_error": "Optimal_Oracle_Tracking",
    "average_user_satisfaction": "Optimal_Oracle_Balanced",
    "min_energy_user_satisfaction": "Optimal_Oracle_Balanced",
}

**Design decision -- reuse stats_utils.paired_bootstrap_ci (Week 2),

write no new bootstrap code:** the pairing logic (resample matched `(seed,

eval_day)` cells together) is identical to what Weeks 2-3's figures already

needed.

Walkthrough: cross_check_against_noise_floor() is the explicit link

between results/optimality_gap.csv and

results/oracle_tiebreak_noise_floor.csv -- an online algorithm's measured

gap to the oracle is only interpreted as a real, closeable gap if it exceeds

the noise floor Optimal_Oracle_Tracking and Optimal_Oracle_Balanced

already show against EACH OTHER purely from the LP-tie-break/nonlinear-

simulator mismatch (S4.7). A gap smaller than that floor cannot be

distinguished from oracle-internal noise.

`ev2gym_thesis/figures.py` / `scripts/make_figures.py` -- extended for 11 arms (Entregable 9)

Location: same Week 2-3 modules, extended in place.

Purpose: ALGORITHM_STYLE grows to cover TD3_TrackingOnly_ts100/101/102

and both oracle variants; two new figures (f10_optimality_gap,

f11_physics_term_falsification) are added; f08 is rewritten to one panel

per reward arm.

ev2gym_thesis/figures.py:17-50

ALGORITHM_STYLE = {
    "ChargeAsFastAsPossible": {"color": "#d62728", "marker": "o", "label": "AFAP"},
    "RoundRobin": {"color": "#1f77b4", "marker": "s", "label": "Round Robin"},
    # Week 3 additions (append only, per project convention -- AFAP/Round
    # Robin's color/marker above are untouched). Three distinct shades of
    # green for the three TD3 training seeds (same algorithm, different
    # training runs -- visually grouped by hue, distinguished by marker),
    # and a neutral gray for the random-policy negative control so it never
    # visually competes with the algorithms actually being compared.
    "TD3_vanilla_ts100": {"color": "#2ca02c", "marker": "^", "label": "TD3 (seed 100)"},
    "TD3_vanilla_ts101": {"color": "#5fd35f", "marker": "v", "label": "TD3 (seed 101)"},
    "TD3_vanilla_ts102": {"color": "#1b6b1b", "marker": "D", "label": "TD3 (seed 102)"},
    "RandomPolicy": {"color": "#7f7f7f", "marker": "x", "label": "Random (control)"},
    # Week 4 additions (append only). TD3_TrackingOnly: a distinct hue
    # family (purple) from TD3_vanilla's greens -- same algorithm-family
    # visual grouping convention (hue = family, marker = seed) Week 3
    # established. PI-TD3 was falsified before training (see
    # thesis_docs/chapters/04_oracle_and_pitd3.md S4.3) and never got an
    # entry here -- no arm named PI_TD3 exists to style.
    "TD3_TrackingOnly_ts100": {"color": "#9467bd", "marker": "^", "label": "TD3-TrackingOnly (seed 100)"},
    "TD3_TrackingOnly_ts101": {"color": "#c5b0d5", "marker": "v", "label": "TD3-TrackingOnly (seed 101)"},
    "TD3_TrackingOnly_ts102": {"color": "#5b2c86", "marker": "D", "label": "TD3-TrackingOnly (seed 102)"},
    # Oracles: bounds, not competitors (thesis_docs/chapters/04_oracle_and_pitd3.md
    # S4.1) -- black/near-black, dashed, and (where a figure supports it)
    # excluded from competitive comparison visuals (bars/boxplots/pareto/
    # heatmap) in favor of a reference line/band in dedicated figures
    # (f10_optimality_gap). "linestyle" is a new style key, consumed only
    # where a figure draws lines (f01/f08/f10) -- ALGORITHM_STYLE entries
    # without it default to a solid line via style_for's callers.
    "Optimal_Oracle_Tracking": {"color": "#000000", "marker": "*", "label": "Oracle (tracking-only)", "linestyle": "--"},
    "Optimal_Oracle_Balanced": {"color": "#525252", "marker": "P", "label": "Oracle (balanced)", "linestyle": "--"},
    # Append new algorithms here as they're added -- never reassign an
    # existing entry's color/marker once a figure has used it.
}

**Design decision -- oracle rows excluded from every figure that compares

online algorithms on a shared axis (f02-f05, f07), included only in the new

f10:** the oracle is not a competing strategy (S4.1) -- plotting it

alongside AFAP/Round Robin/TD3 on a bar chart would visually imply it is

one more algorithm choice rather than a bound. `_algos_present(rows,

exclude_oracle=True)` centralizes this exclusion so it cannot be

accidentally reintroduced figure-by-figure.

**Design decision -- f08_learning_curves becomes one subplot panel per

reward arm, not one shared axis:** TD3_vanilla and TD3_TrackingOnly

optimize different reward functions with different natural scales

(SqTrError_TrPenalty_UserIncentives includes overload/satisfaction

penalty terms SquaredTrackingErrorReward does not) -- plotting both

arms' raw episode reward on one shared y-axis would visually suggest they

are comparable numbers, repeating the exact mistake

total_reward_guardrail exists to prevent elsewhere in this codebase.

ev2gym_thesis/figures.py:55-90

# Week 3, Entregable 3 (thesis_docs/chapters/03_rl_baseline.md S3.5):
# total_reward is computed under whichever reward_function an EV2Gym run was
# built with. Weeks 1-2's heuristic rows and Week 3+'s RL rows do NOT share
# a reward function (see that chapter section), so total_reward is not a
# comparable quantity across rows that used different ones -- comparing it
# anyway would silently plot apples against oranges under a shared axis
# label. New registry rows record their reward function by name in the
# `notes` column (e.g. "reward=SqTrError_TrPenalty_UserIncentives,..."); rows
# with no such marker (Weeks 1-2) used the environment's own default.
_DEFAULT_REWARD_FN_NAME = "SquaredTrackingErrorReward"  # EV2Gym.__init__'s own default, implicit for rows whose notes don't declare a reward function


def _reward_fn_name(row: dict) -> str:
    for part in (row.get("notes") or "").split(","):
        if part.startswith("reward="):
            return part.split("=", 1)[1]
    return _DEFAULT_REWARD_FN_NAME


def assert_total_reward_comparable(rows: list, metric: str = "total_reward") -> None:
    """No-op for any metric other than total_reward. For total_reward,
    raises if `rows` mixes runs built with different reward functions.
    Call this at the top of any per-metric loop in a figure-generating
    function, before computing/plotting values for that metric, so a future
    figure that adds total_reward to a comparison fails loudly instead of
    silently comparing incompatible values."""
    if metric != "total_reward":
        return
    reward_fns = {_reward_fn_name(r) for r in rows}
    if len(reward_fns) > 1:
        raise ValueError(
            f"Cannot compare/plot total_reward across rows built with "
            f"different reward functions: {sorted(reward_fns)}. See "
            f"thesis_docs/chapters/03_rl_baseline.md S3.5 -- total_reward is "
            f"only a comparable quantity within a single reward function."
        )

**Design decision -- f11_physics_term_falsification regenerates its data

live from reward_pi.py's real functions, not from hand-transcribed

numbers:** rejected copying the Spearman/Pearson table from

04_oracle_and_pitd3.md S4.3 into the figure script as a literal constant

-- a hand-transcribed number can silently drift from the function that

produced it if either is edited later. Chosen: the figure calls

transformer_capacity_margin_term/headroom_penalty_term directly against

a real evaluation episode at figure-generation time, so the figure and the

chapter text are guaranteed to describe the same underlying computation.

Visual QA findings: see the Week 4 lab-log entry and

04_oracle_and_pitd3.md S4.9 for the executed run's findings -- reported

there rather than duplicated here, since this document is regenerated by

source inspection and cannot itself confirm what a rendered PNG looks like.

`ev2gym_thesis/tests/test_week4.py` (Entregable 10)

Location: ev2gym_thesis/tests/, alongside Week 2-3's test modules.

Purpose: 16 tests across 6 classes: TestPIRewardFunction (7, pins the

shape of both falsified reward terms so future edits to reward_pi.py

cannot silently change already-reported numbers), TestControlledComparisonInvariant

(3, extended for TD3_TrackingOnly -- builds both training envs through the

shared env_factory.make_training_env path and checks resolved

action_space/observation_space/state_fn/config_path/sample_mode

are identical while reward_fn differs, on the actual resolved objects),

TestOracleDeterminism (1, skipped if Gurobi unavailable),

TestOracleBoundTripwire (1), TestRegistryCount (1, new this deliverable

-- expects 11 x 50 = 550 main-grid rows), TestTotalRewardComparabilityGuardrail

(3, empirically verifies AFAP+RoundRobin+TD3_TrackingOnly is permitted on

total_reward while AFAP+TD3_vanilla and AFAP+Oracle both raise).

Bug found and fixed while writing `TestOracleBoundTripwire`:

ev2gym_thesis/registry_analysis.load_registry coerces every

NUMERIC_META_COLUMNS field, including seed, to float. An early version

of this test compared r["seed"] == "0" (string) against the coerced

float value, which never matches -- the assertion silently iterated over

zero rows and reported false-positive success. Fixed to r["seed"] == 0.0;

documented in the test's own comment so the same mistake is not repeated in

a future test against this module.

Results: see the Week 4 lab-log entry for the executed run's pass/fail

outcome -- this document describes what the tests check, not whether they

passed on a specific run, since re-running this generator does not itself

re-execute the test suite.

Library Choices (additions this week)

| Library | Used for | Why this one | Rejected alternative |
| --- | --- | --- | --- |
| gurobipy (academic license, LicenseID 2853634) | The perfect-information oracle, both variants | Already the project's declared MPC/optimal solver per CLAUDE.md rule 6; an academic license became available this week, superseding the Week 2/3 "restricted, non-production license" finding that had pointed toward a free-solver fallback. | A free solver (HiGHS/CVXPY/OR-Tools) -- was the Week 2/3 fallback plan, no longer needed once the academic license was confirmed active and unlimited. |

References (additions this week)

[Primary]

Read in full this week: pi_td3_paper.pdf (arXiv:2510.12335v2) -- Algorithm 1

(the K-step differentiable-rollout actor update, the paper's actual novel

mechanism) and Eq. 14 (the reward decomposition the brief originally asked

to adapt) are cited by number in 04_oracle_and_pitd3.md S4.3, per

CLAUDE.md rule 3 (never reconstruct a paper's equations from memory).

ev2gym_paper.pdf (arXiv:2404.01849v1) -- Sec. III-A's Public-PST problem

definition (*"we assume that information about EV arrival and departure

time... is unavailable"*) is the source confirming why PublicPST cannot

be extended to support Design 2's repair without breaking this thesis's

realism claim.

Full acquisition status and citation details for every reference (including

the 2-of-N regulatory documents available only as HTML, a declared

limitation) in thesis_docs/references/REFERENCES.md, new this week.

Headline Results Summary

**Stated plainly here, not softened or left only in the full chapter

(corrected 2026-08-20 after an acceptance review found the first draft

buried this in passing):**

**Under this project's training budget, reinforcement learning does not

beat a trivial round-robin heuristic on tracking error -- by a wide

margin, consistently across two reward functions and six independent

training seeds.** Round Robin sits 136.3% above the tracking-error oracle

bound; every TD3 checkpoint tested (both reward arms) sits 422-612% above

it -- the closest RL checkpoint is still 3.1x farther from the bound than

a heuristic with no training cost and no seed variance. This is bounded

explicitly to *a 60,000-timestep budget on CPU* (this project's declared,

drastic reduction against the source papers' 5-48 hour HPC runs), not

claimed as a general property of RL vs. heuristics. On this evidence,

Objective 4's recommended-strategy question currently points toward Round

Robin, not RL -- a legitimate, defensible conclusion this thesis is fully

able to reach, surfaced now rather than left for Week 6.

**The TD3_TrackingOnly vs. TD3_vanilla reward ablation is a mixed

result, not a validation of Week 3's reward choice.** TD3_vanilla

(composite reward) wins on tracking error, energy tracking error,

transformer overload, and battery degradation; TD3_TrackingOnly

(tracking-only reward) wins on profit and both satisfaction metrics --

two of this thesis's three declared objective axes (satisfaction,

profitability, technical compliance). Neither dominates. The

counterintuitive direction -- optimizing tracking error alone producing a

*worse* realized tracking error -- is recorded as a hypothesis

(reduced-budget reward shaping aiding credit assignment), not an

established mechanism, with an explicit longer-run test proposed and

declared out of scope this week.

Full tables, the oracle-vs-online comparison, the reward-ablation bootstrap,

the per-metric noise-floor table, and the proposed energy-not-served target

mapping are in thesis_docs/chapters/04_oracle_and_pitd3.md (S4.6-S4.10) and

thesis_docs/chapters/00_lab_log.md's Week 4 entries -- not repeated in

full here to avoid drift between two copies of the same numbers, per the

same convention Week 3's handback document used; the two findings above are

stated in full because they are this week's headline conclusions, not

supporting detail.