## final_compliance
Demand Level (multiple of the Week 1 spawn multiplier 30; 0.25 = spawn 8 = 0.267x, 0.75 = spawn 22 = 0.733x) | Algorithm | Runs (count) | Independent Scenario Seeds in the Bootstrap (n_clusters) | Satisfaction of Served EVs, Mean (fraction, 0 to 1) | Satisfaction of Served EVs, 95% CI, cluster bootstrap over 50 scenario seeds Lower Bound | Satisfaction > 90%, Served EVs: Status | Satisfaction Counting Rejected Arrivals, Mean (fraction, 0 to 1) | Satisfaction Counting Rejected Arrivals, 95% CI, cluster bootstrap over 50 scenario seeds Lower Bound | Satisfaction > 90%, Counting Rejected Arrivals: Status | Energy Not Served vs. AFAP, Served EVs, Mean (% already scaled) | Energy Not Served vs. AFAP, 95% CI, cluster bootstrap over 50 scenario seeds Upper Bound (% already scaled) | Energy Target < 15%, ENS_rel on Served EVs: Status | Demand Not Served, Lower Bound, Mean (fraction, 0 to 1) | Demand Not Served, 95% CI, cluster bootstrap over 50 scenario seeds Upper Bound | Energy Target < 15%, on Demand Not Served: Status | Runs with Any Transformer Overload (count of 100) | Transformer Overload, Mean (kWh per day) | Transformer Within Rating in Every Run: Status | 95th-Percentile Per-Seed Peak Station Power (kW) | 95th-Percentile Peak, 95% CI, cluster bootstrap over 50 scenario seeds Upper Bound (kW) | Voltage +/-5% (RETIE): Status | Voltage: Reason | Note | Arm, Display Label
1 | ChargeAsFastAsPossible | 100 | 50 | 99.89% | 99.84% | met | 97.92% | 97.15% | met | 0 | 0 | met | 2.423% | 3.153% | met | 97 | 109.6732 | not met | 206.1289 | 240.1957 | met on node_123 | node_123 (in band idle), bus 115, weekday only, 50 seeds: 0/50 cells out of band, lowest bus 0.9738 p.u. |  | AFAP
1 | RoundRobin | 100 | 50 | 94.86% | 94.38% | met | 92.99% | 92.21% | met | 22.8575 | 24.9212 | not met | 24.77% | 26.78% | not met | 65 | 45.2187 | not met | 175.2609 | 215.6551 | not evaluated | not rerun on node_123 under DC sessions (the brief's Part 3 covers AFAP and the transformer-aware Round Robin); the 34-node feeder is out of band when idle |  | Round Robin (EV2Gym, follows the setpoint)
1 | RoundRobin_TransformerCapped | 100 | 50 | 99.25% | 99.1% | met | 97.3% | 96.47% | met | 2.6949 | 3.2967 | met | 5.004% | 6.063% | met | 0 | 0 | met | 99.8998 | 99.8998 | met on node_123 | node_123 (in band idle), bus 115, weekday only, 50 seeds: 0/50 cells out of band, lowest bus 0.9738 p.u. | recommended operating strategy (round-robin load management, budget = transformer rating) | Round Robin, transformer-aware (recommended)
1 | MPC_TrackingG2V | 100 | 50 | 88.89% | 87.69% | not met | 87.16% | 85.78% | not met | 47.3495 | 52.034 | not met | 48.46% | 53.12% | not met | 7 | 3.8052e-05 | not met | 100.0005 | 100.0006 | not evaluated | not rerun on node_123 under DC sessions (the brief's Part 3 covers AFAP and the transformer-aware Round Robin); the 34-node feeder is out of band when idle |  | MPC_TrackingG2V (upper bound, non-causal)
1 | Optimal_Oracle_Tracking | 100 | 50 | 91.32% | 90.82% | met | 89.52% | 88.73% | not met | 38.3992 | 40.4675 | not met | 39.89% | 41.9% | not met | 0 | 0 | met | 100.0001 | 100.0001 | not evaluated | not rerun on node_123 under DC sessions (the brief's Part 3 covers AFAP and the transformer-aware Round Robin); the 34-node feeder is out of band when idle |  | Optimal_Oracle_Tracking (upper bound, non-causal)
1 | TD3_vanilla_extended_ts102 | 100 | 50 | 94.08% | 93.73% | met | 92.22% | 91.52% | met | 26.2687 | 27.9332 | not met | 28.08% | 29.65% | not met | 81 | 57.299 | not met | 196.5719 | 222.7073 | not evaluated | not rerun on node_123 under DC sessions (the brief's Part 3 covers AFAP and the transformer-aware Round Robin); the 34-node feeder is out of band when idle | out of its training distribution (trained on Dutch durations) | Final RL model (out of its training distribution)
1.3 | ChargeAsFastAsPossible | 100 | 50 | 99.88% | 99.84% | met | 94.69% | 93.67% | met | 0 | 0 | met | 5.533% | 6.508% | met | 100 | 176.7343 | not met | 226.6847 | 253.1991 | met on node_123 | node_123 (in band idle), bus 115, weekday only, 50 seeds: 0/50 cells out of band, lowest bus 0.9734 p.u. |  | AFAP
1.3 | RoundRobin | 100 | 50 | 95.58% | 95.14% | met | 90.62% | 89.61% | not met | 19.0207 | 20.7433 | not met | 23.55% | 25.23% | not met | 83 | 70.8302 | not met | 195.7476 | 219.1632 | not evaluated | not rerun on node_123 under DC sessions (the brief's Part 3 covers AFAP and the transformer-aware Round Robin); the 34-node feeder is out of band when idle |  | Round Robin (EV2Gym, follows the setpoint)
1.3 | RoundRobin_TransformerCapped | 100 | 50 | 99.02% | 98.88% | met | 93.89% | 92.83% | met | 3.7166 | 4.2928 | met | 9.01% | 10.2% | met | 0 | 0 | met | 99.8998 | 99.8998 | met on node_123 | node_123 (in band idle), bus 115, weekday only, 50 seeds: 0/50 cells out of band, lowest bus 0.9734 p.u. | recommended operating strategy (round-robin load management, budget = transformer rating) | Round Robin, transformer-aware (recommended)
1.3 | MPC_TrackingG2V | 100 | 50 | 87.84% | 86.67% | not met | 83.26% | 81.9% | not met | 51.6874 | 56.2439 | not met | 54.37% | 58.72% | not met | 7 | 4.0244e-05 | not met | 100.0005 | 100.0007 | not evaluated | not rerun on node_123 under DC sessions (the brief's Part 3 covers AFAP and the transformer-aware Round Robin); the 34-node feeder is out of band when idle |  | MPC_TrackingG2V (upper bound, non-causal)
1.3 | Optimal_Oracle_Tracking | 100 | 50 | 91.83% | 91.34% | met | 87.05% | 86.11% | not met | 35.5918 | 37.3166 | not met | 39.21% | 40.79% | not met | 0 | 0 | met | 100.0001 | 100.0001 | not evaluated | not rerun on node_123 under DC sessions (the brief's Part 3 covers AFAP and the transformer-aware Round Robin); the 34-node feeder is out of band when idle |  | Optimal_Oracle_Tracking (upper bound, non-causal)
1.3 | TD3_vanilla_extended_ts102 | 100 | 50 | 94.3% | 94.02% | met | 89.39% | 88.44% | not met | 24.7749 | 26.1706 | not met | 28.99% | 30.4% | not met | 95 | 88.7829 | not met | 205.7142 | 240.3751 | not evaluated | not rerun on node_123 under DC sessions (the brief's Part 3 covers AFAP and the transformer-aware Round Robin); the 34-node feeder is out of band when idle | out of its training distribution (trained on Dutch durations) | Final RL model (out of its training distribution)
1.6 | ChargeAsFastAsPossible | 100 | 50 | 99.88% | 99.84% | met | 89.46% | 88.04% | not met | 0 | 0 | met | 10.46% | 11.82% | met | 100 | 231.5243 | not met | 234.0429 | 240.7059 | met on node_123 | node_123 (in band idle), bus 115, weekday only, 50 seeds: 0/50 cells out of band, lowest bus 0.9733 p.u. |  | AFAP
1.6 | RoundRobin | 100 | 50 | 96.14% | 95.79% | met | 86.11% | 84.77% | not met | 16.5817 | 18.0457 | not met | 25.34% | 26.88% | not met | 96 | 95.7454 | not met | 201.7079 | 250.7566 | not evaluated | not rerun on node_123 under DC sessions (the brief's Part 3 covers AFAP and the transformer-aware Round Robin); the 34-node feeder is out of band when idle |  | Round Robin (EV2Gym, follows the setpoint)
1.6 | RoundRobin_TransformerCapped | 100 | 50 | 98.92% | 98.78% | met | 88.61% | 87.16% | not met | 4.2124 | 4.7538 | met | 14.19% | 15.69% | not met | 0 | 0 | met | 99.8998 | 99.8998 | met on node_123 | node_123 (in band idle), bus 115, weekday only, 50 seeds: 0/50 cells out of band, lowest bus 0.9733 p.u. | recommended operating strategy (round-robin load management, budget = transformer rating) | Round Robin, transformer-aware (recommended)
1.6 | MPC_TrackingG2V | 100 | 50 | 86.91% | 85.79% | not met | 77.84% | 76.22% | not met | 56.042 | 60.4369 | not met | 60.63% | 64.61% | not met | 11 | 7.2449e-05 | not met | 100.0006 | 100.0006 | not evaluated | not rerun on node_123 under DC sessions (the brief's Part 3 covers AFAP and the transformer-aware Round Robin); the 34-node feeder is out of band when idle |  | MPC_TrackingG2V (upper bound, non-causal)
1.6 | Optimal_Oracle_Tracking | 100 | 50 | 92.12% | 91.69% | met | 82.48% | 81.22% | not met | 34.3581 | 35.9801 | not met | 41.33% | 42.77% | not met | 0 | 0 | met | 100.0001 | 100.0001 | not evaluated | not rerun on node_123 under DC sessions (the brief's Part 3 covers AFAP and the transformer-aware Round Robin); the 34-node feeder is out of band when idle |  | Optimal_Oracle_Tracking (upper bound, non-causal)
1.6 | TD3_vanilla_extended_ts102 | 100 | 50 | 94.78% | 94.49% | met | 84.88% | 83.55% | not met | 22.4778 | 23.7676 | not met | 30.64% | 32.11% | not met | 98 | 122.8261 | not met | 231.5232 | 253.4947 | not evaluated | not rerun on node_123 under DC sessions (the brief's Part 3 covers AFAP and the transformer-aware Round Robin); the 34-node feeder is out of band when idle | out of its training distribution (trained on Dutch durations) | Final RL model (out of its training distribution)