## transfer_classification
Model Input | Transferability Class | Bogota Value / Source | Medellin Value / Source | Note
Energy purchase cost (CU, Nivel 2 commercial, with contribution) | city-specific and replaced | Enel Colombia, Aug 2026: 865.7615 COP/kWh (monomial) | EPM, Sep 2026: 923.92 COP/kWh (Punta; 917.58 Fuera de Punta) | Both invariant-checked (Week 5 tolerances).
Retail EV charging price | city-specific but unavailable, therefore kept and declared | Enel, Aug 2025: 1,450 COP/kWh | Not published by EPM; Bogota's 1,450 used as a labelled sensitivity | No competitor price substituted (pairing rule).
Intraday price spread (Punta vs Fuera de Punta) | city-specific and replaced | 1.57% (Week 5) | 0.69% (EPM Sep 2026) | Below Bogota's; no price-signal control warranted in either city.
EV arrival/departure distributions | city-specific but unavailable, therefore kept and declared | EV2Gym's Dutch public-charging data | Same Dutch data | No Colombian session-level dataset available for either city.
EV fleet specification (70 kWh, 50 kW AC/DC limit) | city-independent | station_v0_bogota.yaml | Same | Same national vehicle market; one homogeneous spec in both.
Station: 8 ports, 100 kW local transformer | city-independent | station_v0_bogota.yaml | Same | A station design, not a city property; the guidelines are about this design.
Feeder abstraction (EV2Gym 34-node feeder, station at bus 27) | city-specific but unavailable, therefore kept and declared | RL-ADN 34-node feeder | Same | No EPM or Enel feeder model is public; the same abstract feeder is used in both.
Demand level (EVs per station per day) | city-specific but unavailable, therefore kept and declared | spawn_multiplier 30 (Week 1 sizing) | Not mapped (see demand mapping) | City EV registrations differ (Medellin/Bogota = 0.40 Jan-Aug 2025) but no source gives per-station demand.
Climate / ambient temperature | city-specific but unavailable, therefore kept and declared | Not modelled by EV2Gym in the main grid | Not modelled | Week 2 degradation study was Bogota-only; not transferred.
National regulation (RETIE voltage band, Res. 40223/2021 connectors, CREG CU method) | city-independent | National | National | Applies identically in both cities.