## transformer_per_seed
Growth Setting (base; spawn1.3/1.6 = station demand axis; load1.3/1.6 = feeder load axis) | Algorithm | Scenario Seed | Transformer Overload, Mean of Weekday and Weekend (kWh per day) | Peak Station Power, Max of Weekday and Weekend (kW)
base | ChargeAsFastAsPossible | 0 | 23.9828 | 126.6795
base | ChargeAsFastAsPossible | 1 | 0 | 99.7661
base | ChargeAsFastAsPossible | 2 | 0 | 74.4031
base | ChargeAsFastAsPossible | 3 | 0 | 99.7661
base | ChargeAsFastAsPossible | 4 | 0 | 99.7661
base | ChargeAsFastAsPossible | 5 | 0 | 99.7661
base | ChargeAsFastAsPossible | 6 | 16.8346 | 123.8529
base | ChargeAsFastAsPossible | 7 | 34.9266 | 169.8531
base | ChargeAsFastAsPossible | 8 | 26.7246 | 131.7661
base | ChargeAsFastAsPossible | 9 | 9.0755 | 118.1511
base | ChargeAsFastAsPossible | 10 | 0 | 99.7661
base | ChargeAsFastAsPossible | 11 | 0 | 99.7661
base | ChargeAsFastAsPossible | 12 | 11.5573 | 114.3085
base | ChargeAsFastAsPossible | 13 | 3.1183 | 106.2366
base | ChargeAsFastAsPossible | 14 | 27.3431 | 154.6861
base | ChargeAsFastAsPossible | 15 | 0 | 99.7661
base | ChargeAsFastAsPossible | 16 | 14.2258 | 119.8877
base | ChargeAsFastAsPossible | 17 | 0 | 99.7661
base | ChargeAsFastAsPossible | 18 | 0 | 94.8031
base | ChargeAsFastAsPossible | 19 | 44.5121 | 147.1939
base | ChargeAsFastAsPossible | 20 | 26.4846 | 152.9692
base | ChargeAsFastAsPossible | 21 | 0 | 99.7661
base | ChargeAsFastAsPossible | 22 | 0 | 99.7661
base | ChargeAsFastAsPossible | 23 | 0 | 99.7661
base | ChargeAsFastAsPossible | 24 | 0 | 99.7156
base | ChargeAsFastAsPossible | 25 | 0 | 99.7661
base | ChargeAsFastAsPossible | 26 | 0 | 99.7661
base | ChargeAsFastAsPossible | 27 | 43.533 | 175.0229
base | ChargeAsFastAsPossible | 28 | 45.1885 | 149.6492
base | ChargeAsFastAsPossible | 29 | 20.0655 | 140.1309
base | ChargeAsFastAsPossible | 30 | 13.8831 | 127.7661
base | ChargeAsFastAsPossible | 31 | 11.8831 | 123.7661
base | ChargeAsFastAsPossible | 32 | 0 | 90.3231
base | ChargeAsFastAsPossible | 33 | 24.8246 | 149.6492
base | ChargeAsFastAsPossible | 34 | 13.8831 | 127.7661
base | ChargeAsFastAsPossible | 35 | 0 | 84.4831
base | ChargeAsFastAsPossible | 36 | 0 | 99.7661
base | ChargeAsFastAsPossible | 37 | 6.179 | 112.3579
base | ChargeAsFastAsPossible | 38 | 0 | 87.8436
base | ChargeAsFastAsPossible | 39 | 18.6003 | 137.2006
base | ChargeAsFastAsPossible | 40 | 26.3201 | 149.6492
base | ChargeAsFastAsPossible | 41 | 16.6232 | 133.2464
base | ChargeAsFastAsPossible | 42 | 25.8214 | 132.1444
base | ChargeAsFastAsPossible | 43 | 0 | 99.7661
base | ChargeAsFastAsPossible | 44 | 0 | 99.7661
base | ChargeAsFastAsPossible | 45 | 11.8831 | 123.7661
base | ChargeAsFastAsPossible | 46 | 61.3197 | 220.8024
base | ChargeAsFastAsPossible | 47 | 28.9861 | 149.6492
base | ChargeAsFastAsPossible | 48 | 78.6334 | 199.5323
base | ChargeAsFastAsPossible | 49 | 24.8246 | 149.6492
base | MPC_TrackingG2V | 0 | 0 | 37.4303
base | MPC_TrackingG2V | 1 | 0 | 44.0253
base | MPC_TrackingG2V | 2 | 0 | 41.0019
base | MPC_TrackingG2V | 3 | 0 | 41.9591
base | MPC_TrackingG2V | 4 | 0 | 29.9663
base | MPC_TrackingG2V | 5 | 0 | 34.3046
base | MPC_TrackingG2V | 6 | 0 | 29.3577
base | MPC_TrackingG2V | 7 | 0 | 40.9535
base | MPC_TrackingG2V | 8 | 0 | 43.8886
base | MPC_TrackingG2V | 9 | 0 | 35.8799
base | MPC_TrackingG2V | 10 | 0 | 30.2157
base | MPC_TrackingG2V | 11 | 0 | 33.0006
base | MPC_TrackingG2V | 12 | 0 | 38.1501
base | MPC_TrackingG2V | 13 | 0 | 40.4941
base | MPC_TrackingG2V | 14 | 0 | 39.9498
base | MPC_TrackingG2V | 15 | 0 | 34.7421
base | MPC_TrackingG2V | 16 | 0 | 37.7814
base | MPC_TrackingG2V | 17 | 0 | 39.1812
base | MPC_TrackingG2V | 18 | 0 | 36.8626
base | MPC_TrackingG2V | 19 | 0 | 36.3583
base | MPC_TrackingG2V | 20 | 0 | 49.1712
base | MPC_TrackingG2V | 21 | 0 | 39.7802
base | MPC_TrackingG2V | 22 | 0 | 51.7522
base | MPC_TrackingG2V | 23 | 0 | 43.2611
base | MPC_TrackingG2V | 24 | 0 | 33.1428
base | MPC_TrackingG2V | 25 | 0 | 36.6581
base | MPC_TrackingG2V | 26 | 0 | 27.8033
base | MPC_TrackingG2V | 27 | 0 | 53.4522
base | MPC_TrackingG2V | 28 | 0 | 36.7923
base | MPC_TrackingG2V | 29 | 0 | 31.0023
base | MPC_TrackingG2V | 30 | 0 | 36.6366
base | MPC_TrackingG2V | 31 | 0 | 30.8522
base | MPC_TrackingG2V | 32 | 0 | 36.0909
base | MPC_TrackingG2V | 33 | 0 | 41.9941
base | MPC_TrackingG2V | 34 | 0 | 30.1982
base | MPC_TrackingG2V | 35 | 0 | 32.429
base | MPC_TrackingG2V | 36 | 0 | 47.4877
base | MPC_TrackingG2V | 37 | 0 | 29.3941
base | MPC_TrackingG2V | 38 | 0 | 32.8575
base | MPC_TrackingG2V | 39 | 0 | 35.7617
base | MPC_TrackingG2V | 40 | 0 | 40.5195
base | MPC_TrackingG2V | 41 | 0 | 30.1309
base | MPC_TrackingG2V | 42 | 0 | 39.8745
base | MPC_TrackingG2V | 43 | 0 | 31.4303
base | MPC_TrackingG2V | 44 | 0 | 24.4437
base | MPC_TrackingG2V | 45 | 0 | 40.2432
base | MPC_TrackingG2V | 46 | 0 | 64.0374
base | MPC_TrackingG2V | 47 | 0 | 38.9327
base | MPC_TrackingG2V | 48 | 0 | 49.5932
base | MPC_TrackingG2V | 49 | 0 | 47.5371
base | Optimal_Oracle_Tracking | 0 | 0 | 40.0157
base | Optimal_Oracle_Tracking | 1 | 0 | 47.576
base | Optimal_Oracle_Tracking | 2 | 0 | 46.7958
base | Optimal_Oracle_Tracking | 3 | 0 | 45.4076
base | Optimal_Oracle_Tracking | 4 | 0 | 33.898
base | Optimal_Oracle_Tracking | 5 | 0 | 41.6798
base | Optimal_Oracle_Tracking | 6 | 0 | 30.5
base | Optimal_Oracle_Tracking | 7 | 0 | 46.4686
base | Optimal_Oracle_Tracking | 8 | 0 | 46.1324
base | Optimal_Oracle_Tracking | 9 | 0 | 36.6062
base | Optimal_Oracle_Tracking | 10 | 0 | 31.8414
base | Optimal_Oracle_Tracking | 11 | 0 | 31.4932
base | Optimal_Oracle_Tracking | 12 | 0 | 43.1144
base | Optimal_Oracle_Tracking | 13 | 0 | 42.8206
base | Optimal_Oracle_Tracking | 14 | 0 | 42.6041
base | Optimal_Oracle_Tracking | 15 | 0 | 38.7611
base | Optimal_Oracle_Tracking | 16 | 0 | 33.7763
base | Optimal_Oracle_Tracking | 17 | 0 | 39.3981
base | Optimal_Oracle_Tracking | 18 | 0 | 29.9423
base | Optimal_Oracle_Tracking | 19 | 0 | 30.8681
base | Optimal_Oracle_Tracking | 20 | 0 | 44.4279
base | Optimal_Oracle_Tracking | 21 | 0 | 36.9888
base | Optimal_Oracle_Tracking | 22 | 0 | 59.0276
base | Optimal_Oracle_Tracking | 23 | 0 | 49.2964
base | Optimal_Oracle_Tracking | 24 | 0 | 32.2354
base | Optimal_Oracle_Tracking | 25 | 0 | 38.8
base | Optimal_Oracle_Tracking | 26 | 0 | 29.9099
base | Optimal_Oracle_Tracking | 27 | 0 | 59.4661
base | Optimal_Oracle_Tracking | 28 | 0 | 33.6082
base | Optimal_Oracle_Tracking | 29 | 0 | 32.2414
base | Optimal_Oracle_Tracking | 30 | 0 | 39.7339
base | Optimal_Oracle_Tracking | 31 | 0 | 37.5016
base | Optimal_Oracle_Tracking | 32 | 0 | 45.7842
base | Optimal_Oracle_Tracking | 33 | 0 | 42.1601
base | Optimal_Oracle_Tracking | 34 | 0 | 29.0948
base | Optimal_Oracle_Tracking | 35 | 0 | 38.0368
base | Optimal_Oracle_Tracking | 36 | 0 | 48.2359
base | Optimal_Oracle_Tracking | 37 | 0 | 33.5439
base | Optimal_Oracle_Tracking | 38 | 0 | 41.6763
base | Optimal_Oracle_Tracking | 39 | 0 | 41.162
base | Optimal_Oracle_Tracking | 40 | 0 | 45.5148
base | Optimal_Oracle_Tracking | 41 | 0 | 34.6952
base | Optimal_Oracle_Tracking | 42 | 0 | 38.4783
base | Optimal_Oracle_Tracking | 43 | 0 | 28.36
base | Optimal_Oracle_Tracking | 44 | 0 | 25.4892
base | Optimal_Oracle_Tracking | 45 | 0 | 36.8292
base | Optimal_Oracle_Tracking | 46 | 0 | 67.1107
base | Optimal_Oracle_Tracking | 47 | 0 | 39.3488
base | Optimal_Oracle_Tracking | 48 | 0 | 52.5478
base | Optimal_Oracle_Tracking | 49 | 0 | 42.8256
base | RoundRobin | 0 | 0 | 49.8636
base | RoundRobin | 1 | 0 | 57.7172
base | RoundRobin | 2 | 0 | 44.178
base | RoundRobin | 3 | 0 | 54.1754
base | RoundRobin | 4 | 0 | 43.943
base | RoundRobin | 5 | 0 | 42.7102
base | RoundRobin | 6 | 0 | 32.3866
base | RoundRobin | 7 | 0 | 58.8795
base | RoundRobin | 8 | 0 | 55.0831
base | RoundRobin | 9 | 0 | 48.7138
base | RoundRobin | 10 | 0 | 36.484
base | RoundRobin | 11 | 0 | 39.5603
base | RoundRobin | 12 | 0 | 50.2417
base | RoundRobin | 13 | 0 | 50.1644
base | RoundRobin | 14 | 0 | 54.623
base | RoundRobin | 15 | 0 | 48.1292
base | RoundRobin | 16 | 0 | 41.2972
base | RoundRobin | 17 | 0 | 51.415
base | RoundRobin | 18 | 0 | 38.3032
base | RoundRobin | 19 | 0 | 41.6798
base | RoundRobin | 20 | 0 | 56.6263
base | RoundRobin | 21 | 0 | 47.9097
base | RoundRobin | 22 | 0 | 78.686
base | RoundRobin | 23 | 0 | 61.6605
base | RoundRobin | 24 | 0 | 42.441
base | RoundRobin | 25 | 0 | 48.7826
base | RoundRobin | 26 | 0 | 32.4125
base | RoundRobin | 27 | 0 | 65.673
base | RoundRobin | 28 | 0 | 43.7035
base | RoundRobin | 29 | 0 | 42.12
base | RoundRobin | 30 | 0 | 45.4869
base | RoundRobin | 31 | 0 | 43.7724
base | RoundRobin | 32 | 0 | 50.749
base | RoundRobin | 33 | 0 | 49.9424
base | RoundRobin | 34 | 0 | 37.8767
base | RoundRobin | 35 | 0 | 46.4721
base | RoundRobin | 36 | 0 | 52.8431
base | RoundRobin | 37 | 0 | 44.9092
base | RoundRobin | 38 | 0 | 50.6662
base | RoundRobin | 39 | 0 | 49.8831
base | RoundRobin | 40 | 0 | 45.6505
base | RoundRobin | 41 | 0 | 45.4325
base | RoundRobin | 42 | 0 | 47.8798
base | RoundRobin | 43 | 0 | 42.1676
base | RoundRobin | 44 | 0 | 29.1711
base | RoundRobin | 45 | 0 | 42.6665
base | RoundRobin | 46 | 0 | 83.2334
base | RoundRobin | 47 | 0 | 45.88
base | RoundRobin | 48 | 0 | 67.7262
base | RoundRobin | 49 | 0 | 59.1907
base | TD3_vanilla_extended_ts102 | 0 | 13.5246 | 116.4861
base | TD3_vanilla_extended_ts102 | 1 | 3.9031 | 107.8061
base | TD3_vanilla_extended_ts102 | 2 | 0 | 97.4171
base | TD3_vanilla_extended_ts102 | 3 | 0 | 99.5641
base | TD3_vanilla_extended_ts102 | 4 | 0 | 79.8831
base | TD3_vanilla_extended_ts102 | 5 | 0 | 99.8479
base | TD3_vanilla_extended_ts102 | 6 | 0 | 99.7631
base | TD3_vanilla_extended_ts102 | 7 | 22.0466 | 144.0931
base | TD3_vanilla_extended_ts102 | 8 | 15.8831 | 131.7661
base | TD3_vanilla_extended_ts102 | 9 | 0 | 67.6831
base | TD3_vanilla_extended_ts102 | 10 | 0 | 72.1179
base | TD3_vanilla_extended_ts102 | 11 | 0.75552 | 101.511
base | TD3_vanilla_extended_ts102 | 12 | 11.5773 | 114.3485
base | TD3_vanilla_extended_ts102 | 13 | 10.94 | 121.88
base | TD3_vanilla_extended_ts102 | 14 | 0 | 99.7641
base | TD3_vanilla_extended_ts102 | 15 | 0 | 99.7557
base | TD3_vanilla_extended_ts102 | 16 | 0 | 99.7661
base | TD3_vanilla_extended_ts102 | 17 | 0 | 99.7661
base | TD3_vanilla_extended_ts102 | 18 | 0 | 94.8031
base | TD3_vanilla_extended_ts102 | 19 | 22.223 | 144.4461
base | TD3_vanilla_extended_ts102 | 20 | 0 | 95.8163
base | TD3_vanilla_extended_ts102 | 21 | 0 | 99.7661
base | TD3_vanilla_extended_ts102 | 22 | 0 | 99.7661
base | TD3_vanilla_extended_ts102 | 23 | 0 | 99.7661
base | TD3_vanilla_extended_ts102 | 24 | 0 | 70.1375
base | TD3_vanilla_extended_ts102 | 25 | 0 | 97.1952
base | TD3_vanilla_extended_ts102 | 26 | 0 | 68.4934
base | TD3_vanilla_extended_ts102 | 27 | 0 | 99.7661
base | TD3_vanilla_extended_ts102 | 28 | 0 | 81.0589
base | TD3_vanilla_extended_ts102 | 29 | 0 | 99.7661
base | TD3_vanilla_extended_ts102 | 30 | 0 | 77.8831
base | TD3_vanilla_extended_ts102 | 31 | 0 | 81.2811
base | TD3_vanilla_extended_ts102 | 32 | 0 | 90.3231
base | TD3_vanilla_extended_ts102 | 33 | 21.4067 | 139.8472
base | TD3_vanilla_extended_ts102 | 34 | 0 | 76.8031
base | TD3_vanilla_extended_ts102 | 35 | 0 | 74.3859
base | TD3_vanilla_extended_ts102 | 36 | 23.1431 | 146.2861
base | TD3_vanilla_extended_ts102 | 37 | 0 | 90.2156
base | TD3_vanilla_extended_ts102 | 38 | 0 | 99.7661
base | TD3_vanilla_extended_ts102 | 39 | 0 | 87.8676
base | TD3_vanilla_extended_ts102 | 40 | 24.8246 | 149.6492
base | TD3_vanilla_extended_ts102 | 41 | 3.257 | 106.5141
base | TD3_vanilla_extended_ts102 | 42 | 0.8468 | 101.6936
base | TD3_vanilla_extended_ts102 | 43 | 0 | 77.3231
base | TD3_vanilla_extended_ts102 | 44 | 0 | 99.7661
base | TD3_vanilla_extended_ts102 | 45 | 0.019169 | 100.0383
base | TD3_vanilla_extended_ts102 | 46 | 0.91846 | 101.8369
base | TD3_vanilla_extended_ts102 | 47 | 0 | 94.3127
base | TD3_vanilla_extended_ts102 | 48 | 3.6242 | 107.2483
base | TD3_vanilla_extended_ts102 | 49 | 0 | 99.7661
load1.3 | ChargeAsFastAsPossible | 0 | 23.9828 | 126.6795
load1.3 | ChargeAsFastAsPossible | 1 | 0 | 99.7661
load1.3 | ChargeAsFastAsPossible | 2 | 0 | 74.4031
load1.3 | ChargeAsFastAsPossible | 3 | 0 | 99.7661
load1.3 | ChargeAsFastAsPossible | 4 | 0 | 99.7661
load1.3 | ChargeAsFastAsPossible | 5 | 0 | 99.7661
load1.3 | ChargeAsFastAsPossible | 6 | 16.8346 | 123.8529
load1.3 | ChargeAsFastAsPossible | 7 | 34.9266 | 169.8531
load1.3 | ChargeAsFastAsPossible | 8 | 26.7246 | 131.7661
load1.3 | ChargeAsFastAsPossible | 9 | 9.0755 | 118.1511
load1.3 | ChargeAsFastAsPossible | 10 | 0 | 99.7661
load1.3 | ChargeAsFastAsPossible | 11 | 0 | 99.7661
load1.3 | ChargeAsFastAsPossible | 12 | 11.5573 | 114.3085
load1.3 | ChargeAsFastAsPossible | 13 | 3.1183 | 106.2366
load1.3 | ChargeAsFastAsPossible | 14 | 27.3431 | 154.6861
load1.3 | ChargeAsFastAsPossible | 15 | 0 | 99.7661
load1.3 | ChargeAsFastAsPossible | 16 | 14.2258 | 119.8877
load1.3 | ChargeAsFastAsPossible | 17 | 0 | 99.7661
load1.3 | ChargeAsFastAsPossible | 18 | 0 | 94.8031
load1.3 | ChargeAsFastAsPossible | 19 | 44.5121 | 147.1939
load1.3 | ChargeAsFastAsPossible | 20 | 26.4846 | 152.9692
load1.3 | ChargeAsFastAsPossible | 21 | 0 | 99.7661
load1.3 | ChargeAsFastAsPossible | 22 | 0 | 99.7661
load1.3 | ChargeAsFastAsPossible | 23 | 0 | 99.7661
load1.3 | ChargeAsFastAsPossible | 24 | 0 | 99.7156
load1.3 | ChargeAsFastAsPossible | 25 | 0 | 99.7661
load1.3 | ChargeAsFastAsPossible | 26 | 0 | 99.7661
load1.3 | ChargeAsFastAsPossible | 27 | 43.533 | 175.0229
load1.3 | ChargeAsFastAsPossible | 28 | 45.1885 | 149.6492
load1.3 | ChargeAsFastAsPossible | 29 | 20.0655 | 140.1309
load1.3 | ChargeAsFastAsPossible | 30 | 13.8831 | 127.7661
load1.3 | ChargeAsFastAsPossible | 31 | 11.8831 | 123.7661
load1.3 | ChargeAsFastAsPossible | 32 | 0 | 90.3231
load1.3 | ChargeAsFastAsPossible | 33 | 24.8246 | 149.6492
load1.3 | ChargeAsFastAsPossible | 34 | 13.8831 | 127.7661
load1.3 | ChargeAsFastAsPossible | 35 | 0 | 84.4831
load1.3 | ChargeAsFastAsPossible | 36 | 0 | 99.7661
load1.3 | ChargeAsFastAsPossible | 37 | 6.179 | 112.3579
load1.3 | ChargeAsFastAsPossible | 38 | 0 | 87.8436
load1.3 | ChargeAsFastAsPossible | 39 | 18.6003 | 137.2006
load1.3 | ChargeAsFastAsPossible | 40 | 26.3201 | 149.6492
load1.3 | ChargeAsFastAsPossible | 41 | 16.6232 | 133.2464
load1.3 | ChargeAsFastAsPossible | 42 | 25.8214 | 132.1444
load1.3 | ChargeAsFastAsPossible | 43 | 0 | 99.7661
load1.3 | ChargeAsFastAsPossible | 44 | 0 | 99.7661
load1.3 | ChargeAsFastAsPossible | 45 | 11.8831 | 123.7661
load1.3 | ChargeAsFastAsPossible | 46 | 61.3197 | 220.8024
load1.3 | ChargeAsFastAsPossible | 47 | 28.9861 | 149.6492
load1.3 | ChargeAsFastAsPossible | 48 | 78.6334 | 199.5323
load1.3 | ChargeAsFastAsPossible | 49 | 24.8246 | 149.6492
load1.3 | MPC_TrackingG2V | 0 | 0 | 37.4303
load1.3 | MPC_TrackingG2V | 1 | 0 | 44.0253
load1.3 | MPC_TrackingG2V | 2 | 0 | 41.0019
load1.3 | MPC_TrackingG2V | 3 | 0 | 41.9591
load1.3 | MPC_TrackingG2V | 4 | 0 | 29.9663
load1.3 | MPC_TrackingG2V | 5 | 0 | 34.3046
load1.3 | MPC_TrackingG2V | 6 | 0 | 29.3577
load1.3 | MPC_TrackingG2V | 7 | 0 | 40.9535
load1.3 | MPC_TrackingG2V | 8 | 0 | 43.8886
load1.3 | MPC_TrackingG2V | 9 | 0 | 35.8799
load1.3 | MPC_TrackingG2V | 10 | 0 | 30.2157
load1.3 | MPC_TrackingG2V | 11 | 0 | 33.0006
load1.3 | MPC_TrackingG2V | 12 | 0 | 38.1501
load1.3 | MPC_TrackingG2V | 13 | 0 | 40.4941
load1.3 | MPC_TrackingG2V | 14 | 0 | 39.9498
load1.3 | MPC_TrackingG2V | 15 | 0 | 34.7421
load1.3 | MPC_TrackingG2V | 16 | 0 | 37.7814
load1.3 | MPC_TrackingG2V | 17 | 0 | 39.1812
load1.3 | MPC_TrackingG2V | 18 | 0 | 36.8626
load1.3 | MPC_TrackingG2V | 19 | 0 | 36.3583
load1.3 | MPC_TrackingG2V | 20 | 0 | 49.1712
load1.3 | MPC_TrackingG2V | 21 | 0 | 39.7802
load1.3 | MPC_TrackingG2V | 22 | 0 | 51.7522
load1.3 | MPC_TrackingG2V | 23 | 0 | 43.2611
load1.3 | MPC_TrackingG2V | 24 | 0 | 33.1428
load1.3 | MPC_TrackingG2V | 25 | 0 | 36.6581
load1.3 | MPC_TrackingG2V | 26 | 0 | 27.8033
load1.3 | MPC_TrackingG2V | 27 | 0 | 53.4522
load1.3 | MPC_TrackingG2V | 28 | 0 | 36.7923
load1.3 | MPC_TrackingG2V | 29 | 0 | 31.0023
load1.3 | MPC_TrackingG2V | 30 | 0 | 36.6366
load1.3 | MPC_TrackingG2V | 31 | 0 | 30.8522
load1.3 | MPC_TrackingG2V | 32 | 0 | 36.0909
load1.3 | MPC_TrackingG2V | 33 | 0 | 41.9941
load1.3 | MPC_TrackingG2V | 34 | 0 | 30.1982
load1.3 | MPC_TrackingG2V | 35 | 0 | 32.429
load1.3 | MPC_TrackingG2V | 36 | 0 | 47.4877
load1.3 | MPC_TrackingG2V | 37 | 0 | 29.3941
load1.3 | MPC_TrackingG2V | 38 | 0 | 32.8575
load1.3 | MPC_TrackingG2V | 39 | 0 | 35.7617
load1.3 | MPC_TrackingG2V | 40 | 0 | 40.5195
load1.3 | MPC_TrackingG2V | 41 | 0 | 30.1309
load1.3 | MPC_TrackingG2V | 42 | 0 | 39.8745
load1.3 | MPC_TrackingG2V | 43 | 0 | 31.4303
load1.3 | MPC_TrackingG2V | 44 | 0 | 24.4437
load1.3 | MPC_TrackingG2V | 45 | 0 | 40.2432
load1.3 | MPC_TrackingG2V | 46 | 0 | 64.0374
load1.3 | MPC_TrackingG2V | 47 | 0 | 38.9327
load1.3 | MPC_TrackingG2V | 48 | 0 | 49.5932
load1.3 | MPC_TrackingG2V | 49 | 0 | 47.5371
load1.3 | Optimal_Oracle_Tracking | 0 | 0 | 40.0157
load1.3 | Optimal_Oracle_Tracking | 1 | 0 | 47.576
load1.3 | Optimal_Oracle_Tracking | 2 | 0 | 46.7958
load1.3 | Optimal_Oracle_Tracking | 3 | 0 | 45.4076
load1.3 | Optimal_Oracle_Tracking | 4 | 0 | 33.898
load1.3 | Optimal_Oracle_Tracking | 5 | 0 | 41.6798
load1.3 | Optimal_Oracle_Tracking | 6 | 0 | 30.5
load1.3 | Optimal_Oracle_Tracking | 7 | 0 | 46.4686
load1.3 | Optimal_Oracle_Tracking | 8 | 0 | 46.1324
load1.3 | Optimal_Oracle_Tracking | 9 | 0 | 36.6062
load1.3 | Optimal_Oracle_Tracking | 10 | 0 | 31.8414
load1.3 | Optimal_Oracle_Tracking | 11 | 0 | 31.4932
load1.3 | Optimal_Oracle_Tracking | 12 | 0 | 43.1144
load1.3 | Optimal_Oracle_Tracking | 13 | 0 | 42.8206
load1.3 | Optimal_Oracle_Tracking | 14 | 0 | 42.6041
load1.3 | Optimal_Oracle_Tracking | 15 | 0 | 38.7611
load1.3 | Optimal_Oracle_Tracking | 16 | 0 | 33.7763
load1.3 | Optimal_Oracle_Tracking | 17 | 0 | 39.3981
load1.3 | Optimal_Oracle_Tracking | 18 | 0 | 29.9423
load1.3 | Optimal_Oracle_Tracking | 19 | 0 | 30.8681
load1.3 | Optimal_Oracle_Tracking | 20 | 0 | 44.4279
load1.3 | Optimal_Oracle_Tracking | 21 | 0 | 36.9888
load1.3 | Optimal_Oracle_Tracking | 22 | 0 | 59.0276
load1.3 | Optimal_Oracle_Tracking | 23 | 0 | 49.2964
load1.3 | Optimal_Oracle_Tracking | 24 | 0 | 32.2354
load1.3 | Optimal_Oracle_Tracking | 25 | 0 | 38.8
load1.3 | Optimal_Oracle_Tracking | 26 | 0 | 29.9099
load1.3 | Optimal_Oracle_Tracking | 27 | 0 | 59.4661
load1.3 | Optimal_Oracle_Tracking | 28 | 0 | 33.6082
load1.3 | Optimal_Oracle_Tracking | 29 | 0 | 32.2414
load1.3 | Optimal_Oracle_Tracking | 30 | 0 | 39.7339
load1.3 | Optimal_Oracle_Tracking | 31 | 0 | 37.5016
load1.3 | Optimal_Oracle_Tracking | 32 | 0 | 45.7842
load1.3 | Optimal_Oracle_Tracking | 33 | 0 | 42.1601
load1.3 | Optimal_Oracle_Tracking | 34 | 0 | 29.0948
load1.3 | Optimal_Oracle_Tracking | 35 | 0 | 38.0368
load1.3 | Optimal_Oracle_Tracking | 36 | 0 | 48.2359
load1.3 | Optimal_Oracle_Tracking | 37 | 0 | 33.5439
load1.3 | Optimal_Oracle_Tracking | 38 | 0 | 41.6763
load1.3 | Optimal_Oracle_Tracking | 39 | 0 | 41.162
load1.3 | Optimal_Oracle_Tracking | 40 | 0 | 45.5148
load1.3 | Optimal_Oracle_Tracking | 41 | 0 | 34.6952
load1.3 | Optimal_Oracle_Tracking | 42 | 0 | 38.4783
load1.3 | Optimal_Oracle_Tracking | 43 | 0 | 28.36
load1.3 | Optimal_Oracle_Tracking | 44 | 0 | 25.4892
load1.3 | Optimal_Oracle_Tracking | 45 | 0 | 36.8292
load1.3 | Optimal_Oracle_Tracking | 46 | 0 | 67.1107
load1.3 | Optimal_Oracle_Tracking | 47 | 0 | 39.3488
load1.3 | Optimal_Oracle_Tracking | 48 | 0 | 52.5478
load1.3 | Optimal_Oracle_Tracking | 49 | 0 | 42.8256
load1.3 | RoundRobin | 0 | 0 | 49.8636
load1.3 | RoundRobin | 1 | 0 | 57.7172
load1.3 | RoundRobin | 2 | 0 | 44.178
load1.3 | RoundRobin | 3 | 0 | 54.1754
load1.3 | RoundRobin | 4 | 0 | 43.943
load1.3 | RoundRobin | 5 | 0 | 42.7102
load1.3 | RoundRobin | 6 | 0 | 32.3866
load1.3 | RoundRobin | 7 | 0 | 58.8795
load1.3 | RoundRobin | 8 | 0 | 55.0831
load1.3 | RoundRobin | 9 | 0 | 48.7138
load1.3 | RoundRobin | 10 | 0 | 36.484
load1.3 | RoundRobin | 11 | 0 | 39.5603
load1.3 | RoundRobin | 12 | 0 | 50.2417
load1.3 | RoundRobin | 13 | 0 | 50.1644
load1.3 | RoundRobin | 14 | 0 | 54.623
load1.3 | RoundRobin | 15 | 0 | 48.1292
load1.3 | RoundRobin | 16 | 0 | 41.2972
load1.3 | RoundRobin | 17 | 0 | 51.415
load1.3 | RoundRobin | 18 | 0 | 38.3032
load1.3 | RoundRobin | 19 | 0 | 41.6798
load1.3 | RoundRobin | 20 | 0 | 56.6263
load1.3 | RoundRobin | 21 | 0 | 47.9097
load1.3 | RoundRobin | 22 | 0 | 78.686
load1.3 | RoundRobin | 23 | 0 | 61.6605
load1.3 | RoundRobin | 24 | 0 | 42.441
load1.3 | RoundRobin | 25 | 0 | 48.7826
load1.3 | RoundRobin | 26 | 0 | 32.4125
load1.3 | RoundRobin | 27 | 0 | 65.673
load1.3 | RoundRobin | 28 | 0 | 43.7035
load1.3 | RoundRobin | 29 | 0 | 42.12
load1.3 | RoundRobin | 30 | 0 | 45.4869
load1.3 | RoundRobin | 31 | 0 | 43.7724
load1.3 | RoundRobin | 32 | 0 | 50.749
load1.3 | RoundRobin | 33 | 0 | 49.9424
load1.3 | RoundRobin | 34 | 0 | 37.8767
load1.3 | RoundRobin | 35 | 0 | 46.4721
load1.3 | RoundRobin | 36 | 0 | 52.8431
load1.3 | RoundRobin | 37 | 0 | 44.9092
load1.3 | RoundRobin | 38 | 0 | 50.6662
load1.3 | RoundRobin | 39 | 0 | 49.8831
load1.3 | RoundRobin | 40 | 0 | 45.6505
load1.3 | RoundRobin | 41 | 0 | 45.4325
load1.3 | RoundRobin | 42 | 0 | 47.8798
load1.3 | RoundRobin | 43 | 0 | 42.1676
load1.3 | RoundRobin | 44 | 0 | 29.1711
load1.3 | RoundRobin | 45 | 0 | 42.6665
load1.3 | RoundRobin | 46 | 0 | 83.2334
load1.3 | RoundRobin | 47 | 0 | 45.88
load1.3 | RoundRobin | 48 | 0 | 67.7262
load1.3 | RoundRobin | 49 | 0 | 59.1907
load1.3 | TD3_vanilla_extended_ts102 | 0 | 13.5246 | 116.4861
load1.3 | TD3_vanilla_extended_ts102 | 1 | 3.9031 | 107.8061
load1.3 | TD3_vanilla_extended_ts102 | 2 | 0 | 97.4171
load1.3 | TD3_vanilla_extended_ts102 | 3 | 0 | 99.5641
load1.3 | TD3_vanilla_extended_ts102 | 4 | 0 | 79.8831
load1.3 | TD3_vanilla_extended_ts102 | 5 | 0 | 99.8479
load1.3 | TD3_vanilla_extended_ts102 | 6 | 0 | 99.7631
load1.3 | TD3_vanilla_extended_ts102 | 7 | 22.0466 | 144.0931
load1.3 | TD3_vanilla_extended_ts102 | 8 | 15.8831 | 131.7661
load1.3 | TD3_vanilla_extended_ts102 | 9 | 0 | 67.6831
load1.3 | TD3_vanilla_extended_ts102 | 10 | 0 | 72.1179
load1.3 | TD3_vanilla_extended_ts102 | 11 | 0.75552 | 101.511
load1.3 | TD3_vanilla_extended_ts102 | 12 | 11.5773 | 114.3485
load1.3 | TD3_vanilla_extended_ts102 | 13 | 10.94 | 121.88
load1.3 | TD3_vanilla_extended_ts102 | 14 | 0 | 99.7641
load1.3 | TD3_vanilla_extended_ts102 | 15 | 0 | 99.7557
load1.3 | TD3_vanilla_extended_ts102 | 16 | 0 | 99.7661
load1.3 | TD3_vanilla_extended_ts102 | 17 | 0 | 99.7661
load1.3 | TD3_vanilla_extended_ts102 | 18 | 0 | 94.8031
load1.3 | TD3_vanilla_extended_ts102 | 19 | 22.223 | 144.4461
load1.3 | TD3_vanilla_extended_ts102 | 20 | 0 | 95.8163
load1.3 | TD3_vanilla_extended_ts102 | 21 | 0 | 99.7661
load1.3 | TD3_vanilla_extended_ts102 | 22 | 0 | 99.7661
load1.3 | TD3_vanilla_extended_ts102 | 23 | 0 | 99.7661
load1.3 | TD3_vanilla_extended_ts102 | 24 | 0 | 70.1375
load1.3 | TD3_vanilla_extended_ts102 | 25 | 0 | 97.1952
load1.3 | TD3_vanilla_extended_ts102 | 26 | 0 | 68.4934
load1.3 | TD3_vanilla_extended_ts102 | 27 | 0 | 99.7661
load1.3 | TD3_vanilla_extended_ts102 | 28 | 0 | 81.0589
load1.3 | TD3_vanilla_extended_ts102 | 29 | 0 | 99.7661
load1.3 | TD3_vanilla_extended_ts102 | 30 | 0 | 77.8831
load1.3 | TD3_vanilla_extended_ts102 | 31 | 0 | 81.2811
load1.3 | TD3_vanilla_extended_ts102 | 32 | 0 | 90.3231
load1.3 | TD3_vanilla_extended_ts102 | 33 | 21.4067 | 139.8472
load1.3 | TD3_vanilla_extended_ts102 | 34 | 0 | 76.8031
load1.3 | TD3_vanilla_extended_ts102 | 35 | 0 | 74.3859
load1.3 | TD3_vanilla_extended_ts102 | 36 | 23.1431 | 146.2861
load1.3 | TD3_vanilla_extended_ts102 | 37 | 0 | 90.2156
load1.3 | TD3_vanilla_extended_ts102 | 38 | 0 | 99.7661
load1.3 | TD3_vanilla_extended_ts102 | 39 | 0 | 87.8676
load1.3 | TD3_vanilla_extended_ts102 | 40 | 24.8246 | 149.6492
load1.3 | TD3_vanilla_extended_ts102 | 41 | 3.257 | 106.5141
load1.3 | TD3_vanilla_extended_ts102 | 42 | 0.8468 | 101.6936
load1.3 | TD3_vanilla_extended_ts102 | 43 | 0 | 77.3231
load1.3 | TD3_vanilla_extended_ts102 | 44 | 0 | 99.7661
load1.3 | TD3_vanilla_extended_ts102 | 45 | 0.019169 | 100.0383
load1.3 | TD3_vanilla_extended_ts102 | 46 | 0.91846 | 101.8369
load1.3 | TD3_vanilla_extended_ts102 | 47 | 0 | 94.3127
load1.3 | TD3_vanilla_extended_ts102 | 48 | 3.6242 | 107.2483
load1.3 | TD3_vanilla_extended_ts102 | 49 | 0 | 99.7661
load1.6 | ChargeAsFastAsPossible | 0 | 23.9828 | 126.6795
load1.6 | ChargeAsFastAsPossible | 1 | 0 | 99.7661
load1.6 | ChargeAsFastAsPossible | 2 | 0 | 74.4031
load1.6 | ChargeAsFastAsPossible | 3 | 0 | 99.7661
load1.6 | ChargeAsFastAsPossible | 4 | 0 | 99.7661
load1.6 | ChargeAsFastAsPossible | 5 | 0 | 99.7661
load1.6 | ChargeAsFastAsPossible | 6 | 16.8346 | 123.8529
load1.6 | ChargeAsFastAsPossible | 7 | 34.9266 | 169.8531
load1.6 | ChargeAsFastAsPossible | 8 | 26.7246 | 131.7661
load1.6 | ChargeAsFastAsPossible | 9 | 9.0755 | 118.1511
load1.6 | ChargeAsFastAsPossible | 10 | 0 | 99.7661
load1.6 | ChargeAsFastAsPossible | 11 | 0 | 99.7661
load1.6 | ChargeAsFastAsPossible | 12 | 11.5573 | 114.3085
load1.6 | ChargeAsFastAsPossible | 13 | 3.1183 | 106.2366
load1.6 | ChargeAsFastAsPossible | 14 | 27.3431 | 154.6861
load1.6 | ChargeAsFastAsPossible | 15 | 0 | 99.7661
load1.6 | ChargeAsFastAsPossible | 16 | 14.2258 | 119.8877
load1.6 | ChargeAsFastAsPossible | 17 | 0 | 99.7661
load1.6 | ChargeAsFastAsPossible | 18 | 0 | 94.8031
load1.6 | ChargeAsFastAsPossible | 19 | 44.5121 | 147.1939
load1.6 | ChargeAsFastAsPossible | 20 | 26.4846 | 152.9692
load1.6 | ChargeAsFastAsPossible | 21 | 0 | 99.7661
load1.6 | ChargeAsFastAsPossible | 22 | 0 | 99.7661
load1.6 | ChargeAsFastAsPossible | 23 | 0 | 99.7661
load1.6 | ChargeAsFastAsPossible | 24 | 0 | 99.7156
load1.6 | ChargeAsFastAsPossible | 25 | 0 | 99.7661
load1.6 | ChargeAsFastAsPossible | 26 | 0 | 99.7661
load1.6 | ChargeAsFastAsPossible | 27 | 43.533 | 175.0229
load1.6 | ChargeAsFastAsPossible | 28 | 45.1885 | 149.6492
load1.6 | ChargeAsFastAsPossible | 29 | 20.0655 | 140.1309
load1.6 | ChargeAsFastAsPossible | 30 | 13.8831 | 127.7661
load1.6 | ChargeAsFastAsPossible | 31 | 11.8831 | 123.7661
load1.6 | ChargeAsFastAsPossible | 32 | 0 | 90.3231
load1.6 | ChargeAsFastAsPossible | 33 | 24.8246 | 149.6492
load1.6 | ChargeAsFastAsPossible | 34 | 13.8831 | 127.7661
load1.6 | ChargeAsFastAsPossible | 35 | 0 | 84.4831
load1.6 | ChargeAsFastAsPossible | 36 | 0 | 99.7661
load1.6 | ChargeAsFastAsPossible | 37 | 6.179 | 112.3579
load1.6 | ChargeAsFastAsPossible | 38 | 0 | 87.8436
load1.6 | ChargeAsFastAsPossible | 39 | 18.6003 | 137.2006
load1.6 | ChargeAsFastAsPossible | 40 | 26.3201 | 149.6492
load1.6 | ChargeAsFastAsPossible | 41 | 16.6232 | 133.2464
load1.6 | ChargeAsFastAsPossible | 42 | 25.8214 | 132.1444
load1.6 | ChargeAsFastAsPossible | 43 | 0 | 99.7661
load1.6 | ChargeAsFastAsPossible | 44 | 0 | 99.7661
load1.6 | ChargeAsFastAsPossible | 45 | 11.8831 | 123.7661
load1.6 | ChargeAsFastAsPossible | 46 | 61.3197 | 220.8024
load1.6 | ChargeAsFastAsPossible | 47 | 28.9861 | 149.6492
load1.6 | ChargeAsFastAsPossible | 48 | 78.6334 | 199.5323
load1.6 | ChargeAsFastAsPossible | 49 | 24.8246 | 149.6492
load1.6 | MPC_TrackingG2V | 0 | 0 | 37.4303
load1.6 | MPC_TrackingG2V | 1 | 0 | 44.0253
load1.6 | MPC_TrackingG2V | 2 | 0 | 41.0019
load1.6 | MPC_TrackingG2V | 3 | 0 | 41.9591
load1.6 | MPC_TrackingG2V | 4 | 0 | 29.9663
load1.6 | MPC_TrackingG2V | 5 | 0 | 34.3046
load1.6 | MPC_TrackingG2V | 6 | 0 | 29.3577
load1.6 | MPC_TrackingG2V | 7 | 0 | 40.9535
load1.6 | MPC_TrackingG2V | 8 | 0 | 43.8886
load1.6 | MPC_TrackingG2V | 9 | 0 | 35.8799
load1.6 | MPC_TrackingG2V | 10 | 0 | 30.2157
load1.6 | MPC_TrackingG2V | 11 | 0 | 33.0006
load1.6 | MPC_TrackingG2V | 12 | 0 | 38.1501
load1.6 | MPC_TrackingG2V | 13 | 0 | 40.4941
load1.6 | MPC_TrackingG2V | 14 | 0 | 39.9498
load1.6 | MPC_TrackingG2V | 15 | 0 | 34.7421
load1.6 | MPC_TrackingG2V | 16 | 0 | 37.7814
load1.6 | MPC_TrackingG2V | 17 | 0 | 39.1812
load1.6 | MPC_TrackingG2V | 18 | 0 | 36.8626
load1.6 | MPC_TrackingG2V | 19 | 0 | 36.3583
load1.6 | MPC_TrackingG2V | 20 | 0 | 49.1712
load1.6 | MPC_TrackingG2V | 21 | 0 | 39.7802
load1.6 | MPC_TrackingG2V | 22 | 0 | 51.7522
load1.6 | MPC_TrackingG2V | 23 | 0 | 43.2611
load1.6 | MPC_TrackingG2V | 24 | 0 | 33.1428
load1.6 | MPC_TrackingG2V | 25 | 0 | 36.6581
load1.6 | MPC_TrackingG2V | 26 | 0 | 27.8033
load1.6 | MPC_TrackingG2V | 27 | 0 | 53.4522
load1.6 | MPC_TrackingG2V | 28 | 0 | 36.7923
load1.6 | MPC_TrackingG2V | 29 | 0 | 31.0023
load1.6 | MPC_TrackingG2V | 30 | 0 | 36.6366
load1.6 | MPC_TrackingG2V | 31 | 0 | 30.8522
load1.6 | MPC_TrackingG2V | 32 | 0 | 36.0909
load1.6 | MPC_TrackingG2V | 33 | 0 | 41.9941
load1.6 | MPC_TrackingG2V | 34 | 0 | 30.1982
load1.6 | MPC_TrackingG2V | 35 | 0 | 32.429
load1.6 | MPC_TrackingG2V | 36 | 0 | 47.4877
load1.6 | MPC_TrackingG2V | 37 | 0 | 29.3941
load1.6 | MPC_TrackingG2V | 38 | 0 | 32.8575
load1.6 | MPC_TrackingG2V | 39 | 0 | 35.7617
load1.6 | MPC_TrackingG2V | 40 | 0 | 40.5195
load1.6 | MPC_TrackingG2V | 41 | 0 | 30.1309
load1.6 | MPC_TrackingG2V | 42 | 0 | 39.8745
load1.6 | MPC_TrackingG2V | 43 | 0 | 31.4303
load1.6 | MPC_TrackingG2V | 44 | 0 | 24.4437
load1.6 | MPC_TrackingG2V | 45 | 0 | 40.2432
load1.6 | MPC_TrackingG2V | 46 | 0 | 64.0374
load1.6 | MPC_TrackingG2V | 47 | 0 | 38.9327
load1.6 | MPC_TrackingG2V | 48 | 0 | 49.5932
load1.6 | MPC_TrackingG2V | 49 | 0 | 47.5371
load1.6 | Optimal_Oracle_Tracking | 0 | 0 | 40.0157
load1.6 | Optimal_Oracle_Tracking | 1 | 0 | 47.576
load1.6 | Optimal_Oracle_Tracking | 2 | 0 | 46.7958
load1.6 | Optimal_Oracle_Tracking | 3 | 0 | 45.4076
load1.6 | Optimal_Oracle_Tracking | 4 | 0 | 33.898
load1.6 | Optimal_Oracle_Tracking | 5 | 0 | 41.6798
load1.6 | Optimal_Oracle_Tracking | 6 | 0 | 30.5
load1.6 | Optimal_Oracle_Tracking | 7 | 0 | 46.4686
load1.6 | Optimal_Oracle_Tracking | 8 | 0 | 46.1324
load1.6 | Optimal_Oracle_Tracking | 9 | 0 | 36.6062
load1.6 | Optimal_Oracle_Tracking | 10 | 0 | 31.8414
load1.6 | Optimal_Oracle_Tracking | 11 | 0 | 31.4932
load1.6 | Optimal_Oracle_Tracking | 12 | 0 | 43.1144
load1.6 | Optimal_Oracle_Tracking | 13 | 0 | 42.8206
load1.6 | Optimal_Oracle_Tracking | 14 | 0 | 42.6041
load1.6 | Optimal_Oracle_Tracking | 15 | 0 | 38.7611
load1.6 | Optimal_Oracle_Tracking | 16 | 0 | 33.7763
load1.6 | Optimal_Oracle_Tracking | 17 | 0 | 39.3981
load1.6 | Optimal_Oracle_Tracking | 18 | 0 | 29.9423
load1.6 | Optimal_Oracle_Tracking | 19 | 0 | 30.8681
load1.6 | Optimal_Oracle_Tracking | 20 | 0 | 44.4279
load1.6 | Optimal_Oracle_Tracking | 21 | 0 | 36.9888
load1.6 | Optimal_Oracle_Tracking | 22 | 0 | 59.0276
load1.6 | Optimal_Oracle_Tracking | 23 | 0 | 49.2964
load1.6 | Optimal_Oracle_Tracking | 24 | 0 | 32.2354
load1.6 | Optimal_Oracle_Tracking | 25 | 0 | 38.8
load1.6 | Optimal_Oracle_Tracking | 26 | 0 | 29.9099
load1.6 | Optimal_Oracle_Tracking | 27 | 0 | 59.4661
load1.6 | Optimal_Oracle_Tracking | 28 | 0 | 33.6082
load1.6 | Optimal_Oracle_Tracking | 29 | 0 | 32.2414
load1.6 | Optimal_Oracle_Tracking | 30 | 0 | 39.7339
load1.6 | Optimal_Oracle_Tracking | 31 | 0 | 37.5016
load1.6 | Optimal_Oracle_Tracking | 32 | 0 | 45.7842
load1.6 | Optimal_Oracle_Tracking | 33 | 0 | 42.1601
load1.6 | Optimal_Oracle_Tracking | 34 | 0 | 29.0948
load1.6 | Optimal_Oracle_Tracking | 35 | 0 | 38.0368
load1.6 | Optimal_Oracle_Tracking | 36 | 0 | 48.2359
load1.6 | Optimal_Oracle_Tracking | 37 | 0 | 33.5439
load1.6 | Optimal_Oracle_Tracking | 38 | 0 | 41.6763
load1.6 | Optimal_Oracle_Tracking | 39 | 0 | 41.162
load1.6 | Optimal_Oracle_Tracking | 40 | 0 | 45.5148
load1.6 | Optimal_Oracle_Tracking | 41 | 0 | 34.6952
load1.6 | Optimal_Oracle_Tracking | 42 | 0 | 38.4783
load1.6 | Optimal_Oracle_Tracking | 43 | 0 | 28.36
load1.6 | Optimal_Oracle_Tracking | 44 | 0 | 25.4892
load1.6 | Optimal_Oracle_Tracking | 45 | 0 | 36.8292
load1.6 | Optimal_Oracle_Tracking | 46 | 0 | 67.1107
load1.6 | Optimal_Oracle_Tracking | 47 | 0 | 39.3488
load1.6 | Optimal_Oracle_Tracking | 48 | 0 | 52.5478
load1.6 | Optimal_Oracle_Tracking | 49 | 0 | 42.8256
load1.6 | RoundRobin | 0 | 0 | 49.8636
load1.6 | RoundRobin | 1 | 0 | 57.7172
load1.6 | RoundRobin | 2 | 0 | 44.178
load1.6 | RoundRobin | 3 | 0 | 54.1754
load1.6 | RoundRobin | 4 | 0 | 43.943
load1.6 | RoundRobin | 5 | 0 | 42.7102
load1.6 | RoundRobin | 6 | 0 | 32.3866
load1.6 | RoundRobin | 7 | 0 | 58.8795
load1.6 | RoundRobin | 8 | 0 | 55.0831
load1.6 | RoundRobin | 9 | 0 | 48.7138
load1.6 | RoundRobin | 10 | 0 | 36.484
load1.6 | RoundRobin | 11 | 0 | 39.5603
load1.6 | RoundRobin | 12 | 0 | 50.2417
load1.6 | RoundRobin | 13 | 0 | 50.1644
load1.6 | RoundRobin | 14 | 0 | 54.623
load1.6 | RoundRobin | 15 | 0 | 48.1292
load1.6 | RoundRobin | 16 | 0 | 41.2972
load1.6 | RoundRobin | 17 | 0 | 51.415
load1.6 | RoundRobin | 18 | 0 | 38.3032
load1.6 | RoundRobin | 19 | 0 | 41.6798
load1.6 | RoundRobin | 20 | 0 | 56.6263
load1.6 | RoundRobin | 21 | 0 | 47.9097
load1.6 | RoundRobin | 22 | 0 | 78.686
load1.6 | RoundRobin | 23 | 0 | 61.6605
load1.6 | RoundRobin | 24 | 0 | 42.441
load1.6 | RoundRobin | 25 | 0 | 48.7826
load1.6 | RoundRobin | 26 | 0 | 32.4125
load1.6 | RoundRobin | 27 | 0 | 65.673
load1.6 | RoundRobin | 28 | 0 | 43.7035
load1.6 | RoundRobin | 29 | 0 | 42.12
load1.6 | RoundRobin | 30 | 0 | 45.4869
load1.6 | RoundRobin | 31 | 0 | 43.7724
load1.6 | RoundRobin | 32 | 0 | 50.749
load1.6 | RoundRobin | 33 | 0 | 49.9424
load1.6 | RoundRobin | 34 | 0 | 37.8767
load1.6 | RoundRobin | 35 | 0 | 46.4721
load1.6 | RoundRobin | 36 | 0 | 52.8431
load1.6 | RoundRobin | 37 | 0 | 44.9092
load1.6 | RoundRobin | 38 | 0 | 50.6662
load1.6 | RoundRobin | 39 | 0 | 49.8831
load1.6 | RoundRobin | 40 | 0 | 45.6505
load1.6 | RoundRobin | 41 | 0 | 45.4325
load1.6 | RoundRobin | 42 | 0 | 47.8798
load1.6 | RoundRobin | 43 | 0 | 42.1676
load1.6 | RoundRobin | 44 | 0 | 29.1711
load1.6 | RoundRobin | 45 | 0 | 42.6665
load1.6 | RoundRobin | 46 | 0 | 83.2334
load1.6 | RoundRobin | 47 | 0 | 45.88
load1.6 | RoundRobin | 48 | 0 | 67.7262
load1.6 | RoundRobin | 49 | 0 | 59.1907
load1.6 | TD3_vanilla_extended_ts102 | 0 | 13.5246 | 116.4861
load1.6 | TD3_vanilla_extended_ts102 | 1 | 3.9031 | 107.8061
load1.6 | TD3_vanilla_extended_ts102 | 2 | 0 | 97.4171
load1.6 | TD3_vanilla_extended_ts102 | 3 | 0 | 99.5641
load1.6 | TD3_vanilla_extended_ts102 | 4 | 0 | 79.8831
load1.6 | TD3_vanilla_extended_ts102 | 5 | 0 | 99.8479
load1.6 | TD3_vanilla_extended_ts102 | 6 | 0 | 99.7631
load1.6 | TD3_vanilla_extended_ts102 | 7 | 22.0466 | 144.0931
load1.6 | TD3_vanilla_extended_ts102 | 8 | 15.8831 | 131.7661
load1.6 | TD3_vanilla_extended_ts102 | 9 | 0 | 67.6831
load1.6 | TD3_vanilla_extended_ts102 | 10 | 0 | 72.1179
load1.6 | TD3_vanilla_extended_ts102 | 11 | 0.75552 | 101.511
load1.6 | TD3_vanilla_extended_ts102 | 12 | 11.5773 | 114.3485
load1.6 | TD3_vanilla_extended_ts102 | 13 | 10.94 | 121.88
load1.6 | TD3_vanilla_extended_ts102 | 14 | 0 | 99.7641
load1.6 | TD3_vanilla_extended_ts102 | 15 | 0 | 99.7557
load1.6 | TD3_vanilla_extended_ts102 | 16 | 0 | 99.7661
load1.6 | TD3_vanilla_extended_ts102 | 17 | 0 | 99.7661
load1.6 | TD3_vanilla_extended_ts102 | 18 | 0 | 94.8031
load1.6 | TD3_vanilla_extended_ts102 | 19 | 22.223 | 144.4461
load1.6 | TD3_vanilla_extended_ts102 | 20 | 0 | 95.8163
load1.6 | TD3_vanilla_extended_ts102 | 21 | 0 | 99.7661
load1.6 | TD3_vanilla_extended_ts102 | 22 | 0 | 99.7661
load1.6 | TD3_vanilla_extended_ts102 | 23 | 0 | 99.7661
load1.6 | TD3_vanilla_extended_ts102 | 24 | 0 | 70.1375
load1.6 | TD3_vanilla_extended_ts102 | 25 | 0 | 97.1952
load1.6 | TD3_vanilla_extended_ts102 | 26 | 0 | 68.4934
load1.6 | TD3_vanilla_extended_ts102 | 27 | 0 | 99.7661
load1.6 | TD3_vanilla_extended_ts102 | 28 | 0 | 81.0589
load1.6 | TD3_vanilla_extended_ts102 | 29 | 0 | 99.7661
load1.6 | TD3_vanilla_extended_ts102 | 30 | 0 | 77.8831
load1.6 | TD3_vanilla_extended_ts102 | 31 | 0 | 81.2811
load1.6 | TD3_vanilla_extended_ts102 | 32 | 0 | 90.3231
load1.6 | TD3_vanilla_extended_ts102 | 33 | 21.4067 | 139.8472
load1.6 | TD3_vanilla_extended_ts102 | 34 | 0 | 76.8031
load1.6 | TD3_vanilla_extended_ts102 | 35 | 0 | 74.3859
load1.6 | TD3_vanilla_extended_ts102 | 36 | 23.1431 | 146.2861
load1.6 | TD3_vanilla_extended_ts102 | 37 | 0 | 90.2156
load1.6 | TD3_vanilla_extended_ts102 | 38 | 0 | 99.7661
load1.6 | TD3_vanilla_extended_ts102 | 39 | 0 | 87.8676
load1.6 | TD3_vanilla_extended_ts102 | 40 | 24.8246 | 149.6492
load1.6 | TD3_vanilla_extended_ts102 | 41 | 3.257 | 106.5141
load1.6 | TD3_vanilla_extended_ts102 | 42 | 0.8468 | 101.6936
load1.6 | TD3_vanilla_extended_ts102 | 43 | 0 | 77.3231
load1.6 | TD3_vanilla_extended_ts102 | 44 | 0 | 99.7661
load1.6 | TD3_vanilla_extended_ts102 | 45 | 0.019169 | 100.0383
load1.6 | TD3_vanilla_extended_ts102 | 46 | 0.91846 | 101.8369
load1.6 | TD3_vanilla_extended_ts102 | 47 | 0 | 94.3127
load1.6 | TD3_vanilla_extended_ts102 | 48 | 3.6242 | 107.2483
load1.6 | TD3_vanilla_extended_ts102 | 49 | 0 | 99.7661
spawn1.3 | ChargeAsFastAsPossible | 0 | 45.8601 | 147.9141
spawn1.3 | ChargeAsFastAsPossible | 1 | 0 | 99.7661
spawn1.3 | ChargeAsFastAsPossible | 2 | 0 | 99.7661
spawn1.3 | ChargeAsFastAsPossible | 3 | 18.7345 | 137.469
spawn1.3 | ChargeAsFastAsPossible | 4 | 4.4709 | 108.9419
spawn1.3 | ChargeAsFastAsPossible | 5 | 0 | 99.7661
spawn1.3 | ChargeAsFastAsPossible | 6 | 21.878 | 129.0805
spawn1.3 | ChargeAsFastAsPossible | 7 | 14.0431 | 128.0861
spawn1.3 | ChargeAsFastAsPossible | 8 | 26.7246 | 131.7661
spawn1.3 | ChargeAsFastAsPossible | 9 | 0 | 99.7661
spawn1.3 | ChargeAsFastAsPossible | 10 | 29.5461 | 150.2492
spawn1.3 | ChargeAsFastAsPossible | 11 | 28.9877 | 149.6492
spawn1.3 | ChargeAsFastAsPossible | 12 | 10.1373 | 111.6061
spawn1.3 | ChargeAsFastAsPossible | 13 | 3.1183 | 106.2366
spawn1.3 | ChargeAsFastAsPossible | 14 | 91.2338 | 177.6492
spawn1.3 | ChargeAsFastAsPossible | 15 | 2.1415 | 104.2831
spawn1.3 | ChargeAsFastAsPossible | 16 | 4.282 | 108.564
spawn1.3 | ChargeAsFastAsPossible | 17 | 17.9582 | 135.9164
spawn1.3 | ChargeAsFastAsPossible | 18 | 2.3215 | 104.6431
spawn1.3 | ChargeAsFastAsPossible | 19 | 56.9193 | 147.1939
spawn1.3 | ChargeAsFastAsPossible | 20 | 29.4377 | 149.6492
spawn1.3 | ChargeAsFastAsPossible | 21 | 10.8908 | 121.7815
spawn1.3 | ChargeAsFastAsPossible | 22 | 11.5031 | 123.0061
spawn1.3 | ChargeAsFastAsPossible | 23 | 0.60879 | 101.2176
spawn1.3 | ChargeAsFastAsPossible | 24 | 0 | 99.0738
spawn1.3 | ChargeAsFastAsPossible | 25 | 32.4061 | 138.0861
spawn1.3 | ChargeAsFastAsPossible | 26 | 0 | 99.7661
spawn1.3 | ChargeAsFastAsPossible | 27 | 63.031 | 175.0229
spawn1.3 | ChargeAsFastAsPossible | 28 | 35.2099 | 129.6921
spawn1.3 | ChargeAsFastAsPossible | 29 | 73.8742 | 182.5309
spawn1.3 | ChargeAsFastAsPossible | 30 | 36.1935 | 144.6209
spawn1.3 | ChargeAsFastAsPossible | 31 | 33.4268 | 166.8535
spawn1.3 | ChargeAsFastAsPossible | 32 | 0 | 78.8608
spawn1.3 | ChargeAsFastAsPossible | 33 | 9.1431 | 118.2861
spawn1.3 | ChargeAsFastAsPossible | 34 | 13.8831 | 127.7661
spawn1.3 | ChargeAsFastAsPossible | 35 | 20.515 | 132.3167
spawn1.3 | ChargeAsFastAsPossible | 36 | 27.1902 | 134.2143
spawn1.3 | ChargeAsFastAsPossible | 37 | 7.1354 | 110.7246
spawn1.3 | ChargeAsFastAsPossible | 38 | 3.7831 | 107.5661
spawn1.3 | ChargeAsFastAsPossible | 39 | 52.3546 | 204.7091
spawn1.3 | ChargeAsFastAsPossible | 40 | 54.1321 | 149.6492
spawn1.3 | ChargeAsFastAsPossible | 41 | 34.5063 | 135.7661
spawn1.3 | ChargeAsFastAsPossible | 42 | 22.986 | 138.7135
spawn1.3 | ChargeAsFastAsPossible | 43 | 33.1752 | 149.6492
spawn1.3 | ChargeAsFastAsPossible | 44 | 0 | 86.6296
spawn1.3 | ChargeAsFastAsPossible | 45 | 24.8246 | 149.6492
spawn1.3 | ChargeAsFastAsPossible | 46 | 72.9171 | 220.8024
spawn1.3 | ChargeAsFastAsPossible | 47 | 23.3009 | 146.6018
spawn1.3 | ChargeAsFastAsPossible | 48 | 65.9518 | 199.5323
spawn1.3 | ChargeAsFastAsPossible | 49 | 31.7277 | 149.6492
spawn1.3 | MPC_TrackingG2V | 0 | 0 | 44.9955
spawn1.3 | MPC_TrackingG2V | 1 | 0 | 38.2409
spawn1.3 | MPC_TrackingG2V | 2 | 0 | 48.2733
spawn1.3 | MPC_TrackingG2V | 3 | 0 | 38.9801
spawn1.3 | MPC_TrackingG2V | 4 | 0 | 32.4225
spawn1.3 | MPC_TrackingG2V | 5 | 0 | 30.1588
spawn1.3 | MPC_TrackingG2V | 6 | 0 | 28.4284
spawn1.3 | MPC_TrackingG2V | 7 | 0 | 61.202
spawn1.3 | MPC_TrackingG2V | 8 | 0 | 46.0665
spawn1.3 | MPC_TrackingG2V | 9 | 0 | 40.0107
spawn1.3 | MPC_TrackingG2V | 10 | 0 | 52.876
spawn1.3 | MPC_TrackingG2V | 11 | 0 | 43.6671
spawn1.3 | MPC_TrackingG2V | 12 | 0 | 54.3311
spawn1.3 | MPC_TrackingG2V | 13 | 0 | 46.3598
spawn1.3 | MPC_TrackingG2V | 14 | 0 | 54.8669
spawn1.3 | MPC_TrackingG2V | 15 | 0 | 38.6514
spawn1.3 | MPC_TrackingG2V | 16 | 0 | 35.5277
spawn1.3 | MPC_TrackingG2V | 17 | 0 | 40.4168
spawn1.3 | MPC_TrackingG2V | 18 | 0 | 49.8392
spawn1.3 | MPC_TrackingG2V | 19 | 0 | 39.3961
spawn1.3 | MPC_TrackingG2V | 20 | 0 | 41.4947
spawn1.3 | MPC_TrackingG2V | 21 | 0 | 30.8382
spawn1.3 | MPC_TrackingG2V | 22 | 0 | 55.7393
spawn1.3 | MPC_TrackingG2V | 23 | 0 | 44.588
spawn1.3 | MPC_TrackingG2V | 24 | 0 | 38.0488
spawn1.3 | MPC_TrackingG2V | 25 | 0 | 49.7888
spawn1.3 | MPC_TrackingG2V | 26 | 0 | 50.4143
spawn1.3 | MPC_TrackingG2V | 27 | 0 | 66.0387
spawn1.3 | MPC_TrackingG2V | 28 | 0 | 37.6403
spawn1.3 | MPC_TrackingG2V | 29 | 0 | 41.2453
spawn1.3 | MPC_TrackingG2V | 30 | 0 | 48.0264
spawn1.3 | MPC_TrackingG2V | 31 | 0 | 31.3999
spawn1.3 | MPC_TrackingG2V | 32 | 0 | 33.1682
spawn1.3 | MPC_TrackingG2V | 33 | 0 | 46.07
spawn1.3 | MPC_TrackingG2V | 34 | 0 | 38.1995
spawn1.3 | MPC_TrackingG2V | 35 | 0 | 44.0253
spawn1.3 | MPC_TrackingG2V | 36 | 0 | 46.295
spawn1.3 | MPC_TrackingG2V | 37 | 0 | 37.4627
spawn1.3 | MPC_TrackingG2V | 38 | 0 | 37.2118
spawn1.3 | MPC_TrackingG2V | 39 | 0 | 40.2551
spawn1.3 | MPC_TrackingG2V | 40 | 0 | 38.1551
spawn1.3 | MPC_TrackingG2V | 41 | 0 | 34.3205
spawn1.3 | MPC_TrackingG2V | 42 | 0 | 56.1514
spawn1.3 | MPC_TrackingG2V | 43 | 0 | 31.4119
spawn1.3 | MPC_TrackingG2V | 44 | 0 | 31.9611
spawn1.3 | MPC_TrackingG2V | 45 | 0 | 48.861
spawn1.3 | MPC_TrackingG2V | 46 | 0 | 53.4926
spawn1.3 | MPC_TrackingG2V | 47 | 0 | 43.4641
spawn1.3 | MPC_TrackingG2V | 48 | 0 | 53.0382
spawn1.3 | MPC_TrackingG2V | 49 | 0 | 52.248
spawn1.3 | Optimal_Oracle_Tracking | 0 | 0 | 44.148
spawn1.3 | Optimal_Oracle_Tracking | 1 | 0 | 38.4055
spawn1.3 | Optimal_Oracle_Tracking | 2 | 0 | 39.7034
spawn1.3 | Optimal_Oracle_Tracking | 3 | 0 | 38.4544
spawn1.3 | Optimal_Oracle_Tracking | 4 | 0 | 32.7427
spawn1.3 | Optimal_Oracle_Tracking | 5 | 0 | 36.1622
spawn1.3 | Optimal_Oracle_Tracking | 6 | 0 | 31.0342
spawn1.3 | Optimal_Oracle_Tracking | 7 | 0 | 58.9009
spawn1.3 | Optimal_Oracle_Tracking | 8 | 0 | 52.9628
spawn1.3 | Optimal_Oracle_Tracking | 9 | 0 | 50.8353
spawn1.3 | Optimal_Oracle_Tracking | 10 | 0 | 54.1411
spawn1.3 | Optimal_Oracle_Tracking | 11 | 0 | 40.0461
spawn1.3 | Optimal_Oracle_Tracking | 12 | 0 | 48.3132
spawn1.3 | Optimal_Oracle_Tracking | 13 | 0 | 57.9157
spawn1.3 | Optimal_Oracle_Tracking | 14 | 0 | 49.9649
spawn1.3 | Optimal_Oracle_Tracking | 15 | 0 | 33.2151
spawn1.3 | Optimal_Oracle_Tracking | 16 | 0 | 37.7046
spawn1.3 | Optimal_Oracle_Tracking | 17 | 0 | 41.2433
spawn1.3 | Optimal_Oracle_Tracking | 18 | 0 | 58.1527
spawn1.3 | Optimal_Oracle_Tracking | 19 | 0 | 33.2027
spawn1.3 | Optimal_Oracle_Tracking | 20 | 0 | 48.6445
spawn1.3 | Optimal_Oracle_Tracking | 21 | 0 | 37.1729
spawn1.3 | Optimal_Oracle_Tracking | 22 | 0 | 64.2035
spawn1.3 | Optimal_Oracle_Tracking | 23 | 0 | 44.7042
spawn1.3 | Optimal_Oracle_Tracking | 24 | 0 | 36.043
spawn1.3 | Optimal_Oracle_Tracking | 25 | 0 | 52.7459
spawn1.3 | Optimal_Oracle_Tracking | 26 | 0 | 55.1113
spawn1.3 | Optimal_Oracle_Tracking | 27 | 0 | 61.2759
spawn1.3 | Optimal_Oracle_Tracking | 28 | 0 | 42.6919
spawn1.3 | Optimal_Oracle_Tracking | 29 | 0 | 47.8828
spawn1.3 | Optimal_Oracle_Tracking | 30 | 0 | 49.7733
spawn1.3 | Optimal_Oracle_Tracking | 31 | 0 | 32.1441
spawn1.3 | Optimal_Oracle_Tracking | 32 | 0 | 32.9333
spawn1.3 | Optimal_Oracle_Tracking | 33 | 0 | 44.7845
spawn1.3 | Optimal_Oracle_Tracking | 34 | 0 | 43.7405
spawn1.3 | Optimal_Oracle_Tracking | 35 | 0 | 57.3166
spawn1.3 | Optimal_Oracle_Tracking | 36 | 0 | 47.4363
spawn1.3 | Optimal_Oracle_Tracking | 37 | 0 | 42.7772
spawn1.3 | Optimal_Oracle_Tracking | 38 | 0 | 43.4207
spawn1.3 | Optimal_Oracle_Tracking | 39 | 0 | 35.3691
spawn1.3 | Optimal_Oracle_Tracking | 40 | 0 | 43.8482
spawn1.3 | Optimal_Oracle_Tracking | 41 | 0 | 38.5087
spawn1.3 | Optimal_Oracle_Tracking | 42 | 0 | 52.0959
spawn1.3 | Optimal_Oracle_Tracking | 43 | 0 | 36.1847
spawn1.3 | Optimal_Oracle_Tracking | 44 | 0 | 25.1046
spawn1.3 | Optimal_Oracle_Tracking | 45 | 0 | 50.3639
spawn1.3 | Optimal_Oracle_Tracking | 46 | 0 | 65.4446
spawn1.3 | Optimal_Oracle_Tracking | 47 | 0 | 45.8356
spawn1.3 | Optimal_Oracle_Tracking | 48 | 0 | 60.3954
spawn1.3 | Optimal_Oracle_Tracking | 49 | 0 | 59.4451
spawn1.3 | RoundRobin | 0 | 0 | 58.5652
spawn1.3 | RoundRobin | 1 | 0 | 51.6414
spawn1.3 | RoundRobin | 2 | 0 | 49.9998
spawn1.3 | RoundRobin | 3 | 0 | 42.1362
spawn1.3 | RoundRobin | 4 | 0 | 39.84
spawn1.3 | RoundRobin | 5 | 0 | 44.8843
spawn1.3 | RoundRobin | 6 | 0 | 37.4228
spawn1.3 | RoundRobin | 7 | 0 | 64.1062
spawn1.3 | RoundRobin | 8 | 0 | 59.4032
spawn1.3 | RoundRobin | 9 | 0 | 57.2997
spawn1.3 | RoundRobin | 10 | 0 | 46.9569
spawn1.3 | RoundRobin | 11 | 0 | 50.6458
spawn1.3 | RoundRobin | 12 | 0 | 60.6668
spawn1.3 | RoundRobin | 13 | 0 | 53.1768
spawn1.3 | RoundRobin | 14 | 0 | 62.3603
spawn1.3 | RoundRobin | 15 | 0 | 44.3615
spawn1.3 | RoundRobin | 16 | 0 | 49.4675
spawn1.3 | RoundRobin | 17 | 0 | 54.7417
spawn1.3 | RoundRobin | 18 | 0 | 68.9728
spawn1.3 | RoundRobin | 19 | 0 | 39.9224
spawn1.3 | RoundRobin | 20 | 0 | 54.3127
spawn1.3 | RoundRobin | 21 | 0 | 48.5397
spawn1.3 | RoundRobin | 22 | 0 | 57.9382
spawn1.3 | RoundRobin | 23 | 0 | 51.6873
spawn1.3 | RoundRobin | 24 | 0 | 45.5083
spawn1.3 | RoundRobin | 25 | 0 | 70.6399
spawn1.3 | RoundRobin | 26 | 0 | 64.8748
spawn1.3 | RoundRobin | 27 | 0 | 76.3216
spawn1.3 | RoundRobin | 28 | 0 | 53.122
spawn1.3 | RoundRobin | 29 | 0 | 56.715
spawn1.3 | RoundRobin | 30 | 0 | 60.4792
spawn1.3 | RoundRobin | 31 | 0 | 41.0717
spawn1.3 | RoundRobin | 32 | 0 | 43.1169
spawn1.3 | RoundRobin | 33 | 0 | 55.2834
spawn1.3 | RoundRobin | 34 | 0 | 45.0768
spawn1.3 | RoundRobin | 35 | 0 | 58.1387
spawn1.3 | RoundRobin | 36 | 0 | 63.2393
spawn1.3 | RoundRobin | 37 | 0 | 56.2432
spawn1.3 | RoundRobin | 38 | 0 | 52.8022
spawn1.3 | RoundRobin | 39 | 0 | 46.5668
spawn1.3 | RoundRobin | 40 | 0 | 55.6116
spawn1.3 | RoundRobin | 41 | 0 | 48.8001
spawn1.3 | RoundRobin | 42 | 0 | 54.7502
spawn1.3 | RoundRobin | 43 | 0 | 47.8867
spawn1.3 | RoundRobin | 44 | 0 | 34.3949
spawn1.3 | RoundRobin | 45 | 0 | 58.2514
spawn1.3 | RoundRobin | 46 | 0 | 75.4442
spawn1.3 | RoundRobin | 47 | 0 | 59.3289
spawn1.3 | RoundRobin | 48 | 0 | 64.0967
spawn1.3 | RoundRobin | 49 | 0 | 77.0828
spawn1.3 | TD3_vanilla_extended_ts102 | 0 | 0 | 99.7661
spawn1.3 | TD3_vanilla_extended_ts102 | 1 | 0 | 96.4431
spawn1.3 | TD3_vanilla_extended_ts102 | 2 | 0 | 99.7661
spawn1.3 | TD3_vanilla_extended_ts102 | 3 | 0.92306 | 101.8461
spawn1.3 | TD3_vanilla_extended_ts102 | 4 | 4.4709 | 108.9419
spawn1.3 | TD3_vanilla_extended_ts102 | 5 | 0 | 99.7641
spawn1.3 | TD3_vanilla_extended_ts102 | 6 | 0 | 74.6031
spawn1.3 | TD3_vanilla_extended_ts102 | 7 | 6.5753 | 113.1507
spawn1.3 | TD3_vanilla_extended_ts102 | 8 | 15.8831 | 131.7661
spawn1.3 | TD3_vanilla_extended_ts102 | 9 | 0 | 99.7596
spawn1.3 | TD3_vanilla_extended_ts102 | 10 | 29.1679 | 158.3359
spawn1.3 | TD3_vanilla_extended_ts102 | 11 | 4.1631 | 108.3261
spawn1.3 | TD3_vanilla_extended_ts102 | 12 | 4.3342 | 108.6685
spawn1.3 | TD3_vanilla_extended_ts102 | 13 | 0 | 89.4701
spawn1.3 | TD3_vanilla_extended_ts102 | 14 | 23.5846 | 144.3261
spawn1.3 | TD3_vanilla_extended_ts102 | 15 | 0 | 85.8616
spawn1.3 | TD3_vanilla_extended_ts102 | 16 | 0 | 99.7661
spawn1.3 | TD3_vanilla_extended_ts102 | 17 | 17.9582 | 135.9164
spawn1.3 | TD3_vanilla_extended_ts102 | 18 | 2.3215 | 104.6431
spawn1.3 | TD3_vanilla_extended_ts102 | 19 | 0 | 93.6161
spawn1.3 | TD3_vanilla_extended_ts102 | 20 | 0 | 99.4319
spawn1.3 | TD3_vanilla_extended_ts102 | 21 | 0 | 99.7661
spawn1.3 | TD3_vanilla_extended_ts102 | 22 | 0 | 99.8461
spawn1.3 | TD3_vanilla_extended_ts102 | 23 | 0 | 99.7661
spawn1.3 | TD3_vanilla_extended_ts102 | 24 | 0 | 98.4325
spawn1.3 | TD3_vanilla_extended_ts102 | 25 | 0 | 99.7661
spawn1.3 | TD3_vanilla_extended_ts102 | 26 | 0 | 99.7661
spawn1.3 | TD3_vanilla_extended_ts102 | 27 | 0 | 99.7661
spawn1.3 | TD3_vanilla_extended_ts102 | 28 | 0 | 99.7661
spawn1.3 | TD3_vanilla_extended_ts102 | 29 | 17.1114 | 134.2229
spawn1.3 | TD3_vanilla_extended_ts102 | 30 | 22.3105 | 144.6209
spawn1.3 | TD3_vanilla_extended_ts102 | 31 | 0 | 90.4
spawn1.3 | TD3_vanilla_extended_ts102 | 32 | 0 | 89.1582
spawn1.3 | TD3_vanilla_extended_ts102 | 33 | 0 | 99.7621
spawn1.3 | TD3_vanilla_extended_ts102 | 34 | 0 | 78.417
spawn1.3 | TD3_vanilla_extended_ts102 | 35 | 0 | 99.7661
spawn1.3 | TD3_vanilla_extended_ts102 | 36 | 0 | 99.7661
spawn1.3 | TD3_vanilla_extended_ts102 | 37 | 0 | 98.9631
spawn1.3 | TD3_vanilla_extended_ts102 | 38 | 0 | 99.7661
spawn1.3 | TD3_vanilla_extended_ts102 | 39 | 0 | 98.8765
spawn1.3 | TD3_vanilla_extended_ts102 | 40 | 24.8246 | 149.6492
spawn1.3 | TD3_vanilla_extended_ts102 | 41 | 18.715 | 137.43
spawn1.3 | TD3_vanilla_extended_ts102 | 42 | 3.5631 | 107.1261
spawn1.3 | TD3_vanilla_extended_ts102 | 43 | 0 | 99.7417
spawn1.3 | TD3_vanilla_extended_ts102 | 44 | 0 | 99.7661
spawn1.3 | TD3_vanilla_extended_ts102 | 45 | 0 | 99.7661
spawn1.3 | TD3_vanilla_extended_ts102 | 46 | 12.5159 | 125.0317
spawn1.3 | TD3_vanilla_extended_ts102 | 47 | 0 | 86.8357
spawn1.3 | TD3_vanilla_extended_ts102 | 48 | 0 | 99.7661
spawn1.3 | TD3_vanilla_extended_ts102 | 49 | 0 | 84.422
spawn1.6 | ChargeAsFastAsPossible | 0 | 45.8601 | 147.9141
spawn1.6 | ChargeAsFastAsPossible | 1 | 0 | 99.7661
spawn1.6 | ChargeAsFastAsPossible | 2 | 0 | 99.7661
spawn1.6 | ChargeAsFastAsPossible | 3 | 13.6413 | 127.2826
spawn1.6 | ChargeAsFastAsPossible | 4 | 0 | 98.5287
spawn1.6 | ChargeAsFastAsPossible | 5 | 0 | 99.7661
spawn1.6 | ChargeAsFastAsPossible | 6 | 23.7501 | 129.0805
spawn1.6 | ChargeAsFastAsPossible | 7 | 14.0431 | 128.0861
spawn1.6 | ChargeAsFastAsPossible | 8 | 49.4477 | 145.4461
spawn1.6 | ChargeAsFastAsPossible | 9 | 0 | 99.7661
spawn1.6 | ChargeAsFastAsPossible | 10 | 40.732 | 149.6492
spawn1.6 | ChargeAsFastAsPossible | 11 | 27.1277 | 149.6492
spawn1.6 | ChargeAsFastAsPossible | 12 | 18.6881 | 137.3761
spawn1.6 | ChargeAsFastAsPossible | 13 | 0 | 99.7661
spawn1.6 | ChargeAsFastAsPossible | 14 | 52.7077 | 177.6492
spawn1.6 | ChargeAsFastAsPossible | 15 | 3.4246 | 104.6861
spawn1.6 | ChargeAsFastAsPossible | 16 | 33.0734 | 136.0744
spawn1.6 | ChargeAsFastAsPossible | 17 | 31.7055 | 135.9164
spawn1.6 | ChargeAsFastAsPossible | 18 | 25.3646 | 146.0861
spawn1.6 | ChargeAsFastAsPossible | 19 | 26.5537 | 128.2929
spawn1.6 | ChargeAsFastAsPossible | 20 | 46.0837 | 179.9692
spawn1.6 | ChargeAsFastAsPossible | 21 | 0 | 99.7661
spawn1.6 | ChargeAsFastAsPossible | 22 | 5.0831 | 110.1661
spawn1.6 | ChargeAsFastAsPossible | 23 | 0.60879 | 101.2176
spawn1.6 | ChargeAsFastAsPossible | 24 | 0 | 99.7661
spawn1.6 | ChargeAsFastAsPossible | 25 | 24.8246 | 149.6492
spawn1.6 | ChargeAsFastAsPossible | 26 | 15.3631 | 130.7261
spawn1.6 | ChargeAsFastAsPossible | 27 | 39.6495 | 127.8598
spawn1.6 | ChargeAsFastAsPossible | 28 | 19.9787 | 124.5647
spawn1.6 | ChargeAsFastAsPossible | 29 | 62.4127 | 149.6492
spawn1.6 | ChargeAsFastAsPossible | 30 | 10.3437 | 120.6875
spawn1.6 | ChargeAsFastAsPossible | 31 | 39.7883 | 166.8535
spawn1.6 | ChargeAsFastAsPossible | 32 | 18.0954 | 136.1909
spawn1.6 | ChargeAsFastAsPossible | 33 | 42.9998 | 137.9933
spawn1.6 | ChargeAsFastAsPossible | 34 | 0 | 99.7661
spawn1.6 | ChargeAsFastAsPossible | 35 | 60.2811 | 158.5963
spawn1.6 | ChargeAsFastAsPossible | 36 | 25.4014 | 128.7661
spawn1.6 | ChargeAsFastAsPossible | 37 | 24.8246 | 149.6492
spawn1.6 | ChargeAsFastAsPossible | 38 | 29.6931 | 149.2476
spawn1.6 | ChargeAsFastAsPossible | 39 | 52.3546 | 204.7091
spawn1.6 | ChargeAsFastAsPossible | 40 | 0 | 99.7661
spawn1.6 | ChargeAsFastAsPossible | 41 | 27.8447 | 133.2464
spawn1.6 | ChargeAsFastAsPossible | 42 | 45.8457 | 145.7193
spawn1.6 | ChargeAsFastAsPossible | 43 | 11.8831 | 123.7661
spawn1.6 | ChargeAsFastAsPossible | 44 | 0 | 99.7661
spawn1.6 | ChargeAsFastAsPossible | 45 | 72.2323 | 161.2092
spawn1.6 | ChargeAsFastAsPossible | 46 | 83.1274 | 170.9194
spawn1.6 | ChargeAsFastAsPossible | 47 | 48.2424 | 196.4849
spawn1.6 | ChargeAsFastAsPossible | 48 | 60.0077 | 199.5323
spawn1.6 | ChargeAsFastAsPossible | 49 | 46.9795 | 149.6492
spawn1.6 | MPC_TrackingG2V | 0 | 0 | 41.3546
spawn1.6 | MPC_TrackingG2V | 1 | 0 | 41.3246
spawn1.6 | MPC_TrackingG2V | 2 | 0 | 40.5993
spawn1.6 | MPC_TrackingG2V | 3 | 0 | 40.9829
spawn1.6 | MPC_TrackingG2V | 4 | 0 | 34.4798
spawn1.6 | MPC_TrackingG2V | 5 | 0 | 27.937
spawn1.6 | MPC_TrackingG2V | 6 | 0 | 39.1851
spawn1.6 | MPC_TrackingG2V | 7 | 0 | 46.0116
spawn1.6 | MPC_TrackingG2V | 8 | 0 | 49.8142
spawn1.6 | MPC_TrackingG2V | 9 | 0 | 50.1684
spawn1.6 | MPC_TrackingG2V | 10 | 0 | 39.3009
spawn1.6 | MPC_TrackingG2V | 11 | 0 | 41.8434
spawn1.6 | MPC_TrackingG2V | 12 | 0 | 60.5545
spawn1.6 | MPC_TrackingG2V | 13 | 0 | 50.3001
spawn1.6 | MPC_TrackingG2V | 14 | 0 | 54.2658
spawn1.6 | MPC_TrackingG2V | 15 | 0 | 37.4926
spawn1.6 | MPC_TrackingG2V | 16 | 0 | 36.9703
spawn1.6 | MPC_TrackingG2V | 17 | 0 | 41.148
spawn1.6 | MPC_TrackingG2V | 18 | 0 | 51.1102
spawn1.6 | MPC_TrackingG2V | 19 | 0 | 39.3014
spawn1.6 | MPC_TrackingG2V | 20 | 0 | 49.2151
spawn1.6 | MPC_TrackingG2V | 21 | 0 | 37.6014
spawn1.6 | MPC_TrackingG2V | 22 | 0 | 42.5318
spawn1.6 | MPC_TrackingG2V | 23 | 0 | 46.6207
spawn1.6 | MPC_TrackingG2V | 24 | 0 | 41.6399
spawn1.6 | MPC_TrackingG2V | 25 | 0 | 51.8844
spawn1.6 | MPC_TrackingG2V | 26 | 0 | 45.3492
spawn1.6 | MPC_TrackingG2V | 27 | 0 | 60.8853
spawn1.6 | MPC_TrackingG2V | 28 | 0 | 36.0689
spawn1.6 | MPC_TrackingG2V | 29 | 0 | 48.3247
spawn1.6 | MPC_TrackingG2V | 30 | 0 | 38.7232
spawn1.6 | MPC_TrackingG2V | 31 | 0 | 30.921
spawn1.6 | MPC_TrackingG2V | 32 | 0 | 33.8646
spawn1.6 | MPC_TrackingG2V | 33 | 0 | 49.1987
spawn1.6 | MPC_TrackingG2V | 34 | 0 | 39.2779
spawn1.6 | MPC_TrackingG2V | 35 | 0 | 49.6037
spawn1.6 | MPC_TrackingG2V | 36 | 0 | 50.1529
spawn1.6 | MPC_TrackingG2V | 37 | 0 | 46.057
spawn1.6 | MPC_TrackingG2V | 38 | 0 | 37.6248
spawn1.6 | MPC_TrackingG2V | 39 | 0 | 51.3616
spawn1.6 | MPC_TrackingG2V | 40 | 0 | 40.9121
spawn1.6 | MPC_TrackingG2V | 41 | 0 | 42.0878
spawn1.6 | MPC_TrackingG2V | 42 | 0 | 47.6119
spawn1.6 | MPC_TrackingG2V | 43 | 0 | 36.5793
spawn1.6 | MPC_TrackingG2V | 44 | 0 | 29.433
spawn1.6 | MPC_TrackingG2V | 45 | 0 | 56.3369
spawn1.6 | MPC_TrackingG2V | 46 | 0 | 56.9046
spawn1.6 | MPC_TrackingG2V | 47 | 0 | 45.429
spawn1.6 | MPC_TrackingG2V | 48 | 0 | 53.0382
spawn1.6 | MPC_TrackingG2V | 49 | 0 | 50.4078
spawn1.6 | Optimal_Oracle_Tracking | 0 | 0 | 45.5377
spawn1.6 | Optimal_Oracle_Tracking | 1 | 0 | 40.4447
spawn1.6 | Optimal_Oracle_Tracking | 2 | 0 | 44.7136
spawn1.6 | Optimal_Oracle_Tracking | 3 | 0 | 30.5723
spawn1.6 | Optimal_Oracle_Tracking | 4 | 0 | 29.6275
spawn1.6 | Optimal_Oracle_Tracking | 5 | 0 | 32.3761
spawn1.6 | Optimal_Oracle_Tracking | 6 | 0 | 43.0621
spawn1.6 | Optimal_Oracle_Tracking | 7 | 0 | 39.8356
spawn1.6 | Optimal_Oracle_Tracking | 8 | 0 | 56.7899
spawn1.6 | Optimal_Oracle_Tracking | 9 | 0 | 42.249
spawn1.6 | Optimal_Oracle_Tracking | 10 | 0 | 35.6045
spawn1.6 | Optimal_Oracle_Tracking | 11 | 0 | 49.4765
spawn1.6 | Optimal_Oracle_Tracking | 12 | 0 | 57.8514
spawn1.6 | Optimal_Oracle_Tracking | 13 | 0 | 48.4459
spawn1.6 | Optimal_Oracle_Tracking | 14 | 0 | 48.3891
spawn1.6 | Optimal_Oracle_Tracking | 15 | 0 | 36.9214
spawn1.6 | Optimal_Oracle_Tracking | 16 | 0 | 38.3795
spawn1.6 | Optimal_Oracle_Tracking | 17 | 0 | 46.1558
spawn1.6 | Optimal_Oracle_Tracking | 18 | 0 | 48.3127
spawn1.6 | Optimal_Oracle_Tracking | 19 | 0 | 34.4093
spawn1.6 | Optimal_Oracle_Tracking | 20 | 0 | 43.4481
spawn1.6 | Optimal_Oracle_Tracking | 21 | 0 | 39.655
spawn1.6 | Optimal_Oracle_Tracking | 22 | 0 | 52.703
spawn1.6 | Optimal_Oracle_Tracking | 23 | 0 | 37.5171
spawn1.6 | Optimal_Oracle_Tracking | 24 | 0 | 36.4815
spawn1.6 | Optimal_Oracle_Tracking | 25 | 0 | 49.3653
spawn1.6 | Optimal_Oracle_Tracking | 26 | 0 | 52.7424
spawn1.6 | Optimal_Oracle_Tracking | 27 | 0 | 49.5932
spawn1.6 | Optimal_Oracle_Tracking | 28 | 0 | 31.7196
spawn1.6 | Optimal_Oracle_Tracking | 29 | 0 | 50.4313
spawn1.6 | Optimal_Oracle_Tracking | 30 | 0 | 44.2503
spawn1.6 | Optimal_Oracle_Tracking | 31 | 0 | 37.2427
spawn1.6 | Optimal_Oracle_Tracking | 32 | 0 | 31.4783
spawn1.6 | Optimal_Oracle_Tracking | 33 | 0 | 48.9702
spawn1.6 | Optimal_Oracle_Tracking | 34 | 0 | 43.065
spawn1.6 | Optimal_Oracle_Tracking | 35 | 0 | 57.2199
spawn1.6 | Optimal_Oracle_Tracking | 36 | 0 | 55.26
spawn1.6 | Optimal_Oracle_Tracking | 37 | 0 | 51.0982
spawn1.6 | Optimal_Oracle_Tracking | 38 | 0 | 46.8956
spawn1.6 | Optimal_Oracle_Tracking | 39 | 0 | 42.8316
spawn1.6 | Optimal_Oracle_Tracking | 40 | 0 | 44.0837
spawn1.6 | Optimal_Oracle_Tracking | 41 | 0 | 37.9241
spawn1.6 | Optimal_Oracle_Tracking | 42 | 0 | 52.7907
spawn1.6 | Optimal_Oracle_Tracking | 43 | 0 | 38.1699
spawn1.6 | Optimal_Oracle_Tracking | 44 | 0 | 35.4384
spawn1.6 | Optimal_Oracle_Tracking | 45 | 0 | 61.5717
spawn1.6 | Optimal_Oracle_Tracking | 46 | 0 | 66.107
spawn1.6 | Optimal_Oracle_Tracking | 47 | 0 | 43.1219
spawn1.6 | Optimal_Oracle_Tracking | 48 | 0 | 58.9827
spawn1.6 | Optimal_Oracle_Tracking | 49 | 0 | 45.9463
spawn1.6 | RoundRobin | 0 | 0 | 55.2031
spawn1.6 | RoundRobin | 1 | 0 | 52.2385
spawn1.6 | RoundRobin | 2 | 0 | 49.8831
spawn1.6 | RoundRobin | 3 | 0 | 42.8276
spawn1.6 | RoundRobin | 4 | 0 | 41.6469
spawn1.6 | RoundRobin | 5 | 0 | 42.7109
spawn1.6 | RoundRobin | 6 | 0 | 50.0509
spawn1.6 | RoundRobin | 7 | 0 | 53.8069
spawn1.6 | RoundRobin | 8 | 0 | 62.7604
spawn1.6 | RoundRobin | 9 | 0 | 56.5115
spawn1.6 | RoundRobin | 10 | 0 | 43.4751
spawn1.6 | RoundRobin | 11 | 0 | 56.5459
spawn1.6 | RoundRobin | 12 | 0 | 67.5621
spawn1.6 | RoundRobin | 13 | 0 | 54.0229
spawn1.6 | RoundRobin | 14 | 0 | 62.1733
spawn1.6 | RoundRobin | 15 | 0 | 42.9324
spawn1.6 | RoundRobin | 16 | 0 | 48.1077
spawn1.6 | RoundRobin | 17 | 0 | 54.8998
spawn1.6 | RoundRobin | 18 | 0 | 63.7421
spawn1.6 | RoundRobin | 19 | 0 | 44.8394
spawn1.6 | RoundRobin | 20 | 0 | 50.2667
spawn1.6 | RoundRobin | 21 | 0 | 45.9383
spawn1.6 | RoundRobin | 22 | 0 | 66.2178
spawn1.6 | RoundRobin | 23 | 0 | 50.3021
spawn1.6 | RoundRobin | 24 | 0 | 46.4401
spawn1.6 | RoundRobin | 25 | 0 | 67.6394
spawn1.6 | RoundRobin | 26 | 0 | 61.2831
spawn1.6 | RoundRobin | 27 | 0 | 56.4432
spawn1.6 | RoundRobin | 28 | 0 | 44.3994
spawn1.6 | RoundRobin | 29 | 0 | 60.5211
spawn1.6 | RoundRobin | 30 | 0 | 56.0037
spawn1.6 | RoundRobin | 31 | 0 | 45.7358
spawn1.6 | RoundRobin | 32 | 0 | 41.4663
spawn1.6 | RoundRobin | 33 | 0 | 57.0692
spawn1.6 | RoundRobin | 34 | 0 | 52.6196
spawn1.6 | RoundRobin | 35 | 0 | 57.2867
spawn1.6 | RoundRobin | 36 | 0 | 68.6466
spawn1.6 | RoundRobin | 37 | 0 | 67.5177
spawn1.6 | RoundRobin | 38 | 0 | 53.0187
spawn1.6 | RoundRobin | 39 | 0 | 49.7778
spawn1.6 | RoundRobin | 40 | 0 | 62.1698
spawn1.6 | RoundRobin | 41 | 0 | 47.6073
spawn1.6 | RoundRobin | 42 | 0 | 64.0127
spawn1.6 | RoundRobin | 43 | 0 | 51.6175
spawn1.6 | RoundRobin | 44 | 0 | 47.1664
spawn1.6 | RoundRobin | 45 | 0 | 73.3725
spawn1.6 | RoundRobin | 46 | 0 | 64.1486
spawn1.6 | RoundRobin | 47 | 0 | 53.4367
spawn1.6 | RoundRobin | 48 | 0 | 64.0967
spawn1.6 | RoundRobin | 49 | 0 | 57.1056
spawn1.6 | TD3_vanilla_extended_ts102 | 0 | 22.0348 | 134.6861
spawn1.6 | TD3_vanilla_extended_ts102 | 1 | 3.591 | 107.182
spawn1.6 | TD3_vanilla_extended_ts102 | 2 | 0 | 99.7661
spawn1.6 | TD3_vanilla_extended_ts102 | 3 | 3.3431 | 106.6861
spawn1.6 | TD3_vanilla_extended_ts102 | 4 | 16.0443 | 132.0887
spawn1.6 | TD3_vanilla_extended_ts102 | 5 | 0 | 89.5926
spawn1.6 | TD3_vanilla_extended_ts102 | 6 | 1.8722 | 103.7444
spawn1.6 | TD3_vanilla_extended_ts102 | 7 | 0.15064 | 100.3013
spawn1.6 | TD3_vanilla_extended_ts102 | 8 | 37.2115 | 131.7661
spawn1.6 | TD3_vanilla_extended_ts102 | 9 | 0 | 99.7661
spawn1.6 | TD3_vanilla_extended_ts102 | 10 | 11.0834 | 122.1667
spawn1.6 | TD3_vanilla_extended_ts102 | 11 | 7.8646 | 114.2461
spawn1.6 | TD3_vanilla_extended_ts102 | 12 | 0 | 99.8519
spawn1.6 | TD3_vanilla_extended_ts102 | 13 | 0 | 99.7661
spawn1.6 | TD3_vanilla_extended_ts102 | 14 | 11.3364 | 122.6728
spawn1.6 | TD3_vanilla_extended_ts102 | 15 | 3.833 | 107.6659
spawn1.6 | TD3_vanilla_extended_ts102 | 16 | 18.0372 | 136.0744
spawn1.6 | TD3_vanilla_extended_ts102 | 17 | 17.9582 | 135.9164
spawn1.6 | TD3_vanilla_extended_ts102 | 18 | 49.2277 | 186.4892
spawn1.6 | TD3_vanilla_extended_ts102 | 19 | 0 | 99.7661
spawn1.6 | TD3_vanilla_extended_ts102 | 20 | 0 | 99.7387
spawn1.6 | TD3_vanilla_extended_ts102 | 21 | 0 | 96.5631
spawn1.6 | TD3_vanilla_extended_ts102 | 22 | 7.9031 | 115.8061
spawn1.6 | TD3_vanilla_extended_ts102 | 23 | 0 | 99.7661
spawn1.6 | TD3_vanilla_extended_ts102 | 24 | 0 | 99.7661
spawn1.6 | TD3_vanilla_extended_ts102 | 25 | 24.8176 | 149.6352
spawn1.6 | TD3_vanilla_extended_ts102 | 26 | 15.3631 | 130.7261
spawn1.6 | TD3_vanilla_extended_ts102 | 27 | 0 | 99.625
spawn1.6 | TD3_vanilla_extended_ts102 | 28 | 0 | 97.6607
spawn1.6 | TD3_vanilla_extended_ts102 | 29 | 32.099 | 137.9451
spawn1.6 | TD3_vanilla_extended_ts102 | 30 | 20.7431 | 141.4861
spawn1.6 | TD3_vanilla_extended_ts102 | 31 | 0 | 90.7862
spawn1.6 | TD3_vanilla_extended_ts102 | 32 | 0 | 99.7661
spawn1.6 | TD3_vanilla_extended_ts102 | 33 | 4.4431 | 108.8861
spawn1.6 | TD3_vanilla_extended_ts102 | 34 | 0 | 85.256
spawn1.6 | TD3_vanilla_extended_ts102 | 35 | 24.7934 | 149.5868
spawn1.6 | TD3_vanilla_extended_ts102 | 36 | 6.115 | 112.2299
spawn1.6 | TD3_vanilla_extended_ts102 | 37 | 0 | 96.5596
spawn1.6 | TD3_vanilla_extended_ts102 | 38 | 0.73654 | 101.0282
spawn1.6 | TD3_vanilla_extended_ts102 | 39 | 0 | 99.7661
spawn1.6 | TD3_vanilla_extended_ts102 | 40 | 0 | 99.7661
spawn1.6 | TD3_vanilla_extended_ts102 | 41 | 0 | 99.7661
spawn1.6 | TD3_vanilla_extended_ts102 | 42 | 0 | 93.197
spawn1.6 | TD3_vanilla_extended_ts102 | 43 | 0 | 99.6304
spawn1.6 | TD3_vanilla_extended_ts102 | 44 | 0 | 99.7661
spawn1.6 | TD3_vanilla_extended_ts102 | 45 | 6.8615 | 113.7231
spawn1.6 | TD3_vanilla_extended_ts102 | 46 | 20.5389 | 125.0317
spawn1.6 | TD3_vanilla_extended_ts102 | 47 | 0 | 75.9489
spawn1.6 | TD3_vanilla_extended_ts102 | 48 | 0 | 99.7661
spawn1.6 | TD3_vanilla_extended_ts102 | 49 | 0.46874 | 100.9375