## transformer_sizing
Growth Setting (base; spawn1.3/1.6 = station demand axis; load1.3/1.6 = feeder load axis) | Algorithm | Scenario Seeds | Seeds with Any Overload (count) | Per-Seed Overload, 50th Percentile (kWh per day) | Per-Seed Overload, 90th Percentile (kWh per day) | Per-Seed Overload, 95th Percentile (kWh per day) | Per-Seed Overload, Maximum (kWh per day) | Per-Seed Peak Station Power, 50th Percentile (kW) | Per-Seed Peak Station Power, 90th Percentile (kW) | Per-Seed Peak Station Power, 95th Percentile (kW) | Per-Seed Peak Station Power, Maximum (kW) | Transformer Rating at Which the 95th-Percentile Seed Stops Overloading (kW) | Next Standard Distribution Transformer Size (kVA, unity power factor assumed) | Seeds Above the 95th Percentile (count; tail support)
base | ChargeAsFastAsPossible | 50 | 28 | 10.3164 | 35.7872 | 44.8841 | 78.6334 | 116.2298 | 153.1409 | 172.6965 | 220.8024 | 172.6965 | 225 | 3
base | MPC_TrackingG2V | 50 | 0 | 0 | 0 | 0 | 0 | 37.1464 | 47.7005 | 50.7807 | 64.0374 | 50.7807 | 75 | 3
base | Optimal_Oracle_Tracking | 50 | 0 | 0 | 0 | 0 | 0 | 39.3735 | 48.342 | 56.1117 | 67.1107 | 56.1117 | 75 | 3
base | RoundRobin | 50 | 0 | 0 | 0 | 0 | 0 | 47.8947 | 59.4377 | 66.8023 | 83.2334 | 66.8023 | 75 | 3
base | TD3_vanilla_extended_ts102 | 50 | 16 | 0 | 16.4354 | 22.1436 | 24.8246 | 99.7661 | 132.5742 | 144.2873 | 149.6492 | 144.2873 | 150 | 3
load1.3 | ChargeAsFastAsPossible | 50 | 28 | 10.3164 | 35.7872 | 44.8841 | 78.6334 | 116.2298 | 153.1409 | 172.6965 | 220.8024 | 172.6965 | 225 | 3
load1.3 | MPC_TrackingG2V | 50 | 0 | 0 | 0 | 0 | 0 | 37.1464 | 47.7005 | 50.7807 | 64.0374 | 50.7807 | 75 | 3
load1.3 | Optimal_Oracle_Tracking | 50 | 0 | 0 | 0 | 0 | 0 | 39.3735 | 48.342 | 56.1117 | 67.1107 | 56.1117 | 75 | 3
load1.3 | RoundRobin | 50 | 0 | 0 | 0 | 0 | 0 | 47.8947 | 59.4377 | 66.8023 | 83.2334 | 66.8023 | 75 | 3
load1.3 | TD3_vanilla_extended_ts102 | 50 | 16 | 0 | 16.4354 | 22.1436 | 24.8246 | 99.7661 | 132.5742 | 144.2873 | 149.6492 | 144.2873 | 150 | 3
load1.6 | ChargeAsFastAsPossible | 50 | 28 | 10.3164 | 35.7872 | 44.8841 | 78.6334 | 116.2298 | 153.1409 | 172.6965 | 220.8024 | 172.6965 | 225 | 3
load1.6 | MPC_TrackingG2V | 50 | 0 | 0 | 0 | 0 | 0 | 37.1464 | 47.7005 | 50.7807 | 64.0374 | 50.7807 | 75 | 3
load1.6 | Optimal_Oracle_Tracking | 50 | 0 | 0 | 0 | 0 | 0 | 39.3735 | 48.342 | 56.1117 | 67.1107 | 56.1117 | 75 | 3
load1.6 | RoundRobin | 50 | 0 | 0 | 0 | 0 | 0 | 47.8947 | 59.4377 | 66.8023 | 83.2334 | 66.8023 | 75 | 3
load1.6 | TD3_vanilla_extended_ts102 | 50 | 16 | 0 | 16.4354 | 22.1436 | 24.8246 | 99.7661 | 132.5742 | 144.2873 | 149.6492 | 144.2873 | 150 | 3
spawn1.3 | ChargeAsFastAsPossible | 50 | 42 | 21.1965 | 57.5305 | 69.7827 | 91.2338 | 132.0414 | 175.2855 | 191.8817 | 220.8024 | 191.8817 | 225 | 3
spawn1.3 | MPC_TrackingG2V | 50 | 0 | 0 | 0 | 0 | 0 | 42.4794 | 54.3847 | 55.966 | 66.0387 | 55.966 | 75 | 3
spawn1.3 | Optimal_Oracle_Tracking | 50 | 0 | 0 | 0 | 0 | 0 | 44.4261 | 58.9553 | 60.8797 | 65.4446 | 60.8797 | 75 | 3
spawn1.3 | RoundRobin | 50 | 0 | 0 | 0 | 0 | 0 | 54.5272 | 65.2846 | 73.2823 | 77.0828 | 73.2823 | 75 | 3
spawn1.3 | TD3_vanilla_extended_ts102 | 50 | 16 | 0 | 18.0339 | 23.0112 | 29.1679 | 99.7661 | 136.0677 | 144.4883 | 158.3359 | 144.4883 | 150 | 3
spawn1.6 | ChargeAsFastAsPossible | 50 | 39 | 25.0946 | 53.4377 | 61.4535 | 83.1274 | 134.5814 | 171.5924 | 189.0528 | 204.7091 | 189.0528 | 225 | 3
spawn1.6 | MPC_TrackingG2V | 50 | 0 | 0 | 0 | 0 | 0 | 42.3098 | 53.1609 | 56.6492 | 60.8853 | 56.6492 | 75 | 3
spawn1.6 | Optimal_Oracle_Tracking | 50 | 0 | 0 | 0 | 0 | 0 | 44.167 | 56.8329 | 58.4736 | 66.107 | 58.4736 | 75 | 3
spawn1.6 | RoundRobin | 50 | 0 | 0 | 0 | 0 | 0 | 53.9149 | 66.3478 | 67.6046 | 73.3725 | 67.6046 | 75 | 3
spawn1.6 | TD3_vanilla_extended_ts102 | 50 | 26 | 0.30969 | 22.3107 | 28.8224 | 49.2277 | 100.6194 | 136.2615 | 145.9415 | 186.4892 | 145.9415 | 150 | 3