## voltage_probe
Run Identifier | Config Name | Probe Setting | Algorithm | Scenario Seed | Evaluation Day | Day Type | EV2Gym voltage_violation (p.u. x step, <= 0) | EV2Gym voltage_violation_counter (bus-step samples outside band) | Simulated Steps | Independent Check: (Bus, Step) Samples Outside 0.95-1.05 p.u. | Independent Check: Steps with Any Bus Outside the Band | Minimum Bus Voltage (p.u.) | Maximum Bus Voltage (p.u.) | Bus with the Minimum Voltage (1-based) | Total Excursion Beyond the Band (p.u. x step) | Station Bus (27) Minimum Voltage (p.u.) | Station Bus (27) Steps Outside the Band | Feeder Load Multiplier
station_v0_bogota_grid_probe_sp30_lm0.5__ChargeAsFastAsPossible__seed0__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | ChargeAsFastAsPossible | 0 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.97161 | 1 | 27 | 0 | 0.97161 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__RoundRobin__seed0__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | RoundRobin | 0 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.9731 | 1 | 27 | 0 | 0.9731 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__ChargeAsFastAsPossible__seed0__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | ChargeAsFastAsPossible | 0 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.97791 | 1.018 | 27 | 0 | 0.97791 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__RoundRobin__seed0__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | RoundRobin | 0 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.97668 | 1.0177 | 27 | 0 | 0.97668 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__ChargeAsFastAsPossible__seed1__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | ChargeAsFastAsPossible | 1 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.96577 | 1 | 27 | 0 | 0.96577 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__RoundRobin__seed1__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | RoundRobin | 1 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.96648 | 1 | 27 | 0 | 0.96648 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__ChargeAsFastAsPossible__seed1__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | ChargeAsFastAsPossible | 1 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96994 | 1.0122 | 27 | 0 | 0.96994 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__RoundRobin__seed1__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | RoundRobin | 1 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96994 | 1.0121 | 27 | 0 | 0.96994 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__ChargeAsFastAsPossible__seed2__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | ChargeAsFastAsPossible | 2 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.97042 | 1 | 27 | 0 | 0.97042 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__RoundRobin__seed2__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | RoundRobin | 2 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.9713 | 1 | 27 | 0 | 0.9713 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__ChargeAsFastAsPossible__seed2__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | ChargeAsFastAsPossible | 2 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.97707 | 1.0201 | 27 | 0 | 0.97707 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__RoundRobin__seed2__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | RoundRobin | 2 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.97737 | 1.0198 | 27 | 0 | 0.97737 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__ChargeAsFastAsPossible__seed3__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | ChargeAsFastAsPossible | 3 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.97536 | 1 | 27 | 0 | 0.97536 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__RoundRobin__seed3__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | RoundRobin | 3 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.9757 | 1 | 27 | 0 | 0.9757 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__ChargeAsFastAsPossible__seed3__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | ChargeAsFastAsPossible | 3 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.97342 | 1.0139 | 27 | 0 | 0.97342 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__RoundRobin__seed3__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | RoundRobin | 3 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.97323 | 1.0143 | 27 | 0 | 0.97323 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__ChargeAsFastAsPossible__seed4__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | ChargeAsFastAsPossible | 4 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.97487 | 1 | 27 | 0 | 0.97487 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__RoundRobin__seed4__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | RoundRobin | 4 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.97547 | 1 | 27 | 0 | 0.97547 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__ChargeAsFastAsPossible__seed4__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | ChargeAsFastAsPossible | 4 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96975 | 1.0119 | 27 | 0 | 0.96975 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__RoundRobin__seed4__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | RoundRobin | 4 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96975 | 1.0119 | 27 | 0 | 0.96975 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__ChargeAsFastAsPossible__seed5__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | ChargeAsFastAsPossible | 5 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.96904 | 1 | 27 | 0 | 0.96904 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__RoundRobin__seed5__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | RoundRobin | 5 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.96969 | 1 | 27 | 0 | 0.96969 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__ChargeAsFastAsPossible__seed5__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | ChargeAsFastAsPossible | 5 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.97565 | 1.015 | 27 | 0 | 0.97565 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__RoundRobin__seed5__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | RoundRobin | 5 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.97544 | 1.0147 | 27 | 0 | 0.97544 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__ChargeAsFastAsPossible__seed6__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | ChargeAsFastAsPossible | 6 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.96597 | 1 | 27 | 0 | 0.96597 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__RoundRobin__seed6__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | RoundRobin | 6 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.96632 | 1 | 27 | 0 | 0.96632 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__ChargeAsFastAsPossible__seed6__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | ChargeAsFastAsPossible | 6 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.97127 | 1.0116 | 27 | 0 | 0.97127 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__RoundRobin__seed6__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | RoundRobin | 6 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.97105 | 1.0111 | 27 | 0 | 0.97105 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__ChargeAsFastAsPossible__seed7__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | ChargeAsFastAsPossible | 7 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.96688 | 1 | 27 | 0 | 0.96688 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__RoundRobin__seed7__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | RoundRobin | 7 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.96888 | 1 | 27 | 0 | 0.96888 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__ChargeAsFastAsPossible__seed7__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | ChargeAsFastAsPossible | 7 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.97854 | 1.0164 | 27 | 0 | 0.97854 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__RoundRobin__seed7__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | RoundRobin | 7 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.97856 | 1.0164 | 27 | 0 | 0.97856 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__ChargeAsFastAsPossible__seed8__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | ChargeAsFastAsPossible | 8 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.96827 | 1 | 27 | 0 | 0.96827 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__RoundRobin__seed8__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | RoundRobin | 8 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.97062 | 1 | 27 | 0 | 0.97062 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__ChargeAsFastAsPossible__seed8__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | ChargeAsFastAsPossible | 8 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.97402 | 1.0119 | 27 | 0 | 0.97402 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__RoundRobin__seed8__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | RoundRobin | 8 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.97303 | 1.0113 | 27 | 0 | 0.97303 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__ChargeAsFastAsPossible__seed9__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | ChargeAsFastAsPossible | 9 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.97293 | 1 | 27 | 0 | 0.97293 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__RoundRobin__seed9__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | RoundRobin | 9 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.97369 | 1 | 27 | 0 | 0.97369 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__ChargeAsFastAsPossible__seed9__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | ChargeAsFastAsPossible | 9 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.97767 | 1.0158 | 27 | 0 | 0.97767 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.5__RoundRobin__seed9__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.5 | probe_lm0.5 | RoundRobin | 9 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.97767 | 1.0154 | 27 | 0 | 0.97767 | 0 | 0.5
station_v0_bogota_grid_probe_sp30_lm0.7__ChargeAsFastAsPossible__seed0__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | ChargeAsFastAsPossible | 0 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.96073 | 1 | 27 | 0 | 0.96073 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__RoundRobin__seed0__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | RoundRobin | 0 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.96227 | 1 | 27 | 0 | 0.96227 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__ChargeAsFastAsPossible__seed0__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | ChargeAsFastAsPossible | 0 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96859 | 1.0106 | 27 | 0 | 0.96859 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__RoundRobin__seed0__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | RoundRobin | 0 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96735 | 1.0104 | 27 | 0 | 0.96735 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__ChargeAsFastAsPossible__seed1__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | ChargeAsFastAsPossible | 1 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95201 | 1 | 27 | 0 | 0.95201 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__RoundRobin__seed1__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | RoundRobin | 1 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95273 | 1 | 27 | 0 | 0.95273 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__ChargeAsFastAsPossible__seed1__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | ChargeAsFastAsPossible | 1 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95704 | 1.0024 | 27 | 0 | 0.95704 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__RoundRobin__seed1__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | RoundRobin | 1 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95704 | 1.0023 | 27 | 0 | 0.95704 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__ChargeAsFastAsPossible__seed2__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | ChargeAsFastAsPossible | 2 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95855 | 1 | 27 | 0 | 0.95855 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__RoundRobin__seed2__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | RoundRobin | 2 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95945 | 1 | 27 | 0 | 0.95945 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__ChargeAsFastAsPossible__seed2__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | ChargeAsFastAsPossible | 2 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96792 | 1.0137 | 27 | 0 | 0.96792 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__RoundRobin__seed2__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | RoundRobin | 2 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96836 | 1.0134 | 27 | 0 | 0.96836 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__ChargeAsFastAsPossible__seed3__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | ChargeAsFastAsPossible | 3 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.96537 | 1 | 27 | 0 | 0.96537 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__RoundRobin__seed3__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | RoundRobin | 3 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.96544 | 1 | 27 | 0 | 0.96544 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__ChargeAsFastAsPossible__seed3__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | ChargeAsFastAsPossible | 3 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96226 | 1.005 | 27 | 0 | 0.96226 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__RoundRobin__seed3__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | RoundRobin | 3 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96207 | 1.0056 | 27 | 0 | 0.96207 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__ChargeAsFastAsPossible__seed4__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | ChargeAsFastAsPossible | 4 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.96493 | 1 | 27 | 0 | 0.96493 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__RoundRobin__seed4__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | RoundRobin | 4 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.96552 | 1 | 27 | 0 | 0.96552 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__ChargeAsFastAsPossible__seed4__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | ChargeAsFastAsPossible | 4 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95666 | 1.0021 | 27 | 0 | 0.95666 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__RoundRobin__seed4__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | RoundRobin | 4 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95623 | 1.002 | 27 | 0 | 0.95623 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__ChargeAsFastAsPossible__seed5__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | ChargeAsFastAsPossible | 5 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95654 | 1 | 27 | 0 | 0.95654 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__RoundRobin__seed5__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | RoundRobin | 5 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95718 | 1 | 27 | 0 | 0.95718 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__ChargeAsFastAsPossible__seed5__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | ChargeAsFastAsPossible | 5 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96537 | 1.0065 | 27 | 0 | 0.96537 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__RoundRobin__seed5__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | RoundRobin | 5 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96516 | 1.0061 | 27 | 0 | 0.96516 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__ChargeAsFastAsPossible__seed6__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | ChargeAsFastAsPossible | 6 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95205 | 1 | 27 | 0 | 0.95205 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__RoundRobin__seed6__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | RoundRobin | 6 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95233 | 1 | 27 | 0 | 0.95233 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__ChargeAsFastAsPossible__seed6__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | ChargeAsFastAsPossible | 6 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95931 | 1.0017 | 27 | 0 | 0.95931 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__RoundRobin__seed6__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | RoundRobin | 6 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95883 | 1.0012 | 27 | 0 | 0.95883 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__ChargeAsFastAsPossible__seed7__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | ChargeAsFastAsPossible | 7 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95429 | 1 | 27 | 0 | 0.95429 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__RoundRobin__seed7__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | RoundRobin | 7 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95622 | 1 | 27 | 0 | 0.95622 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__ChargeAsFastAsPossible__seed7__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | ChargeAsFastAsPossible | 7 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.97018 | 1.0084 | 27 | 0 | 0.97018 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__RoundRobin__seed7__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | RoundRobin | 7 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96976 | 1.0084 | 27 | 0 | 0.96976 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__ChargeAsFastAsPossible__seed8__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | ChargeAsFastAsPossible | 8 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95619 | 1 | 27 | 0 | 0.95619 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__RoundRobin__seed8__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | RoundRobin | 8 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.9584 | 1 | 27 | 0 | 0.9584 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__ChargeAsFastAsPossible__seed8__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | ChargeAsFastAsPossible | 8 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96281 | 1.0025 | 27 | 0 | 0.96281 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__RoundRobin__seed8__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | RoundRobin | 8 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96188 | 1.0022 | 27 | 0 | 0.96188 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__ChargeAsFastAsPossible__seed9__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | ChargeAsFastAsPossible | 9 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.96217 | 1 | 27 | 0 | 0.96217 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__RoundRobin__seed9__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | RoundRobin | 9 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.96246 | 1 | 27 | 0 | 0.96246 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__ChargeAsFastAsPossible__seed9__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | ChargeAsFastAsPossible | 9 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96809 | 1.0077 | 27 | 0 | 0.96809 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.7__RoundRobin__seed9__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.7 | probe_lm0.7 | RoundRobin | 9 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96809 | 1.0072 | 27 | 0 | 0.96809 | 0 | 0.7
station_v0_bogota_grid_probe_sp30_lm0.8__ChargeAsFastAsPossible__seed0__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | ChargeAsFastAsPossible | 0 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95522 | 1 | 27 | 0 | 0.95522 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__RoundRobin__seed0__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | RoundRobin | 0 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95671 | 1 | 27 | 0 | 0.95671 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__ChargeAsFastAsPossible__seed0__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | ChargeAsFastAsPossible | 0 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96388 | 1.0069 | 27 | 0 | 0.96388 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__RoundRobin__seed0__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | RoundRobin | 0 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96262 | 1.0067 | 27 | 0 | 0.96262 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__ChargeAsFastAsPossible__seed1__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | ChargeAsFastAsPossible | 1 | 2022-01-17 | weekday | -0.049966 | 20 | 96 | 20 | 6 | 0.945 | 1 | 27 | 0.049966 | 0.945 | 6 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__RoundRobin__seed1__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | RoundRobin | 1 | 2022-01-17 | weekday | -0.03757 | 22 | 96 | 22 | 7 | 0.94572 | 1 | 27 | 0.03757 | 0.94572 | 7 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__ChargeAsFastAsPossible__seed1__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | ChargeAsFastAsPossible | 1 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95048 | 1 | 27 | 0 | 0.95048 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__RoundRobin__seed1__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | RoundRobin | 1 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95048 | 1 | 27 | 0 | 0.95048 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__ChargeAsFastAsPossible__seed2__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | ChargeAsFastAsPossible | 2 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95253 | 1 | 27 | 0 | 0.95253 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__RoundRobin__seed2__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | RoundRobin | 2 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95343 | 1 | 27 | 0 | 0.95343 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__ChargeAsFastAsPossible__seed2__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | ChargeAsFastAsPossible | 2 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96329 | 1.0104 | 27 | 0 | 0.96329 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__RoundRobin__seed2__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | RoundRobin | 2 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.9638 | 1.0102 | 27 | 0 | 0.9638 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__ChargeAsFastAsPossible__seed3__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | ChargeAsFastAsPossible | 3 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.96024 | 1 | 27 | 0 | 0.96024 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__RoundRobin__seed3__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | RoundRobin | 3 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.96024 | 1 | 27 | 0 | 0.96024 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__ChargeAsFastAsPossible__seed3__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | ChargeAsFastAsPossible | 3 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95658 | 1.0005 | 27 | 0 | 0.95658 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__RoundRobin__seed3__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | RoundRobin | 3 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95635 | 1.0012 | 27 | 0 | 0.95635 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__ChargeAsFastAsPossible__seed4__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | ChargeAsFastAsPossible | 4 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95989 | 1 | 27 | 0 | 0.95989 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__RoundRobin__seed4__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | RoundRobin | 4 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.96049 | 1 | 27 | 0 | 0.96049 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__ChargeAsFastAsPossible__seed4__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | ChargeAsFastAsPossible | 4 | 2022-03-05 | weekend | -0.00031849 | 2 | 96 | 2 | 1 | 0.94978 | 1 | 27 | 0.00031849 | 0.94978 | 1 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__RoundRobin__seed4__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | RoundRobin | 4 | 2022-03-05 | weekend | -0.0012735 | 3 | 96 | 3 | 1 | 0.94934 | 1 | 27 | 0.0012735 | 0.94934 | 1 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__ChargeAsFastAsPossible__seed5__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | ChargeAsFastAsPossible | 5 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95017 | 1 | 27 | 0 | 0.95017 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__RoundRobin__seed5__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | RoundRobin | 5 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95083 | 1 | 27 | 0 | 0.95083 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__ChargeAsFastAsPossible__seed5__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | ChargeAsFastAsPossible | 5 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96015 | 1.0021 | 27 | 0 | 0.96015 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__RoundRobin__seed5__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | RoundRobin | 5 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95994 | 1.0018 | 27 | 0 | 0.95994 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__ChargeAsFastAsPossible__seed6__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | ChargeAsFastAsPossible | 6 | 2022-01-17 | weekday | -0.073339 | 37 | 96 | 37 | 10 | 0.94496 | 1 | 27 | 0.073339 | 0.94496 | 10 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__RoundRobin__seed6__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | RoundRobin | 6 | 2022-01-17 | weekday | -0.076596 | 34 | 96 | 34 | 9 | 0.94521 | 1 | 27 | 0.076596 | 0.94521 | 9 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__ChargeAsFastAsPossible__seed6__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | ChargeAsFastAsPossible | 6 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95313 | 1 | 27 | 0 | 0.95313 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__RoundRobin__seed6__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | RoundRobin | 6 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95263 | 1 | 27 | 0 | 0.95263 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__ChargeAsFastAsPossible__seed7__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | ChargeAsFastAsPossible | 7 | 2022-01-17 | weekday | -0.0052529 | 3 | 96 | 3 | 1 | 0.94788 | 1 | 27 | 0.0052529 | 0.94788 | 1 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__RoundRobin__seed7__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | RoundRobin | 7 | 2022-01-17 | weekday | -0.00024295 | 2 | 96 | 2 | 1 | 0.94978 | 1 | 27 | 0.00024295 | 0.94978 | 1 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__ChargeAsFastAsPossible__seed7__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | ChargeAsFastAsPossible | 7 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96595 | 1.0044 | 27 | 0 | 0.96595 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__RoundRobin__seed7__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | RoundRobin | 7 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96532 | 1.0044 | 27 | 0 | 0.96532 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__ChargeAsFastAsPossible__seed8__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | ChargeAsFastAsPossible | 8 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95005 | 1 | 27 | 0 | 0.95005 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__RoundRobin__seed8__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | RoundRobin | 8 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95219 | 1 | 27 | 0 | 0.95219 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__ChargeAsFastAsPossible__seed8__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | ChargeAsFastAsPossible | 8 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95705 | 1 | 27 | 0 | 0.95705 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__RoundRobin__seed8__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | RoundRobin | 8 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95621 | 1 | 27 | 0 | 0.95621 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__ChargeAsFastAsPossible__seed9__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | ChargeAsFastAsPossible | 9 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.9567 | 1 | 27 | 0 | 0.9567 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__RoundRobin__seed9__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | RoundRobin | 9 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95676 | 1 | 27 | 0 | 0.95676 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__ChargeAsFastAsPossible__seed9__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | ChargeAsFastAsPossible | 9 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96324 | 1.0036 | 27 | 0 | 0.96324 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.8__RoundRobin__seed9__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.8 | probe_lm0.8 | RoundRobin | 9 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96324 | 1.0031 | 27 | 0 | 0.96324 | 0 | 0.8
station_v0_bogota_grid_probe_sp30_lm0.9__ChargeAsFastAsPossible__seed0__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | ChargeAsFastAsPossible | 0 | 2022-01-17 | weekday | -0.0010224 | 4 | 96 | 4 | 2 | 0.94964 | 1 | 27 | 0.0010224 | 0.94964 | 2 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__RoundRobin__seed0__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | RoundRobin | 0 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95109 | 1 | 27 | 0 | 0.95109 | 0 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__ChargeAsFastAsPossible__seed0__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | ChargeAsFastAsPossible | 0 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95911 | 1.0032 | 27 | 0 | 0.95911 | 0 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__RoundRobin__seed0__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | RoundRobin | 0 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95785 | 1.003 | 27 | 0 | 0.95785 | 0 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__ChargeAsFastAsPossible__seed1__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | ChargeAsFastAsPossible | 1 | 2022-01-17 | weekday | -0.35977 | 80 | 96 | 80 | 17 | 0.93788 | 1 | 27 | 0.35977 | 0.93788 | 17 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__RoundRobin__seed1__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | RoundRobin | 1 | 2022-01-17 | weekday | -0.36225 | 79 | 96 | 79 | 17 | 0.93862 | 1 | 27 | 0.36225 | 0.93862 | 17 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__ChargeAsFastAsPossible__seed1__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | ChargeAsFastAsPossible | 1 | 2022-03-05 | weekend | -0.17358 | 57 | 96 | 57 | 13 | 0.94383 | 1 | 27 | 0.17358 | 0.94383 | 13 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__RoundRobin__seed1__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | RoundRobin | 1 | 2022-03-05 | weekend | -0.18526 | 54 | 96 | 54 | 12 | 0.94383 | 1 | 27 | 0.18526 | 0.94383 | 12 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__ChargeAsFastAsPossible__seed2__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | ChargeAsFastAsPossible | 2 | 2022-01-17 | weekday | -0.033329 | 21 | 96 | 21 | 6 | 0.94643 | 1 | 27 | 0.033329 | 0.94643 | 6 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__RoundRobin__seed2__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | RoundRobin | 2 | 2022-01-17 | weekday | -0.026552 | 19 | 96 | 19 | 5 | 0.94735 | 1 | 27 | 0.026552 | 0.94735 | 5 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__ChargeAsFastAsPossible__seed2__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | ChargeAsFastAsPossible | 2 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95862 | 1.0072 | 27 | 0 | 0.95862 | 0 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__RoundRobin__seed2__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | RoundRobin | 2 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.9592 | 1.007 | 27 | 0 | 0.9592 | 0 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__ChargeAsFastAsPossible__seed3__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | ChargeAsFastAsPossible | 3 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95499 | 1 | 27 | 0 | 0.95499 | 0 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__RoundRobin__seed3__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | RoundRobin | 3 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95499 | 1 | 27 | 0 | 0.95499 | 0 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__ChargeAsFastAsPossible__seed3__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | ChargeAsFastAsPossible | 3 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95082 | 1 | 27 | 0 | 0.95082 | 0 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__RoundRobin__seed3__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | RoundRobin | 3 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95055 | 1 | 27 | 0 | 0.95055 | 0 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__ChargeAsFastAsPossible__seed4__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | ChargeAsFastAsPossible | 4 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.9548 | 1 | 27 | 0 | 0.9548 | 0 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__RoundRobin__seed4__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | RoundRobin | 4 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.9554 | 1 | 27 | 0 | 0.9554 | 0 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__ChargeAsFastAsPossible__seed4__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | ChargeAsFastAsPossible | 4 | 2022-03-05 | weekend | -0.23215 | 66 | 96 | 66 | 15 | 0.9428 | 1 | 27 | 0.23215 | 0.9428 | 15 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__RoundRobin__seed4__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | RoundRobin | 4 | 2022-03-05 | weekend | -0.24039 | 66 | 96 | 66 | 15 | 0.94236 | 1 | 27 | 0.24039 | 0.94236 | 15 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__ChargeAsFastAsPossible__seed5__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | ChargeAsFastAsPossible | 5 | 2022-01-17 | weekday | -0.1427 | 57 | 96 | 57 | 15 | 0.94374 | 1 | 27 | 0.1427 | 0.94374 | 15 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__RoundRobin__seed5__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | RoundRobin | 5 | 2022-01-17 | weekday | -0.13344 | 57 | 96 | 57 | 15 | 0.9444 | 1 | 27 | 0.13344 | 0.9444 | 15 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__ChargeAsFastAsPossible__seed5__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | ChargeAsFastAsPossible | 5 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95489 | 1 | 27 | 0 | 0.95489 | 0 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__RoundRobin__seed5__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | RoundRobin | 5 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95467 | 1 | 27 | 0 | 0.95467 | 0 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__ChargeAsFastAsPossible__seed6__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | ChargeAsFastAsPossible | 6 | 2022-01-17 | weekday | -0.53655 | 99 | 96 | 99 | 19 | 0.93776 | 1 | 27 | 0.53655 | 0.93776 | 19 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__RoundRobin__seed6__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | RoundRobin | 6 | 2022-01-17 | weekday | -0.53472 | 99 | 96 | 99 | 19 | 0.93798 | 1 | 27 | 0.53472 | 0.93798 | 19 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__ChargeAsFastAsPossible__seed6__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | ChargeAsFastAsPossible | 6 | 2022-03-05 | weekend | -0.072301 | 45 | 96 | 45 | 13 | 0.94684 | 1 | 27 | 0.072301 | 0.94684 | 13 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__RoundRobin__seed6__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | RoundRobin | 6 | 2022-03-05 | weekend | -0.076878 | 44 | 96 | 44 | 12 | 0.94634 | 1 | 27 | 0.076878 | 0.94634 | 12 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__ChargeAsFastAsPossible__seed7__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | ChargeAsFastAsPossible | 7 | 2022-01-17 | weekday | -0.17156 | 46 | 96 | 46 | 10 | 0.9414 | 1 | 27 | 0.17156 | 0.9414 | 10 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__RoundRobin__seed7__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | RoundRobin | 7 | 2022-01-17 | weekday | -0.16725 | 51 | 96 | 51 | 12 | 0.94326 | 1 | 27 | 0.16725 | 0.94326 | 12 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__ChargeAsFastAsPossible__seed7__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | ChargeAsFastAsPossible | 7 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96149 | 1.0005 | 27 | 0 | 0.96149 | 0 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__RoundRobin__seed7__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | RoundRobin | 7 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.96082 | 1.0005 | 27 | 0 | 0.96082 | 0 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__ChargeAsFastAsPossible__seed8__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | ChargeAsFastAsPossible | 8 | 2022-01-17 | weekday | -0.069984 | 32 | 96 | 32 | 10 | 0.94384 | 1 | 27 | 0.069984 | 0.94384 | 10 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__RoundRobin__seed8__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | RoundRobin | 8 | 2022-01-17 | weekday | -0.050515 | 28 | 96 | 28 | 8 | 0.94589 | 1 | 27 | 0.050515 | 0.94589 | 8 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__ChargeAsFastAsPossible__seed8__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | ChargeAsFastAsPossible | 8 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95123 | 1 | 27 | 0 | 0.95123 | 0 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__RoundRobin__seed8__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | RoundRobin | 8 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95049 | 1 | 27 | 0 | 0.95049 | 0 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__ChargeAsFastAsPossible__seed9__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | ChargeAsFastAsPossible | 9 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95099 | 1 | 27 | 0 | 0.95099 | 0 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__RoundRobin__seed9__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | RoundRobin | 9 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95099 | 1 | 27 | 0 | 0.95099 | 0 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__ChargeAsFastAsPossible__seed9__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | ChargeAsFastAsPossible | 9 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95835 | 1 | 27 | 0 | 0.95835 | 0 | 0.9
station_v0_bogota_grid_probe_sp30_lm0.9__RoundRobin__seed9__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm0.9 | probe_lm0.9 | RoundRobin | 9 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95835 | 1 | 27 | 0 | 0.95835 | 0 | 0.9
station_v0_bogota_grid_probe_sp30_lm1.0__ChargeAsFastAsPossible__seed0__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | ChargeAsFastAsPossible | 0 | 2022-01-17 | weekday | -0.10353 | 38 | 96 | 38 | 9 | 0.94399 | 1 | 27 | 0.10353 | 0.94399 | 9 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__RoundRobin__seed0__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | RoundRobin | 0 | 2022-01-17 | weekday | -0.086911 | 39 | 96 | 39 | 10 | 0.94542 | 1 | 27 | 0.086911 | 0.94542 | 10 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__ChargeAsFastAsPossible__seed0__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | ChargeAsFastAsPossible | 0 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95425 | 1 | 27 | 0 | 0.95425 | 0 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__RoundRobin__seed0__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | RoundRobin | 0 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95304 | 1 | 27 | 0 | 0.95304 | 0 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__ChargeAsFastAsPossible__seed1__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | ChargeAsFastAsPossible | 1 | 2022-01-17 | weekday | -1.0464 | 151 | 96 | 151 | 29 | 0.93067 | 1 | 27 | 1.0464 | 0.93067 | 29 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__RoundRobin__seed1__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | RoundRobin | 1 | 2022-01-17 | weekday | -1.0585 | 152 | 96 | 152 | 29 | 0.93142 | 1 | 27 | 1.0585 | 0.93142 | 29 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__ChargeAsFastAsPossible__seed1__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | ChargeAsFastAsPossible | 1 | 2022-03-05 | weekend | -0.72182 | 118 | 96 | 118 | 21 | 0.9371 | 1 | 27 | 0.72182 | 0.9371 | 21 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__RoundRobin__seed1__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | RoundRobin | 1 | 2022-03-05 | weekend | -0.72627 | 116 | 96 | 116 | 21 | 0.93707 | 1 | 27 | 0.72627 | 0.93707 | 21 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__ChargeAsFastAsPossible__seed2__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | ChargeAsFastAsPossible | 2 | 2022-01-17 | weekday | -0.23387 | 52 | 96 | 52 | 10 | 0.94026 | 1 | 27 | 0.23387 | 0.94026 | 10 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__RoundRobin__seed2__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | RoundRobin | 2 | 2022-01-17 | weekday | -0.22054 | 50 | 96 | 50 | 10 | 0.94119 | 1 | 27 | 0.22054 | 0.94119 | 10 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__ChargeAsFastAsPossible__seed2__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | ChargeAsFastAsPossible | 2 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95391 | 1.0039 | 27 | 0 | 0.95391 | 0 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__RoundRobin__seed2__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | RoundRobin | 2 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95457 | 1.0037 | 27 | 0 | 0.95457 | 0 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__ChargeAsFastAsPossible__seed3__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | ChargeAsFastAsPossible | 3 | 2022-01-17 | weekday | -0.00054224 | 2 | 96 | 2 | 1 | 0.94969 | 1 | 27 | 0.00054224 | 0.94969 | 1 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__RoundRobin__seed3__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | RoundRobin | 3 | 2022-01-17 | weekday | -0.00054224 | 2 | 96 | 2 | 1 | 0.94969 | 1 | 27 | 0.00054224 | 0.94969 | 1 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__ChargeAsFastAsPossible__seed3__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | ChargeAsFastAsPossible | 3 | 2022-03-05 | weekend | -0.17808 | 67 | 96 | 67 | 17 | 0.94501 | 1 | 27 | 0.17808 | 0.94501 | 17 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__RoundRobin__seed3__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | RoundRobin | 3 | 2022-03-05 | weekend | -0.18358 | 65 | 96 | 65 | 16 | 0.94466 | 1 | 27 | 0.18358 | 0.94466 | 16 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__ChargeAsFastAsPossible__seed4__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | ChargeAsFastAsPossible | 4 | 2022-01-17 | weekday | -0.00045868 | 2 | 96 | 2 | 1 | 0.94967 | 1 | 27 | 0.00045868 | 0.94967 | 1 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__RoundRobin__seed4__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | RoundRobin | 4 | 2022-01-17 | weekday | 0 | 0 | 96 | 0 | 0 | 0.95027 | 1 | 27 | 0 | 0.95027 | 0 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__ChargeAsFastAsPossible__seed4__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | ChargeAsFastAsPossible | 4 | 2022-03-05 | weekend | -0.84837 | 127 | 96 | 127 | 22 | 0.93573 | 1 | 27 | 0.84837 | 0.93573 | 22 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__RoundRobin__seed4__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | RoundRobin | 4 | 2022-03-05 | weekend | -0.85224 | 125 | 96 | 125 | 22 | 0.93528 | 1 | 27 | 0.85224 | 0.93528 | 22 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__ChargeAsFastAsPossible__seed5__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | ChargeAsFastAsPossible | 5 | 2022-01-17 | weekday | -0.76007 | 158 | 96 | 158 | 34 | 0.93721 | 1 | 27 | 0.76007 | 0.93721 | 34 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__RoundRobin__seed5__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | RoundRobin | 5 | 2022-01-17 | weekday | -0.74152 | 157 | 96 | 157 | 33 | 0.93788 | 1 | 27 | 0.74152 | 0.93788 | 33 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__ChargeAsFastAsPossible__seed5__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | ChargeAsFastAsPossible | 5 | 2022-03-05 | weekend | -0.00072129 | 2 | 96 | 2 | 1 | 0.94958 | 1 | 27 | 0.00072129 | 0.94958 | 1 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__RoundRobin__seed5__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | RoundRobin | 5 | 2022-03-05 | weekend | -0.0014124 | 4 | 96 | 4 | 2 | 0.94936 | 1 | 27 | 0.0014124 | 0.94936 | 2 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__ChargeAsFastAsPossible__seed6__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | ChargeAsFastAsPossible | 6 | 2022-01-17 | weekday | -1.3932 | 181 | 96 | 181 | 32 | 0.93047 | 1 | 27 | 1.3932 | 0.93047 | 32 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__RoundRobin__seed6__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | RoundRobin | 6 | 2022-01-17 | weekday | -1.3834 | 175 | 96 | 175 | 30 | 0.93065 | 1 | 27 | 1.3834 | 0.93065 | 30 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__ChargeAsFastAsPossible__seed6__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | ChargeAsFastAsPossible | 6 | 2022-03-05 | weekend | -0.54699 | 127 | 96 | 127 | 27 | 0.9405 | 1 | 27 | 0.54699 | 0.9405 | 27 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__RoundRobin__seed6__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | RoundRobin | 6 | 2022-03-05 | weekend | -0.55264 | 129 | 96 | 129 | 28 | 0.93999 | 1 | 27 | 0.55264 | 0.93999 | 28 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__ChargeAsFastAsPossible__seed7__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | ChargeAsFastAsPossible | 7 | 2022-01-17 | weekday | -0.71495 | 143 | 96 | 143 | 29 | 0.93483 | 1 | 27 | 0.71495 | 0.93483 | 29 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__RoundRobin__seed7__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | RoundRobin | 7 | 2022-01-17 | weekday | -0.68474 | 137 | 96 | 137 | 29 | 0.93666 | 1 | 27 | 0.68474 | 0.93666 | 29 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__ChargeAsFastAsPossible__seed7__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | ChargeAsFastAsPossible | 7 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95694 | 1 | 27 | 0 | 0.95694 | 0 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__RoundRobin__seed7__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | RoundRobin | 7 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95627 | 1 | 27 | 0 | 0.95627 | 0 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__ChargeAsFastAsPossible__seed8__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | ChargeAsFastAsPossible | 8 | 2022-01-17 | weekday | -0.46056 | 116 | 96 | 116 | 26 | 0.93755 | 1 | 27 | 0.46056 | 0.93755 | 26 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__RoundRobin__seed8__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | RoundRobin | 8 | 2022-01-17 | weekday | -0.42603 | 110 | 96 | 110 | 25 | 0.93953 | 1 | 27 | 0.42603 | 0.93953 | 25 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__ChargeAsFastAsPossible__seed8__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | ChargeAsFastAsPossible | 8 | 2022-03-05 | weekend | -0.10327 | 41 | 96 | 41 | 10 | 0.94534 | 1 | 27 | 0.10327 | 0.94534 | 10 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__RoundRobin__seed8__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | RoundRobin | 8 | 2022-03-05 | weekend | -0.10893 | 39 | 96 | 39 | 10 | 0.94468 | 1 | 27 | 0.10893 | 0.94468 | 10 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__ChargeAsFastAsPossible__seed9__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | ChargeAsFastAsPossible | 9 | 2022-01-17 | weekday | -0.10379 | 48 | 96 | 48 | 12 | 0.94517 | 1 | 27 | 0.10379 | 0.94517 | 12 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__RoundRobin__seed9__2022-01-17 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | RoundRobin | 9 | 2022-01-17 | weekday | -0.091199 | 47 | 96 | 47 | 13 | 0.94517 | 1 | 27 | 0.091199 | 0.94517 | 13 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__ChargeAsFastAsPossible__seed9__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | ChargeAsFastAsPossible | 9 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95341 | 1 | 27 | 0 | 0.95341 | 0 | 1
station_v0_bogota_grid_probe_sp30_lm1.0__RoundRobin__seed9__2022-03-05 | station_v0_bogota_grid_probe_sp30_lm1.0 | probe_lm1.0 | RoundRobin | 9 | 2022-03-05 | weekend | 0 | 0 | 96 | 0 | 0 | 0.95341 | 1 | 27 | 0 | 0.95341 | 0 | 1