## c2_options
Demand Level (multiple of the Week 1 spawn multiplier 30; 0.75 means spawn 22 = 0.733x) | Demand Level, Display Label | Algorithm | Charging Ports (count) | Station Demand Treatment (as run, or spawn scaled by 8/ports) | Transformer Limit (kW) | Transformer Rating (kVA at power factor 0.894) | Runs (count) | Average User Satisfaction of Served EVs (fraction, 0 to 1), Mean | Average User Satisfaction of Served EVs (fraction, 0 to 1), 95% CI, cluster bootstrap over 50 scenario seeds Lower Bound | Average User Satisfaction of Served EVs (fraction, 0 to 1), 95% CI, cluster bootstrap over 50 scenario seeds Upper Bound | Demand Not Served, Lower Bound (fraction of requested energy, 0 to 1), Mean | Demand Not Served, Lower Bound (fraction of requested energy, 0 to 1), 95% CI, cluster bootstrap over 50 scenario seeds Lower Bound | Demand Not Served, Lower Bound (fraction of requested energy, 0 to 1), 95% CI, cluster bootstrap over 50 scenario seeds Upper Bound | Demand Not Served, Upper Bound (fraction of requested energy, 0 to 1), Mean | Demand Not Served, Upper Bound (fraction of requested energy, 0 to 1), 95% CI, cluster bootstrap over 50 scenario seeds Lower Bound | Demand Not Served, Upper Bound (fraction of requested energy, 0 to 1), 95% CI, cluster bootstrap over 50 scenario seeds Upper Bound | Transformer Overload (kWh per simulated day), Mean | Transformer Overload (kWh per simulated day), 95% CI, cluster bootstrap over 50 scenario seeds Lower Bound | Transformer Overload (kWh per simulated day), 95% CI, cluster bootstrap over 50 scenario seeds Upper Bound | Energy Delivered (kWh per simulated day), Mean | Energy Delivered (kWh per simulated day), 95% CI, cluster bootstrap over 50 scenario seeds Lower Bound | Energy Delivered (kWh per simulated day), 95% CI, cluster bootstrap over 50 scenario seeds Upper Bound | Gross Margin at Bogota Prices (COP per simulated day), Mean | Gross Margin at Bogota Prices (COP per simulated day), 95% CI, cluster bootstrap over 50 scenario seeds Lower Bound | Gross Margin at Bogota Prices (COP per simulated day), 95% CI, cluster bootstrap over 50 scenario seeds Upper Bound | EVs Served (count per simulated day), Mean | EVs Served (count per simulated day), 95% CI, cluster bootstrap over 50 scenario seeds Lower Bound | EVs Served (count per simulated day), 95% CI, cluster bootstrap over 50 scenario seeds Upper Bound | 95th-Percentile Per-Seed Peak Station Power (kW) | 95th-Percentile Peak, 95% CI, cluster bootstrap over 50 scenario seeds Lower Bound (kW) | 95th-Percentile Peak, 95% CI, cluster bootstrap over 50 scenario seeds Upper Bound (kW) | Scenario Seeds with Any Overload (count of 50) | Independent Scenario Seeds in the Bootstrap (n_clusters) | Satisfaction Criterion Broken (CI lower bound < 0.90) | Demand-Not-Served Criterion Broken (CI upper bound > 0.15) | Peak Criterion Broken (CI upper bound of P95 peak > 100 kW) | Change in Demand Not Served vs. 8 Ports / 100 kW (fraction points, 0 to 1) | Change in Demand Not Served vs. 8 Ports / 100 kW (fraction points, 0 to 1), 95% CI, cluster bootstrap over 50 scenario seeds Lower Bound | Change in Demand Not Served vs. 8 Ports / 100 kW (fraction points, 0 to 1), 95% CI, cluster bootstrap over 50 scenario seeds Upper Bound | Change in Served-EV Satisfaction vs. 8 Ports / 100 kW (fraction points) | Change in Served-EV Satisfaction vs. 8 Ports / 100 kW (fraction points), 95% CI, cluster bootstrap over 50 scenario seeds Lower Bound | Change in Served-EV Satisfaction vs. 8 Ports / 100 kW (fraction points), 95% CI, cluster bootstrap over 50 scenario seeds Upper Bound | Change in Transformer Overload vs. 8 Ports / 100 kW (kWh per day) | Change in Transformer Overload vs. 8 Ports / 100 kW (kWh per day), 95% CI, cluster bootstrap over 50 scenario seeds Lower Bound | Change in Transformer Overload vs. 8 Ports / 100 kW (kWh per day), 95% CI, cluster bootstrap over 50 scenario seeds Upper Bound | Change in Gross Margin vs. 8 Ports / 100 kW (COP per day) | Change in Gross Margin vs. 8 Ports / 100 kW (COP per day), 95% CI, cluster bootstrap over 50 scenario seeds Lower Bound | Change in Gross Margin vs. 8 Ports / 100 kW (COP per day), 95% CI, cluster bootstrap over 50 scenario seeds Upper Bound
0.75 | 0.733x (spawn 22) | ChargeAsFastAsPossible | 8 | as run (per-port arrivals) | 100 | 111.9 | 100 | 100% | 100% | 100% | 15.4% | 12.14% | 18.74% | 64.99% | 63.27% | 66.68% | 5.7422 | 3.1823 | 8.4888 | 178.1849 | 168.3871 | 188.3452 | 104102.4537 | 98378.2124 | 110038.5415 | 11.89 | 11.5 | 12.28 | 149.1978 | 134.9487 | 163.6144 | 18 | 50 | FALSE | TRUE | TRUE | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0
0.75 | 0.733x (spawn 22) | ChargeAsFastAsPossible | 8 | as run (per-port arrivals) | 100.6 | 112.5 | 100 | 100% | 100% | 100% | 15.4% | 12.14% | 18.74% | 64.99% | 63.27% | 66.68% | 5.6109 | 3.0921 | 8.3131 | 178.1849 | 168.3871 | 188.3452 | 104102.4537 | 98378.2124 | 110038.5415 | 11.89 | 11.5 | 12.28 | 149.1978 | 134.9487 | 163.6144 | 18 | 50 | FALSE | TRUE | TRUE | 0% | 0% | 0% | 0% | 0% | 0% | -0.13126 | -0.18526 | -0.078 | 0 | 0 | 0
0.75 | 0.733x (spawn 22) | ChargeAsFastAsPossible | 8 | as run (per-port arrivals) | 134.2 | 150.1 | 100 | 100% | 100% | 100% | 15.4% | 12.14% | 18.74% | 64.99% | 63.27% | 66.68% | 1.1966 | 0.38848 | 2.2405 | 178.1849 | 168.3871 | 188.3452 | 104102.4537 | 98378.2124 | 110038.5415 | 11.89 | 11.5 | 12.28 | 149.1978 | 134.9487 | 163.6144 | 8 | 50 | FALSE | TRUE | TRUE | 0% | 0% | 0% | 0% | 0% | 0% | -4.5456 | -6.5338 | -2.6425 | 0 | 0 | 0
0.75 | 0.733x (spawn 22) | ChargeAsFastAsPossible | 10 | as run (per-port arrivals) | 100 | 111.9 | 100 | 100% | 100% | 100% | 10.52% | 7.777% | 13.47% | 64.93% | 63.72% | 66.14% | 16.3137 | 10.8541 | 22.6463 | 219.5074 | 211.5009 | 227.4631 | 128244.6777 | 123566.9488 | 132892.6996 | 14.72 | 14.34 | 15.1 | 166.198 | 149.6451 | 205.8094 | 35 | 50 | FALSE | FALSE | TRUE | -4.877% | -7.564% | -2.237% | 0% | 0% | 0% | 10.5715 | 5.4872 | 16.1551 | 24142.224 | 17644.2385 | 30806.3016
0.75 | 0.733x (spawn 22) | ChargeAsFastAsPossible | 10 | constant (spawn x 8/ports) | 100 | 111.9 | 100 | 100% | 100% | 100% | 4.463% | 2.781% | 6.469% | 60.01% | 58.59% | 61.44% | 10.5693 | 6.3704 | 15.9464 | 198.7172 | 190.7582 | 206.6445 | 116098.2209 | 111448.2604 | 120729.6473 | 13.38 | 12.98 | 13.78 | 149.6492 | 143.2501 | 160.895 | 25 | 50 | FALSE | FALSE | TRUE | -10.94% | -14.03% | -7.974% | 0% | 0% | 0% | 4.8272 | 0.35999 | 9.8506 | 11995.7671 | 5499.9683 | 18444.4045
0.75 | 0.733x (spawn 22) | ChargeAsFastAsPossible | 10 | as run (per-port arrivals) | 100.6 | 112.5 | 100 | 100% | 100% | 100% | 10.52% | 7.777% | 13.47% | 64.93% | 63.72% | 66.14% | 15.9588 | 10.5822 | 22.2285 | 219.5074 | 211.5009 | 227.4631 | 128244.6777 | 123566.9488 | 132892.6996 | 14.72 | 14.34 | 15.1 | 166.198 | 149.6451 | 205.8094 | 35 | 50 | FALSE | FALSE | TRUE | -4.877% | -7.564% | -2.237% | 0% | 0% | 0% | 10.2166 | 5.1992 | 15.7276 | 24142.224 | 17644.2385 | 30806.3016
0.75 | 0.733x (spawn 22) | ChargeAsFastAsPossible | 10 | as run (per-port arrivals) | 134.2 | 150.1 | 100 | 100% | 100% | 100% | 10.52% | 7.777% | 13.47% | 64.93% | 63.72% | 66.14% | 3.5919 | 1.4855 | 6.3026 | 219.5074 | 211.5009 | 227.4631 | 128244.6777 | 123566.9488 | 132892.6996 | 14.72 | 14.34 | 15.1 | 166.198 | 149.6451 | 205.8094 | 16 | 50 | FALSE | FALSE | TRUE | -4.877% | -7.564% | -2.237% | 0% | 0% | 0% | -2.1503 | -4.9472 | 0.5091 | 24142.224 | 17644.2385 | 30806.3016
0.75 | 0.733x (spawn 22) | ChargeAsFastAsPossible | 10 | constant (spawn x 8/ports) | 134.2 | 150.1 | 100 | 100% | 100% | 100% | 4.463% | 2.781% | 6.469% | 60.01% | 58.59% | 61.44% | 1.96 | 0.66783 | 3.9354 | 198.7172 | 190.7582 | 206.6445 | 116098.2209 | 111448.2604 | 120729.6473 | 13.38 | 12.98 | 13.78 | 149.6492 | 143.2501 | 160.895 | 12 | 50 | FALSE | FALSE | TRUE | -10.94% | -14.03% | -7.974% | 0% | 0% | 0% | -3.7822 | -6.3843 | -1.2734 | 11995.7671 | 5499.9683 | 18444.4045
0.75 | 0.733x (spawn 22) | ChargeAsFastAsPossible | 12 | as run (per-port arrivals) | 100 | 111.9 | 100 | 100% | 100% | 100% | 10.26% | 7.8% | 12.99% | 64.8% | 63.54% | 66.06% | 23.4014 | 17.4062 | 29.9268 | 259.7224 | 249.6269 | 269.4018 | 151739.8251 | 145841.6378 | 157394.8783 | 17.4 | 16.94 | 17.83 | 175.6708 | 149.8392 | 184.9035 | 39 | 50 | FALSE | FALSE | TRUE | -5.142% | -7.965% | -2.439% | 0% | 0% | 0% | 17.6592 | 12.348 | 23.4002 | 47637.3713 | 40120.2302 | 55181.1545
0.75 | 0.733x (spawn 22) | ChargeAsFastAsPossible | 12 | constant (spawn x 8/ports) | 100 | 111.9 | 100 | 100% | 100% | 100% | 1.606% | 0.6817% | 2.755% | 55.07% | 53.24% | 56.88% | 17.7621 | 11.4983 | 24.4399 | 216.9466 | 207.6325 | 226.554 | 126748.5813 | 121306.9157 | 132361.5935 | 14.69 | 14.25 | 15.12 | 184.0989 | 150.5715 | 191.8632 | 26 | 50 | FALSE | FALSE | TRUE | -13.8% | -16.99% | -10.76% | 0% | 0% | 0% | 12.0199 | 5.8574 | 18.8139 | 22646.1276 | 15021.4123 | 30240.9972
0.75 | 0.733x (spawn 22) | ChargeAsFastAsPossible | 12 | as run (per-port arrivals) | 100.6 | 112.5 | 100 | 100% | 100% | 100% | 10.26% | 7.8% | 12.99% | 64.8% | 63.54% | 66.06% | 22.8816 | 16.9852 | 29.3241 | 259.7224 | 249.6269 | 269.4018 | 151739.8251 | 145841.6378 | 157394.8783 | 17.4 | 16.94 | 17.83 | 175.6708 | 149.8392 | 184.9035 | 39 | 50 | FALSE | FALSE | TRUE | -5.142% | -7.965% | -2.439% | 0% | 0% | 0% | 17.1394 | 11.9046 | 22.8147 | 47637.3713 | 40120.2302 | 55181.1545
0.75 | 0.733x (spawn 22) | ChargeAsFastAsPossible | 12 | as run (per-port arrivals) | 134.2 | 150.1 | 100 | 100% | 100% | 100% | 10.26% | 7.8% | 12.99% | 64.8% | 63.54% | 66.06% | 4.5697 | 2.5566 | 6.9095 | 259.7224 | 249.6269 | 269.4018 | 151739.8251 | 145841.6378 | 157394.8783 | 17.4 | 16.94 | 17.83 | 175.6708 | 149.8392 | 184.9035 | 20 | 50 | FALSE | FALSE | TRUE | -5.142% | -7.965% | -2.439% | 0% | 0% | 0% | -1.1725 | -3.8751 | 1.842 | 47637.3713 | 40120.2302 | 55181.1545
0.75 | 0.733x (spawn 22) | ChargeAsFastAsPossible | 12 | constant (spawn x 8/ports) | 134.2 | 150.1 | 100 | 100% | 100% | 100% | 1.606% | 0.6817% | 2.755% | 55.07% | 53.24% | 56.88% | 4.8578 | 2.3207 | 7.8586 | 216.9466 | 207.6325 | 226.554 | 126748.5813 | 121306.9157 | 132361.5935 | 14.69 | 14.25 | 15.12 | 184.0989 | 150.5715 | 191.8632 | 17 | 50 | FALSE | FALSE | TRUE | -13.8% | -16.99% | -10.76% | 0% | 0% | 0% | -0.88438 | -4.5596 | 3.0388 | 22646.1276 | 15021.4123 | 30240.9972
0.75 | 0.733x (spawn 22) | RoundRobin | 8 | as run (per-port arrivals) | 100 | 111.9 | 100 | 99.92% | 99.86% | 99.97% | 15.8% | 12.56% | 19.13% | 65.16% | 63.43% | 66.85% | 0 | 0 | 0 | 177.3662 | 167.5763 | 187.572 | 103624.1462 | 97904.5151 | 109586.781 | 11.89 | 11.5 | 12.28 | 62.7453 | 56.5534 | 67.8573 | 0 | 50 | FALSE | TRUE | FALSE | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0
0.75 | 0.733x (spawn 22) | RoundRobin | 8 | as run (per-port arrivals) | 100.6 | 112.5 | 100 | 99.92% | 99.86% | 99.97% | 15.8% | 12.56% | 19.13% | 65.16% | 63.43% | 66.85% | 0 | 0 | 0 | 177.3662 | 167.5763 | 187.572 | 103624.1462 | 97904.5151 | 109586.781 | 11.89 | 11.5 | 12.28 | 62.7453 | 56.5534 | 67.8573 | 0 | 50 | FALSE | TRUE | FALSE | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0
0.75 | 0.733x (spawn 22) | RoundRobin | 8 | as run (per-port arrivals) | 134.2 | 150.1 | 100 | 99.92% | 99.86% | 99.97% | 15.8% | 12.56% | 19.13% | 65.16% | 63.43% | 66.85% | 0 | 0 | 0 | 177.3662 | 167.5763 | 187.572 | 103624.1462 | 97904.5151 | 109586.781 | 11.89 | 11.5 | 12.28 | 62.7453 | 56.5534 | 67.8573 | 0 | 50 | FALSE | TRUE | FALSE | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0
0.75 | 0.733x (spawn 22) | RoundRobin | 10 | as run (per-port arrivals) | 100 | 111.9 | 100 | 99.94% | 99.88% | 99.98% | 10.78% | 7.997% | 13.77% | 65.03% | 63.82% | 66.24% | 0 | 0 | 0 | 218.8303 | 210.9245 | 226.6826 | 127849.0676 | 123230.2179 | 132436.7241 | 14.72 | 14.34 | 15.1 | 71.6705 | 65.7349 | 76.9755 | 0 | 50 | FALSE | FALSE | FALSE | -5.026% | -7.703% | -2.373% | 0.01419% | -0.06282% | 0.09158% | 0 | 0 | 0 | 24224.9214 | 17731.7545 | 30789.1793
0.75 | 0.733x (spawn 22) | RoundRobin | 10 | constant (spawn x 8/ports) | 100 | 111.9 | 100 | 99.95% | 99.9% | 99.98% | 4.718% | 3.039% | 6.737% | 60.12% | 58.71% | 61.55% | 0 | 0 | 0 | 198.1773 | 190.2078 | 206.1037 | 115782.8012 | 111126.7258 | 120413.7263 | 13.38 | 12.98 | 13.78 | 63.1971 | 60.2996 | 71.7764 | 0 | 50 | FALSE | FALSE | FALSE | -11.09% | -14.16% | -8.148% | 0.02616% | -0.04223% | 0.09988% | 0 | 0 | 0 | 12158.655 | 5638.2539 | 18599.868
0.75 | 0.733x (spawn 22) | RoundRobin | 10 | as run (per-port arrivals) | 100.6 | 112.5 | 100 | 99.94% | 99.88% | 99.98% | 10.78% | 7.997% | 13.77% | 65.03% | 63.82% | 66.24% | 0 | 0 | 0 | 218.8303 | 210.9245 | 226.6826 | 127849.0676 | 123230.2179 | 132436.7241 | 14.72 | 14.34 | 15.1 | 71.6705 | 65.7349 | 76.9755 | 0 | 50 | FALSE | FALSE | FALSE | -5.026% | -7.703% | -2.373% | 0.01419% | -0.06282% | 0.09158% | 0 | 0 | 0 | 24224.9214 | 17731.7545 | 30789.1793
0.75 | 0.733x (spawn 22) | RoundRobin | 10 | as run (per-port arrivals) | 134.2 | 150.1 | 100 | 99.94% | 99.88% | 99.98% | 10.78% | 7.997% | 13.77% | 65.03% | 63.82% | 66.24% | 0 | 0 | 0 | 218.8303 | 210.9245 | 226.6826 | 127849.0676 | 123230.2179 | 132436.7241 | 14.72 | 14.34 | 15.1 | 71.6705 | 65.7349 | 76.9755 | 0 | 50 | FALSE | FALSE | FALSE | -5.026% | -7.703% | -2.373% | 0.01419% | -0.06282% | 0.09158% | 0 | 0 | 0 | 24224.9214 | 17731.7545 | 30789.1793
0.75 | 0.733x (spawn 22) | RoundRobin | 10 | constant (spawn x 8/ports) | 134.2 | 150.1 | 100 | 99.95% | 99.9% | 99.98% | 4.718% | 3.039% | 6.737% | 60.12% | 58.71% | 61.55% | 0 | 0 | 0 | 198.1773 | 190.2078 | 206.1037 | 115782.8012 | 111126.7258 | 120413.7263 | 13.38 | 12.98 | 13.78 | 63.1971 | 60.2996 | 71.7764 | 0 | 50 | FALSE | FALSE | FALSE | -11.09% | -14.16% | -8.148% | 0.02616% | -0.04223% | 0.09988% | 0 | 0 | 0 | 12158.655 | 5638.2539 | 18599.868
0.75 | 0.733x (spawn 22) | RoundRobin | 12 | as run (per-port arrivals) | 100 | 111.9 | 100 | 99.84% | 99.77% | 99.91% | 11.05% | 8.626% | 13.71% | 65.11% | 63.87% | 66.35% | 0 | 0 | 0 | 257.6697 | 247.3453 | 267.5389 | 150540.5858 | 144508.6606 | 156306.5143 | 17.4 | 16.94 | 17.83 | 76.9745 | 72.7902 | 82.1646 | 0 | 50 | FALSE | FALSE | FALSE | -4.754% | -7.72% | -1.897% | -0.07759% | -0.1706% | 0.01526% | 0 | 0 | 0 | 46916.4397 | 39307.5618 | 54620.5606
0.75 | 0.733x (spawn 22) | RoundRobin | 12 | constant (spawn x 8/ports) | 100 | 111.9 | 100 | 99.91% | 99.84% | 99.96% | 2.181% | 1.194% | 3.407% | 55.34% | 53.51% | 57.14% | 0 | 0 | 0 | 215.7293 | 206.2566 | 225.471 | 126037.3584 | 120503.0382 | 131728.8301 | 14.69 | 14.25 | 15.12 | 74.2076 | 66.4437 | 78.1424 | 0 | 50 | FALSE | FALSE | FALSE | -13.62% | -16.89% | -10.46% | -0.01166% | -0.09617% | 0.07155% | 0 | 0 | 0 | 22413.2122 | 14667.1809 | 30096.5981
0.75 | 0.733x (spawn 22) | RoundRobin | 12 | as run (per-port arrivals) | 100.6 | 112.5 | 100 | 99.84% | 99.77% | 99.91% | 11.05% | 8.626% | 13.71% | 65.11% | 63.87% | 66.35% | 0 | 0 | 0 | 257.6697 | 247.3453 | 267.5389 | 150540.5858 | 144508.6606 | 156306.5143 | 17.4 | 16.94 | 17.83 | 76.9745 | 72.7902 | 82.1646 | 0 | 50 | FALSE | FALSE | FALSE | -4.754% | -7.72% | -1.897% | -0.07759% | -0.1706% | 0.01526% | 0 | 0 | 0 | 46916.4397 | 39307.5618 | 54620.5606
0.75 | 0.733x (spawn 22) | RoundRobin | 12 | as run (per-port arrivals) | 134.2 | 150.1 | 100 | 99.84% | 99.77% | 99.91% | 11.05% | 8.626% | 13.71% | 65.11% | 63.87% | 66.35% | 0 | 0 | 0 | 257.6697 | 247.3453 | 267.5389 | 150540.5858 | 144508.6606 | 156306.5143 | 17.4 | 16.94 | 17.83 | 76.9745 | 72.7902 | 82.1646 | 0 | 50 | FALSE | FALSE | FALSE | -4.754% | -7.72% | -1.897% | -0.07759% | -0.1706% | 0.01526% | 0 | 0 | 0 | 46916.4397 | 39307.5618 | 54620.5606
0.75 | 0.733x (spawn 22) | RoundRobin | 12 | constant (spawn x 8/ports) | 134.2 | 150.1 | 100 | 99.91% | 99.84% | 99.96% | 2.181% | 1.194% | 3.407% | 55.34% | 53.51% | 57.14% | 0 | 0 | 0 | 215.7293 | 206.2566 | 225.471 | 126037.3584 | 120503.0382 | 131728.8301 | 14.69 | 14.25 | 15.12 | 74.2076 | 66.4437 | 78.1424 | 0 | 50 | FALSE | FALSE | FALSE | -13.62% | -16.89% | -10.46% | -0.01166% | -0.09617% | 0.07155% | 0 | 0 | 0 | 22413.2122 | 14667.1809 | 30096.5981
1 | 1x | ChargeAsFastAsPossible | 8 | as run (per-port arrivals) | 100 | 111.9 | 100 | 100% | 100% | 100% | 34.29% | 30.45% | 38.08% | 71.8% | 70.59% | 72.97% | 14.2247 | 9.579 | 19.2754 | 202.1161 | 192.854 | 211.6814 | 118083.9925 | 112672.7355 | 123672.4021 | 13.44 | 13.07 | 13.8 | 172.6965 | 149.6492 | 211.2309 | 28 | 50 | FALSE | TRUE | TRUE | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0
1 | 1x | ChargeAsFastAsPossible | 8 | as run (per-port arrivals) | 100.6 | 112.5 | 100 | 100% | 100% | 100% | 34.29% | 30.45% | 38.08% | 71.8% | 70.59% | 72.97% | 13.9594 | 9.382 | 18.9418 | 202.1161 | 192.854 | 211.6814 | 118083.9925 | 112672.7355 | 123672.4021 | 13.44 | 13.07 | 13.8 | 172.6965 | 149.6492 | 211.2309 | 28 | 50 | FALSE | TRUE | TRUE | 0% | 0% | 0% | 0% | 0% | 0% | -0.26532 | -0.34332 | -0.18732 | 0 | 0 | 0
1 | 1x | ChargeAsFastAsPossible | 8 | as run (per-port arrivals) | 134.2 | 150.1 | 100 | 100% | 100% | 100% | 34.29% | 30.45% | 38.08% | 71.8% | 70.59% | 72.97% | 3.7752 | 1.663 | 6.4388 | 202.1161 | 192.854 | 211.6814 | 118083.9925 | 112672.7355 | 123672.4021 | 13.44 | 13.07 | 13.8 | 172.6965 | 149.6492 | 211.2309 | 14 | 50 | FALSE | TRUE | TRUE | 0% | 0% | 0% | 0% | 0% | 0% | -10.4495 | -13.6382 | -7.3832 | 0 | 0 | 0
1 | 1x | ChargeAsFastAsPossible | 10 | as run (per-port arrivals) | 100 | 111.9 | 100 | 100% | 100% | 100% | 28.51% | 25.35% | 31.73% | 71.48% | 70.45% | 72.51% | 25.9238 | 18.067 | 34.9599 | 250.2725 | 241.3257 | 259.3782 | 146218.823 | 140991.7919 | 151538.7442 | 16.59 | 16.22 | 16.96 | 193.4646 | 151.3724 | 199.3689 | 43 | 50 | FALSE | TRUE | TRUE | -5.783% | -8.671% | -2.757% | 0% | 0% | 0% | 11.699 | 5.5032 | 18.6848 | 28134.8305 | 20675.2363 | 35582.1463
1 | 1x | ChargeAsFastAsPossible | 10 | constant (spawn x 8/ports) | 100 | 111.9 | 100 | 100% | 100% | 100% | 14.67% | 11.81% | 17.75% | 66.95% | 65.77% | 68.11% | 16.4764 | 11.7466 | 21.8996 | 226.9661 | 219.5567 | 234.5783 | 132602.3407 | 128273.5029 | 137049.6606 | 15.23 | 14.89 | 15.58 | 149.6492 | 149.1342 | 181.4545 | 35 | 50 | FALSE | TRUE | TRUE | -19.62% | -23.5% | -15.59% | 0% | 0% | 0% | 2.2516 | -3.5331 | 8.0641 | 14518.3483 | 7651.567 | 21339.8705
1 | 1x | ChargeAsFastAsPossible | 10 | as run (per-port arrivals) | 100.6 | 112.5 | 100 | 100% | 100% | 100% | 28.51% | 25.35% | 31.73% | 71.48% | 70.45% | 72.51% | 25.4473 | 17.6651 | 34.358 | 250.2725 | 241.3257 | 259.3782 | 146218.823 | 140991.7919 | 151538.7442 | 16.59 | 16.22 | 16.96 | 193.4646 | 151.3724 | 199.3689 | 43 | 50 | FALSE | TRUE | TRUE | -5.783% | -8.671% | -2.757% | 0% | 0% | 0% | 11.2226 | 5.071 | 18.1326 | 28134.8305 | 20675.2363 | 35582.1463
1 | 1x | ChargeAsFastAsPossible | 10 | as run (per-port arrivals) | 134.2 | 150.1 | 100 | 100% | 100% | 100% | 28.51% | 25.35% | 31.73% | 71.48% | 70.45% | 72.51% | 6.8861 | 3.2389 | 11.3495 | 250.2725 | 241.3257 | 259.3782 | 146218.823 | 140991.7919 | 151538.7442 | 16.59 | 16.22 | 16.96 | 193.4646 | 151.3724 | 199.3689 | 23 | 50 | FALSE | TRUE | TRUE | -5.783% | -8.671% | -2.757% | 0% | 0% | 0% | -7.3386 | -11.6197 | -2.9694 | 28134.8305 | 20675.2363 | 35582.1463
1 | 1x | ChargeAsFastAsPossible | 10 | constant (spawn x 8/ports) | 134.2 | 150.1 | 100 | 100% | 100% | 100% | 14.67% | 11.81% | 17.75% | 66.95% | 65.77% | 68.11% | 2.9457 | 1.4242 | 4.9811 | 226.9661 | 219.5567 | 234.5783 | 132602.3407 | 128273.5029 | 137049.6606 | 15.23 | 14.89 | 15.58 | 149.6492 | 149.1342 | 181.4545 | 20 | 50 | FALSE | TRUE | TRUE | -19.62% | -23.5% | -15.59% | 0% | 0% | 0% | -11.2791 | -16.0247 | -6.989 | 14518.3483 | 7651.567 | 21339.8705
1 | 1x | ChargeAsFastAsPossible | 12 | as run (per-port arrivals) | 100 | 111.9 | 100 | 100% | 100% | 100% | 26.74% | 23.77% | 29.67% | 71.58% | 70.6% | 72.53% | 41.3596 | 32.4683 | 51.3212 | 299.7493 | 289.3905 | 310.022 | 175125.062 | 169073.0945 | 181126.8115 | 19.81 | 19.36 | 20.23 | 199.5323 | 188.407 | 215.7284 | 47 | 50 | FALSE | TRUE | TRUE | -7.554% | -11.21% | -3.921% | 0% | 0% | 0% | 27.1348 | 19.8206 | 35.236 | 57041.0696 | 49421.2121 | 64704.8022
1 | 1x | ChargeAsFastAsPossible | 12 | constant (spawn x 8/ports) | 100 | 111.9 | 100 | 100% | 100% | 100% | 7.319% | 5.024% | 9.942% | 62.5% | 61.19% | 63.79% | 22.2657 | 16.5376 | 28.6542 | 251.048 | 241.2067 | 260.4907 | 146671.9113 | 140922.2656 | 152188.6935 | 16.81 | 16.37 | 17.23 | 175.6708 | 149.8392 | 186.9555 | 37 | 50 | FALSE | FALSE | TRUE | -26.97% | -30.99% | -22.96% | 0% | 0% | 0% | 8.0409 | 1.6399 | 14.8135 | 28587.9188 | 21160.6229 | 35916.3642
1 | 1x | ChargeAsFastAsPossible | 12 | as run (per-port arrivals) | 100.6 | 112.5 | 100 | 100% | 100% | 100% | 26.74% | 23.77% | 29.67% | 71.58% | 70.6% | 72.53% | 40.5796 | 31.7991 | 50.4335 | 299.7493 | 289.3905 | 310.022 | 175125.062 | 169073.0945 | 181126.8115 | 19.81 | 19.36 | 20.23 | 199.5323 | 188.407 | 215.7284 | 47 | 50 | FALSE | TRUE | TRUE | -7.554% | -11.21% | -3.921% | 0% | 0% | 0% | 26.3548 | 19.1425 | 34.3511 | 57041.0696 | 49421.2121 | 64704.8022
1 | 1x | ChargeAsFastAsPossible | 12 | as run (per-port arrivals) | 134.2 | 150.1 | 100 | 100% | 100% | 100% | 26.74% | 23.77% | 29.67% | 71.58% | 70.6% | 72.53% | 11.6298 | 7.2561 | 16.6635 | 299.7493 | 289.3905 | 310.022 | 175125.062 | 169073.0945 | 181126.8115 | 19.81 | 19.36 | 20.23 | 199.5323 | 188.407 | 215.7284 | 30 | 50 | FALSE | TRUE | TRUE | -7.554% | -11.21% | -3.921% | 0% | 0% | 0% | -2.5949 | -6.3506 | 1.4757 | 57041.0696 | 49421.2121 | 64704.8022
1 | 1x | ChargeAsFastAsPossible | 12 | constant (spawn x 8/ports) | 134.2 | 150.1 | 100 | 100% | 100% | 100% | 7.319% | 5.024% | 9.942% | 62.5% | 61.19% | 63.79% | 4.6789 | 2.7578 | 7.0055 | 251.048 | 241.2067 | 260.4907 | 146671.9113 | 140922.2656 | 152188.6935 | 16.81 | 16.37 | 17.23 | 175.6708 | 149.8392 | 186.9555 | 22 | 50 | FALSE | FALSE | TRUE | -26.97% | -30.99% | -22.96% | 0% | 0% | 0% | -9.5459 | -14.3732 | -4.9231 | 28587.9188 | 21160.6229 | 35916.3642
1 | 1x | RoundRobin | 8 | as run (per-port arrivals) | 100 | 111.9 | 100 | 99.91% | 99.85% | 99.96% | 34.58% | 30.75% | 38.38% | 71.93% | 70.72% | 73.09% | 0 | 0 | 0 | 201.1714 | 191.9366 | 210.7425 | 117532.0805 | 112136.7691 | 123123.9036 | 13.44 | 13.07 | 13.8 | 66.8023 | 57.7172 | 81.1871 | 0 | 50 | FALSE | TRUE | FALSE | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0
1 | 1x | RoundRobin | 8 | as run (per-port arrivals) | 100.6 | 112.5 | 100 | 99.91% | 99.85% | 99.96% | 34.58% | 30.75% | 38.38% | 71.93% | 70.72% | 73.09% | 0 | 0 | 0 | 201.1714 | 191.9366 | 210.7425 | 117532.0805 | 112136.7691 | 123123.9036 | 13.44 | 13.07 | 13.8 | 66.8023 | 57.7172 | 81.1871 | 0 | 50 | FALSE | TRUE | FALSE | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0
1 | 1x | RoundRobin | 8 | as run (per-port arrivals) | 134.2 | 150.1 | 100 | 99.91% | 99.85% | 99.96% | 34.58% | 30.75% | 38.38% | 71.93% | 70.72% | 73.09% | 0 | 0 | 0 | 201.1714 | 191.9366 | 210.7425 | 117532.0805 | 112136.7691 | 123123.9036 | 13.44 | 13.07 | 13.8 | 66.8023 | 57.7172 | 81.1871 | 0 | 50 | FALSE | TRUE | FALSE | 0% | 0% | 0% | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0
1 | 1x | RoundRobin | 10 | as run (per-port arrivals) | 100 | 111.9 | 100 | 99.91% | 99.83% | 99.97% | 28.8% | 25.63% | 32.07% | 71.6% | 70.57% | 72.65% | 0 | 0 | 0 | 249.2155 | 240.181 | 258.3302 | 145601.2953 | 140322.9606 | 150926.4534 | 16.59 | 16.22 | 16.96 | 71.9907 | 68.1692 | 78.3253 | 0 | 50 | FALSE | TRUE | FALSE | -5.784% | -8.679% | -2.801% | 0.001637% | -0.1026% | 0.09098% | 0 | 0 | 0 | 28069.2149 | 20483.915 | 35597.6003
1 | 1x | RoundRobin | 10 | constant (spawn x 8/ports) | 100 | 111.9 | 100 | 99.93% | 99.86% | 99.97% | 14.93% | 12.06% | 18.05% | 67.06% | 65.88% | 68.22% | 0 | 0 | 0 | 226.2037 | 218.857 | 233.7722 | 132156.9152 | 127864.6694 | 136578.7239 | 15.23 | 14.89 | 15.58 | 75.6992 | 71.275 | 81.5438 | 0 | 50 | FALSE | TRUE | FALSE | -19.65% | -23.53% | -15.63% | 0.01711% | -0.07196% | 0.1005% | 0 | 0 | 0 | 14624.8348 | 7758.1638 | 21401.7229
1 | 1x | RoundRobin | 10 | as run (per-port arrivals) | 100.6 | 112.5 | 100 | 99.91% | 99.83% | 99.97% | 28.8% | 25.63% | 32.07% | 71.6% | 70.57% | 72.65% | 0 | 0 | 0 | 249.2155 | 240.181 | 258.3302 | 145601.2953 | 140322.9606 | 150926.4534 | 16.59 | 16.22 | 16.96 | 71.9907 | 68.1692 | 78.3253 | 0 | 50 | FALSE | TRUE | FALSE | -5.784% | -8.679% | -2.801% | 0.001637% | -0.1026% | 0.09098% | 0 | 0 | 0 | 28069.2149 | 20483.915 | 35597.6003
1 | 1x | RoundRobin | 10 | as run (per-port arrivals) | 134.2 | 150.1 | 100 | 99.91% | 99.83% | 99.97% | 28.8% | 25.63% | 32.07% | 71.6% | 70.57% | 72.65% | 0 | 0 | 0 | 249.2155 | 240.181 | 258.3302 | 145601.2953 | 140322.9606 | 150926.4534 | 16.59 | 16.22 | 16.96 | 71.9907 | 68.1692 | 78.3253 | 0 | 50 | FALSE | TRUE | FALSE | -5.784% | -8.679% | -2.801% | 0.001637% | -0.1026% | 0.09098% | 0 | 0 | 0 | 28069.2149 | 20483.915 | 35597.6003
1 | 1x | RoundRobin | 10 | constant (spawn x 8/ports) | 134.2 | 150.1 | 100 | 99.93% | 99.86% | 99.97% | 14.93% | 12.06% | 18.05% | 67.06% | 65.88% | 68.22% | 0 | 0 | 0 | 226.2037 | 218.857 | 233.7722 | 132156.9152 | 127864.6694 | 136578.7239 | 15.23 | 14.89 | 15.58 | 75.6992 | 71.275 | 81.5438 | 0 | 50 | FALSE | TRUE | FALSE | -19.65% | -23.53% | -15.63% | 0.01711% | -0.07196% | 0.1005% | 0 | 0 | 0 | 14624.8348 | 7758.1638 | 21401.7229
1 | 1x | RoundRobin | 12 | as run (per-port arrivals) | 100 | 111.9 | 100 | 99.88% | 99.83% | 99.93% | 27.26% | 24.31% | 30.17% | 71.78% | 70.81% | 72.73% | 0 | 0 | 0 | 297.7364 | 287.2815 | 308.0909 | 173949.0841 | 167840.8887 | 179998.5592 | 19.81 | 19.36 | 20.23 | 83.0908 | 75.283 | 90.5992 | 0 | 50 | FALSE | TRUE | FALSE | -7.319% | -10.98% | -3.684% | -0.03046% | -0.1078% | 0.05116% | 0 | 0 | 0 | 56417.0037 | 48555.027 | 64305.6437
1 | 1x | RoundRobin | 12 | constant (spawn x 8/ports) | 100 | 111.9 | 100 | 99.87% | 99.78% | 99.94% | 7.939% | 5.641% | 10.54% | 62.76% | 61.47% | 64.02% | 0 | 0 | 0 | 249.4816 | 239.4981 | 259.0615 | 145756.7616 | 139924.0256 | 151353.7132 | 16.81 | 16.37 | 17.23 | 75.7759 | 70.2003 | 79.3022 | 0 | 50 | FALSE | FALSE | FALSE | -26.64% | -30.68% | -22.6% | -0.04093% | -0.1429% | 0.05549% | 0 | 0 | 0 | 28224.6812 | 20593.3032 | 35721.3209
1 | 1x | RoundRobin | 12 | as run (per-port arrivals) | 100.6 | 112.5 | 100 | 99.88% | 99.83% | 99.93% | 27.26% | 24.31% | 30.17% | 71.78% | 70.81% | 72.73% | 0 | 0 | 0 | 297.7364 | 287.2815 | 308.0909 | 173949.0841 | 167840.8887 | 179998.5592 | 19.81 | 19.36 | 20.23 | 83.0908 | 75.283 | 90.5992 | 0 | 50 | FALSE | TRUE | FALSE | -7.319% | -10.98% | -3.684% | -0.03046% | -0.1078% | 0.05116% | 0 | 0 | 0 | 56417.0037 | 48555.027 | 64305.6437
1 | 1x | RoundRobin | 12 | as run (per-port arrivals) | 134.2 | 150.1 | 100 | 99.88% | 99.83% | 99.93% | 27.26% | 24.31% | 30.17% | 71.78% | 70.81% | 72.73% | 0 | 0 | 0 | 297.7364 | 287.2815 | 308.0909 | 173949.0841 | 167840.8887 | 179998.5592 | 19.81 | 19.36 | 20.23 | 83.0908 | 75.283 | 90.5992 | 0 | 50 | FALSE | TRUE | FALSE | -7.319% | -10.98% | -3.684% | -0.03046% | -0.1078% | 0.05116% | 0 | 0 | 0 | 56417.0037 | 48555.027 | 64305.6437
1 | 1x | RoundRobin | 12 | constant (spawn x 8/ports) | 134.2 | 150.1 | 100 | 99.87% | 99.78% | 99.94% | 7.939% | 5.641% | 10.54% | 62.76% | 61.47% | 64.02% | 0 | 0 | 0 | 249.4816 | 239.4981 | 259.0615 | 145756.7616 | 139924.0256 | 151353.7132 | 16.81 | 16.37 | 17.23 | 75.7759 | 70.2003 | 79.3022 | 0 | 50 | FALSE | FALSE | FALSE | -26.64% | -30.68% | -22.6% | -0.04093% | -0.1429% | 0.05549% | 0 | 0 | 0 | 28224.6812 | 20593.3032 | 35721.3209